## Totex costs summary
Regulatory Reporting Pack
Wales & West Utilities
2015/16
2.2 Summary of totex costs
Current year RRP submission - £m
2015/16 prices
| Actuals |  | Current year actuals | Forecast |  |  |  |  | Forecast RIIO Total
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
LTS, storage and entry | 8.7455 | 6.4297 | 11.2275 | 16.2051 | 15.3572 | 9.6042 | 5.5073 | 5.6558 | 78.7322
Connections | 10.5988 | 9.6196 | 11.8734 | 11.9128 | 11.4944 | 11.1785 | 11.3231 | 11.3274 | 89.3279
Mains Reinforcement | 3.9012 | 3.5402 | 3.416 | 4.0089 | 3.9486 | 3.8917 | 3.9233 | 3.96 | 30.5899
Governors (Replacement) | 2.3377 | 2.1496 | 2.4274 | 1.583 | 2.2049 | 2.2263 | 2.2568 | 2.3162 | 17.5019
Other Capex | 27.0012 | 22.0402 | 19.8757 | 21.2275 | 13.0478 | 15.7141 | 22.3747 | 22.4567 | 163.738
of which IT | 5.6353 | 7.6464 | 7.4894 | 8.549 | 6.9093 | 6.7466 | 6.3358 | 6.3219 | 55.6337
of which Vehicles | 5.3935 | 5.3382 | 4.8217 | 4.1839 | 4.2992 | 4.11 | 6.8136 | 6.937 | 41.8972
Total Capex | 52.5844 | 43.7792 | 48.82 | 54.9374 | 46.0528 | 42.6148 | 45.3852 | 45.7161 | 379.89
HSE driven mains & services | 66.5029 | 59.8218 | 56.9291 | 66.665 | 60.7322 | 66.4335 | 67.5766 | 68.5454 | 513.2064
Non-HSE driven mains & services | 6.2135 | 15.9153 | 17.986 | 8.7453 | 5.7322 | 7.705 | 7.8244 | 7.9463 | 78.068
Risers | 1.5593 | 2.5166 | 2.1216 | 2.0043 | 0 | 0.86078 | 0.86914 | 0.87757 | 10.8094
Total Repex | 74.2757 | 78.2537 | 77.0367 | 77.4145 | 66.4644 | 74.9993 | 76.2701 | 77.3693 | 602.0837
Work Management | 23.3952 | 20.4752 | 20.6099 | 21.906 | 19.5032 | 19.7216 | 19.4944 | 19.5488 | 164.6544
Emergency | 10.112 | 10.4222 | 8.9282 | 10.9213 | 11.1834 | 11.2832 | 11.3875 | 11.5468 | 85.7847
Repair | 9.9124 | 9.9838 | 8.4666 | 10.4092 | 10.659 | 10.7542 | 10.8536 | 11.0054 | 82.0441
Maintenance | 14.5921 | 17.9892 | 17.0249 | 16.0676 | 16.7287 | 16.7609 | 16.8906 | 17.0496 | 133.1036
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Direct Activities | 19.7232 | 13.8623 | 6.8758 | 6.7098 | 6.8817 | 6.8734 | 8.1339 | 7.251 | 76.3111
of which xoserve | 4.1733 | 4.2806 | 4.1063 | 5.1276 | 4.9154 | 4.5323 | 5.3184 | 4.1253 | 36.5791
Total Direct Opex | 77.735 | 72.7327 | 61.9055 | 66.014 | 64.956 | 65.3933 | 66.7599 | 66.4016 | 541.8979
Business support | 16.5581 | 16.1157 | 18.5658 | 23.2743 | 23.7475 | 23.8544 | 23.699 | 23.715 | 169.5297
Training & Apprentices | 1.9555 | 1.8088 | 2.564 | 2.5734 | 3.5349 | 4.1815 | 4.2823 | 4.2876 | 25.188
Total Indirect Opex | 18.5136 | 17.9246 | 21.1298 | 25.8477 | 27.2824 | 28.0359 | 27.9813 | 28.0026 | 194.7177
Total Opex | 96.2486 | 90.6573 | 83.0353 | 91.8616 | 92.2384 | 93.4292 | 94.7412 | 94.4041 | 736.6156
Of which total sub-deducts | 0 | 0 | 0.040436 | 0.29557 | 0.28696 | 0.2786 | 0.27049 | 0.26261
Total Controllable costs | 223.1087 | 212.6903 | 208.8919 | 224.2135 | 204.7555 | 211.0433 | 216.3966 | 217.4895 | 1718.5893
Non-Controllable costs
Licence/network/other | 40.714 | 41.2955 | 40.8698 | 45.9187 | 56.6273 | 56.4729 | 56.0156 | 51.3827 | 389.2966
NTS exit costs | 21.3958 | 23.1751 | 23.3462 | 32.621 | 41.5735 | 39.8602 | 38.6794 | 36.1907 | 256.8419
Shrinkage | 9.1831 | 6.8331 | 4.9311 | 4.963 | 6.5936 | 6.6576 | 6.7223 | 6.7875 | 52.6713
NTS pensions contributions | 4.6745 | 4.7506 | 6.6719 | 6.6645 | 6.8528 | 6.9193 | 6.9865 | 7.0543 | 50.5745
Total non-controllable costs | 75.9674 | 76.0542 | 75.8189 | 90.1672 | 111.6472 | 109.9101 | 108.4038 | 101.4154 | 749.3842
Total funded costs - including uncertainties | 299.0761 | 288.7445 | 284.7109 | 314.3807 | 316.4027 | 320.9534 | 324.8004 | 318.9049 | 2467.9735
Of which: uncertainties*:
Smart metering | 0 | 0 | 0.21908 | 0 | 0 | 0 | 0 | 0 | 0.21908
Streetworks | 1.7877 | 1.166 | 1.2772 | 0.16133 | 0.48025 | 0.834 | 1.2863 | 1.5628 | 8.5554
Physical Security Upgrade Programme (PSUP) | 0 | 0.97332 | 0.1735 | 5.1099 | 5.7876 | 4.0642 | 0 | 0 | 16.1085
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total uncertainties* | 1.7877 | 2.1393 | 1.6698 | 5.2713 | 6.2678 | 4.8982 | 1.2863 | 1.5628 | 24.883
Total funded costs - excluding uncertainties* | 297.2885 | 286.6052 | 283.0411 | 309.1094 | 310.1349 | 316.0552 | 323.5141 | 317.3421 | 2443.0906
Previous year RRP submission - £m | [10 empty] | Variance from previous year | [9 empty] | % Variance from previous year
2015/16 prices
| Actuals |  | Previous year forecast
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 8.7455 | 6.4297 | 9.8357 | 10.9541 | 8.6763 | 4.41 | 4.3631 | 4.4402 | 57.8545 |  | LTS, storage and entry | 0 | 0 | 1.3918 | 5.251 | 6.6809 | 5.1941 | 1.1442 | 1.2156 | 20.8777 | LTS, storage and entry | 0% | 0% | 14.15% | 47.94% | 77% | 117.8% | 26.23% | 27.38% | 36.09%
Connections | 10.5988 | 9.6196 | 12.938 | 12.9885 | 12.938 | 12.0283 | 11.2196 | 11.4218 | 93.7526 |  | Connections | 0 | 0 | -1.0646 | -1.0757 | -1.4436 | -0.84978 | 0.10342 | -0.094394 | -4.4247 | Connections | 0% | 0% | -8.228% | -8.282% | -11.16% | -7.065% | 0.9217% | -0.8264% | -4.72%
Mains Reinforcement | 3.9012 | 3.5402 | 4.2083 | 3.2262 | 3.2262 | 3.2262 | 3.2262 | 3.2262 | 27.7805 |  | Mains Reinforcement | 0 | 0 | -0.79229 | 0.78277 | 0.72242 | 0.66558 | 0.69715 | 0.73382 | 2.8094 | Mains Reinforcement | 0% | 0% | -18.83% | 24.26% | 22.39% | 20.63% | 21.61% | 22.75% | 10.11%
Governors (Replacement) | 2.3377 | 2.1496 | 3.1039 | 2.4482 | 2.4482 | 2.4482 | 2.4699 | 2.5352 | 19.9408 |  | Governors (Replacement) | 0 | 0 | -0.67648 | -0.86517 | -0.24329 | -0.22188 | -0.21314 | -0.21899 | -2.4389 | Governors (Replacement) | 0% | 0% | -21.79% | -35.34% | -9.937% | -9.063% | -8.629% | -8.638% | -12.23%
Other Capex | 27.0012 | 22.0402 | 18.5017 | 15.292 | 15.5291 | 19.5733 | 21.3137 | 19.2877 | 158.5388 |  | Other Capex | 0 | 0 | 1.374 | 5.9355 | -2.4813 | -3.8592 | 1.0611 | 3.1691 | 5.1992 | Other Capex | 0% | 0% | 7.426% | 38.81% | -15.98% | -19.72% | 4.978% | 16.43% | 3.279%
of which IT | 5.6353 | 7.6464 | 7.7399 | 6.4083 | 6.1582 | 5.8883 | 6.0869 | 5.6321 | 51.1954 |  | of which IT | 0 | 0 | -0.2505 | 2.1407 | 0.75111 | 0.85832 | 0.24885 | 0.68989 | 4.4383 | of which IT | 0% | 0% | -3.236% | 33.4% | 12.2% | 14.58% | 4.088% | 12.25% | 8.669%
of which Vehicles | 5.3935 | 5.3382 | 5.3401 | 4.549 | 4.1286 | 4.7234 | 6.879 | 6.9801 | 43.332 |  | of which Vehicles | 0 | 0 | -0.51844 | -0.36507 | 0.17057 | -0.61333 | -0.065402 | -0.043135 | -1.4348 | of which Vehicles | 0% | 0% | -9.708% | -8.025% | 4.132% | -12.99% | -0.9507% | -0.618% | -3.311%
Total Capex | 52.5844 | 43.7792 | 48.5875 | 44.909 | 42.8177 | 41.6859 | 42.5925 | 40.911 | 357.8673 |  | Total Capex | 0 | 0 | 0.23246 | 10.0284 | 3.2351 | 0.9289 | 2.7928 | 4.8051 | 22.0227 | Total Capex | 0% | 0% | 0.4784% | 22.33% | 7.555% | 2.228% | 6.557% | 11.75% | 6.154%
HSE driven mains & services | 66.5029 | 59.8218 | 68.9786 | 66.9205 | 66.0888 | 65.6381 | 65.0779 | 64.3439 | 523.3723 |  | HSE driven mains & services | 0 | 0 | -12.0495 | -0.25554 | -5.3566 | 0.79548 | 2.4987 | 4.2015 | -10.166 | HSE driven mains & services | 0% | 0% | -17.47% | -0.3819% | -8.105% | 1.212% | 3.84% | 6.53% | -1.942%
Non-HSE driven mains & services | 6.2135 | 15.9153 | 8.228 | 8.2035 | 7.293 | 7.278 | 7.3198 | 7.3682 | 67.8194 |  | Non-HSE driven mains & services | 0 | 0 | 9.758 | 0.54175 | -1.5608 | 0.42698 | 0.50458 | 0.57812 | 10.2486 | Non-HSE driven mains & services | 0% | 0% | 118.6% | 6.604% | -21.4% | 5.867% | 6.893% | 7.846% | 15.11%
Multi occupancy buildings (MoBs) | 1.5593 | 2.5166 | 0.85916 | 0.85916 | 0.85916 | 0.85916 | 0.85916 | 0.85916 | 9.2309 |  | Multi occupancy buildings (MoBs) | 0 | 0 | 1.2625 | 1.1451 | -0.85916 | 0.0016169 | 0.009974 | 0.018412 | 1.5784 | Multi occupancy buildings (MoBs) | 0% | 0% | 146.9% | 133.3% | -100% | 0.1882% | 1.161% | 2.143% | 17.1%
Total Repex | 74.2757 | 78.2537 | 78.0657 | 75.9832 | 74.2409 | 73.7752 | 73.2569 | 72.5713 | 600.4226 |  | Total Repex | 0 | 0 | -1.029 | 1.4313 | -7.7766 | 1.2241 | 3.0132 | 4.798 | 1.6611 | Total Repex | 0% | 0% | -1.318% | 1.884% | -10.47% | 1.659% | 4.113% | 6.611% | 0.2766%
Work Management | 23.3952 | 20.4752 | 21.8979 | 21.8079 | 21.324 | 20.9375 | 21.0964 | 20.7426 | 171.6768 |  | Work Management | 0 | 0 | -1.288 | 0.098133 | -1.8208 | -1.2159 | -1.6021 | -1.1938 | -7.0224 | Work Management | 0% | 0% | -5.882% | 0.45% | -8.539% | -5.807% | -7.594% | -5.755% | -4.09%
Emergency | 10.112 | 10.4222 | 11.5588 | 12.1686 | 12.5923 | 12.2211 | 12.3759 | 12.3726 | 93.8234 |  | Emergency | 0 | 0 | -2.6306 | -1.2473 | -1.4089 | -0.93783 | -0.98834 | -0.82578 | -8.0387 | Emergency | 0% | 0% | -22.76% | -10.25% | -11.19% | -7.674% | -7.986% | -6.674% | -8.568%
Repair | 9.9124 | 9.9838 | 11.0169 | 11.598 | 12.0018 | 11.648 | 11.7956 | 11.7924 | 89.749 |  | Repair | 0 | 0 | -2.5503 | -1.1888 | -1.3428 | -0.89386 | -0.942 | -0.78706 | -7.7048 | Repair | 0% | 0% | -23.15% | -10.25% | -11.19% | -7.674% | -7.986% | -6.674% | -8.585%
Maintenance | 14.5921 | 17.9892 | 17.1958 | 17.7864 | 18.1968 | 17.8373 | 17.9872 | 17.984 | 139.5688 |  | Maintenance | 0 | 0 | -0.17094 | -1.7188 | -1.4681 | -1.0764 | -1.0966 | -0.93436 | -6.4652 | Maintenance | 0% | 0% | -0.9941% | -9.664% | -8.068% | -6.034% | -6.097% | -5.196% | -4.632%
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other Direct Activities | 19.7232 | 13.8623 | 9.2131 | 10.1414 | 9.6295 | 9.7596 | 9.8267 | 9.7644 | 91.9202 |  | Other Direct Activities | 0 | 0 | -2.3373 | -3.4316 | -2.7478 | -2.8862 | -1.6928 | -2.5134 | -15.6091 | Other Direct Activities | 0% | 0% | -25.37% | -33.84% | -28.54% | -29.57% | -17.23% | -25.74% | -16.98%
of which xoserve | 4.1733 | 4.2806 | 4.9891 | 5.4637 | 4.5574 | 4.5379 | 4.5723 | 4.498 | 37.0722 |  | of which xoserve | 0 | 0 | -0.88282 | -0.33612 | 0.35806 | -0.0056322 | 0.74615 | -0.37268 | -0.49305 | of which xoserve | 0% | 0% | -17.7% | -6.152% | 7.857% | -0.1241% | 16.32% | -8.285% | -1.33%
Total Direct Opex | 77.735 | 72.7327 | 70.8825 | 73.5023 | 73.7444 | 72.4035 | 73.0818 | 72.656 | 586.7382 |  | Total Direct Opex | 0 | 0 | -8.9771 | -7.4884 | -8.7884 | -7.0101 | -6.3219 | -6.2544 | -44.8403 | Total Direct Opex | 0% | 0% | -12.66% | -10.19% | -11.92% | -9.682% | -8.65% | -8.608% | -7.642%
Business support | 16.5581 | 16.1157 | 16.7955 | 18.0493 | 19.0299 | 19.7896 | 20.3211 | 20.9002 | 147.5595 |  | Business support | 0 | 0 | 1.7703 | 5.225 | 4.7176 | 4.0648 | 3.3779 | 2.8148 | 21.9702 | Business support | 0% | 0% | 10.54% | 28.95% | 24.79% | 20.54% | 16.62% | 13.47% | 14.89%
Training & Apprentices | 1.9555 | 1.8088 | 2.1437 | 2.7504 | 3.6015 | 4.2537 | 4.3586 | 4.3642 | 25.2365 |  | Training & Apprentices | 0 | 0 | 0.42028 | -0.17697 | -0.066636 | -0.072228 | -0.07637 | -0.07659 | -0.048515 | Training & Apprentices | 0% | 0% | 19.6% | -6.434% | -1.85% | -1.698% | -1.752% | -1.755% | -0.1922%
Total Indirect Opex | 18.5136 | 17.9246 | 18.9393 | 20.7997 | 22.6314 | 24.0433 | 24.6798 | 25.2644 | 172.796 |  | Total Indirect Opex | 0 | 0 | 2.1905 | 5.048 | 4.6509 | 3.9926 | 3.3015 | 2.7382 | 21.9217 | Total Indirect Opex | 0% | 0% | 11.57% | 24.27% | 20.55% | 16.61% | 13.38% | 10.84% | 12.69%
Total Opex | 96.2486 | 90.6573 | 89.8218 | 94.302 | 96.3758 | 96.4468 | 97.7615 | 97.9204 | 759.5342 |  | Total Opex | 0 | 0 | -6.7866 | -2.4404 | -4.1375 | -3.0176 | -3.0204 | -3.5162 | -22.9186 | Total Opex | 0% | 0% | -7.556% | -2.588% | -4.293% | -3.129% | -3.09% | -3.591% | -3.017%
Total sub-deducts | 0 | 0 | 0.30323 | 0.30323 | 0.30323 | 0.30323 | 0.30323 | 0.30323 | 0 |  | Total sub-deducts | [9 empty] | Total sub-deducts | #DIV/0! | #DIV/0! | 0% | 0% | 0% | 0% | 0% | 0% | #DIV/0!
Total Controllable costs | 223.1087 | 212.6903 | 216.4751 | 215.1941 | 213.4345 | 211.9079 | 213.6109 | 211.4026 | 1717.8241 |  | Total Controllable costs | 0 | 0 | -7.5831 | 9.0193 | -8.679 | -0.86462 | 2.7856 | 6.0869 | 0.76518 | Total Controllable costs | 0% | 0% | -3.503% | 4.191% | -4.066% | -0.408% | 1.304% | 2.879% | 0.04454%
Non-Controllable costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Non-Controllable costs | [9 empty] | Non-Controllable costs | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Licence/network/other | 40.714 | 41.2955 | 38.7417 | 41.1676 | 41.1676 | 41.1676 | 41.1676 | 34.1932 | 319.6149 |  | Licence/network/other | 0 | 0 | 2.1281 | 4.7511 | 15.4597 | 15.3053 | 14.848 | 17.1895 | 69.6817 | Licence/network/other | 0% | 0% | 5.493% | 11.54% | 37.55% | 37.18% | 36.07% | 50.27% | 21.8%
NTS exit costs | 21.3958 | 23.1751 | 19.744 | 19.744 | 19.744 | 19.744 | 19.744 | 19.744 | 163.0347 |  | NTS exit costs | 0 | 0 | 3.6022 | 12.8771 | 21.8295 | 20.1162 | 18.9354 | 16.4468 | 93.8072 | NTS exit costs | 0% | 0% | 18.24% | 65.22% | 110.6% | 101.9% | 95.9% | 83.3% | 57.54%
Shrinkage | 9.1831 | 6.8331 | 5.7655 | 5.7655 | 5.7655 | 5.7655 | 5.7655 | 5.7655 | 50.6092 |  | Shrinkage | 0 | 0 | -0.83442 | -0.80252 | 0.82811 | 0.89213 | 0.95677 | 1.022 | 2.0621 | Shrinkage | 0% | 0% | -14.47% | -13.92% | 14.36% | 15.47% | 16.59% | 17.73% | 4.075%
NTS pensions contributions | 4.6745 | 4.7506 | 4.7222 | 4.7222 | 4.7222 | 4.7222 | 4.7222 | 4.7222 | 37.7582 |  | NTS pensions contributions | 0 | 0 | 1.9497 | 1.9423 | 2.1306 | 2.1971 | 2.2643 | 2.3322 | 12.8163 | NTS pensions contributions | 0% | 0% | 41.29% | 41.13% | 45.12% | 46.53% | 47.95% | 49.39% | 33.94%
Total non-controllable costs | 75.9674 | 76.0542 | 68.9734 | 71.3993 | 71.3993 | 71.3993 | 71.3993 | 64.4249 | 571.017 |  | Total non-controllable costs | 0 | 0 | 6.8455 | 18.768 | 40.2479 | 38.5108 | 37.0045 | 36.9905 | 178.3672 | Total non-controllable costs | 0% | 0% | 9.925% | 26.29% | 56.37% | 53.94% | 51.83% | 57.42% | 31.24%
Total funded costs - including uncertainties | 299.0761 | 288.7445 | 285.4485 | 286.5934 | 284.8337 | 283.3072 | 285.0102 | 275.8275 | 2288.8411 |  | Total funded costs - including uncertainties | 0 | 0 | -0.7376 | 27.7873 | 31.569 | 37.6462 | 39.7901 | 43.0774 | 179.1324 | Total funded costs - including uncertainties | 0% | 0% | -0.2584% | 9.696% | 11.08% | 13.29% | 13.96% | 15.62% | 7.826%
Of which: uncertainties*: | [10 empty] | Of which: uncertainties*: | [9 empty] | Of which: uncertainties*:
Smart metering | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Smart metering | 0 | 0 | 0.21908 | 0 | 0 | 0 | 0 | 0 | 0.21908 | Smart metering | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Streetworks | 1.7877 | 1.166 | 0.025269 | 0.17689 | 0.48012 | 0.83389 | 1.2887 | 1.5667 | 7.3252 |  | Streetworks | 0 | 0 | 1.2519 | -0.015553 | 0.00012987 | 0.00010714 | -0.0024935 | -0.0039578 | 1.2301 | Streetworks | 0 | 0 | 49.5424 | -0.087927 | 0.0002705 | 0.00012849 | -0.0019348 | -0.0025262 | 0.16793
Physical Security Upgrade Programme (PSUP) | 0 | 0.97332 | 0.9097 | 2.8302 | 3.2345 | 0 | 0 | 0 | 7.9477 |  | Physical Security Upgrade Programme (PSUP) | 0 | 0 | -0.7362 | 2.2798 | 2.5531 | 4.0642 | 0 | 0 | 8.1608 | Physical Security Upgrade Programme (PSUP) | #DIV/0! | 0 | -0.80927 | 0.80552 | 0.78934 | #DIV/0! | #DIV/0! | #DIV/0! | 1.0268
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total uncertainties* | 1.7877 | 2.1393 | 0.93497 | 3.0071 | 3.7146 | 0.83389 | 1.2887 | 1.5667 | 15.2729 |  | Total uncertainties* | 0 | 0 | 0.73479 | 2.2642 | 2.5532 | 4.0643 | -0.0024935 | -0.0039578 | 9.61 | Total uncertainties* | 0 | 0 | 0.7859 | 0.75296 | 0.68735 | 4.8738 | -0.0019348 | -0.0025262 | 0.62922
Total funded costs - excluding uncertainties* | 297.2885 | 286.6052 | 284.5135 | 283.5864 | 281.1191 | 282.4733 | 283.7215 | 274.2608 | 2273.5682 |  | Total funded costs - excluding uncertainties* | 0 | 0 | -1.4724 | 25.5231 | 29.0157 | 33.582 | 39.7926 | 43.0813 | 169.5224 | Total funded costs - excluding uncertainties* | 0 | 0 | -0.0051751 | 0.090001 | 0.10322 | 0.11889 | 0.14025 | 0.15708 | 0.074562
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Final proposals adjusted with agreed uncertainties - £m | [10 empty] | Variance from final proposals adjusted with uncertainties | [9 empty] | % Variance from final proposals adjusted with uncertainties
2015/16 prices
| Ofgem Allowance (Post IQI) £m | [10 empty] | Ofgem Allowance (Post IQI) £m | [9 empty] | Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 16.6075 | 16.0038 | 14.3609 | 13.703 | 15.3723 | 13.3835 | 12.4178 | 14.5094 | 116.3583 |  | LTS, storage and entry | -7.862 | -9.5741 | -3.1334 | 2.5021 | -0.015146 | -3.7793 | -6.9105 | -8.8536 | -37.6261 | LTS, storage and entry | -47.34% | -59.82% | -21.82% | 18.26% | -0.09853% | -28.24% | -55.65% | -61.02% | -32.34%
Connections | 8.5362 | 8.7134 | 9.1985 | 9.4197 | 9.3144 | 9.5219 | 9.5858 | 9.7376 | 74.0275 |  | Connections | 2.0626 | 0.90625 | 2.6749 | 2.493 | 2.1799 | 1.6566 | 1.7373 | 1.5898 | 15.3005 | Connections | 24.16% | 10.4% | 29.08% | 26.47% | 23.4% | 17.4% | 18.12% | 16.33% | 20.67%
Mains Reinforcement | 9.41 | 9.4244 | 9.4368 | 9.4574 | 9.4693 | 9.4698 | 9.4727 | 9.5461 | 75.6865 |  | Mains Reinforcement | -5.5087 | -5.8842 | -6.0209 | -5.4484 | -5.5207 | -5.5781 | -5.5494 | -5.5861 | -45.0966 | Mains Reinforcement | -58.54% | -62.44% | -63.8% | -57.61% | -58.3% | -58.9% | -58.58% | -58.52% | -59.58%
Governors (Replacement) | 2.7243 | 2.8454 | 2.6017 | 3.7788 | 3.3683 | 3.4364 | 3.249 | 3.7705 | 25.7744 |  | Governors (Replacement) | -0.38663 | -0.69581 | -0.17423 | -2.1958 | -1.1634 | -1.2101 | -0.99222 | -1.4543 | -8.2725 | Governors (Replacement) | -14.19% | -24.45% | -6.697% | -58.11% | -34.54% | -35.21% | -30.54% | -38.57% | -32.1%
Other Capex | 27.6861 | 26.2763 | 19.892 | 16.4243 | 15.0846 | 14.9507 | 19.3724 | 18.7209 | 158.4072 |  | Other Capex | -0.68488 | -4.2361 | -0.016239 | 4.8032 | -2.0368 | 0.76343 | 3.0023 | 3.7359 | 5.3308 | Other Capex | -2.474% | -16.12% | -0.08164% | 29.24% | -13.5% | 5.106% | 15.5% | 19.96% | 3.365%
of which IT | 8.4607 | 8.0987 | 6.3107 | 5.9607 | 7.1972 | 6.8318 | 6.6924 | 5.9947 | 55.5469 |  | of which IT | -2.8254 | -0.45232 | 1.1787 | 2.5883 | -0.28793 | -0.085219 | -0.35668 | 0.32726 | 0.086784 | of which IT | -33.39% | -5.585% | 18.68% | 43.42% | -4.001% | -1.247% | -5.33% | 5.459% | 0.1562%
of which Vehicles | 9.1232 | 7.2632 | 5.045 | 4.5653 | 2.2551 | 2.6117 | 5.6928 | 5.4432 | 41.9995 |  | of which Vehicles | -3.7298 | -1.925 | -0.22327 | -0.38133 | 2.044 | 1.4984 | 1.1209 | 1.4938 | -0.10226 | of which Vehicles | -40.88% | -26.5% | -4.426% | -8.353% | 90.64% | 57.37% | 19.69% | 27.44% | -0.2435%
Total Capex | 64.9641 | 63.2632 | 55.4898 | 52.7833 | 52.6089 | 50.7623 | 54.0977 | 56.2845 | 450.2538 |  | Total Capex | -12.3797 | -19.484 | -6.6698 | 2.154 | -6.5561 | -8.1475 | -8.7124 | -10.5684 | -70.3639 | Total Capex | -19.06% | -30.8% | -12.02% | 4.081% | -12.46% | -16.05% | -16.11% | -18.78% | -15.63%
HSE driven mains & services | 2.9359 | -0.77836 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1575 |  | HSE driven mains & services | 63.567 | 60.6001 | 56.9291 | 66.665 | 60.7322 | 66.4335 | 67.5766 | 68.5454 | 511.0488 | HSE driven mains & services | 2165% | -7786% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 23687%
Non-HSE driven mains & services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Non-HSE driven mains & services | 6.2135 | 15.9153 | 17.986 | 8.7453 | 5.7322 | 7.705 | 7.8244 | 7.9463 | 78.068 | Non-HSE driven mains & services | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Multi occupancy buildings (MoBs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Multi occupancy buildings (MoBs) | 1.5593 | 2.5166 | 2.1216 | 2.0043 | 0 | 0.86078 | 0.86914 | 0.87757 | 10.8094 | Multi occupancy buildings (MoBs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Repex | 97.3134 | 93.5177 | 94.5934 | 93.9502 | 95.1997 | 95.1357 | 95.0658 | 93.4784 | 758.2543 |  | Total Repex | -23.0377 | -15.264 | -17.5568 | -16.5357 | -28.7353 | -20.1364 | -18.7956 | -16.1092 | -156.1706 | Total Repex | -23.67% | -16.32% | -18.56% | -17.6% | -30.18% | -21.17% | -19.77% | -17.23% | -20.6%
Work Management | 22.9347 | 23.062 | 25.3215 | 23.9584 | 22.8696 | 24.0685 | 24.3924 | 22.331 | 188.9381 |  | Work Management | 0.46053 | -2.5868 | -4.7116 | -2.0524 | -3.3664 | -4.3469 | -4.8981 | -2.7822 | -24.2837 | Work Management | 2.008% | -11.22% | -18.61% | -8.566% | -14.72% | -18.06% | -20.08% | -12.46% | -12.85%
Emergency | 15.82 | 15.7344 | 15.9194 | 16.0994 | 15.9899 | 15.9391 | 15.8549 | 16.5093 | 127.8663 |  | Emergency | -5.7079 | -5.3122 | -6.9911 | -5.1781 | -4.8065 | -4.6559 | -4.4674 | -4.9625 | -42.0816 | Emergency | -36.08% | -33.76% | -43.92% | -32.16% | -30.06% | -29.21% | -28.18% | -30.06% | -32.91%
Repair | 13.9277 | 13.6249 | 13.3734 | 13.1432 | 12.9076 | 12.7963 | 12.5325 | 12.3056 | 104.6111 |  | Repair | -4.0153 | -3.6411 | -4.9068 | -2.734 | -2.2486 | -2.0421 | -1.6789 | -1.3002 | -22.567 | Repair | -28.83% | -26.72% | -36.69% | -20.8% | -17.42% | -15.96% | -13.4% | -10.57% | -21.57%
Maintenance | 12.5413 | 12.7067 | 12.9208 | 13.1838 | 13.0357 | 13.0597 | 12.918 | 12.9337 | 103.2998 |  | Maintenance | 2.0508 | 5.2825 | 4.1041 | 2.8838 | 3.6931 | 3.7011 | 3.9726 | 4.1159 | 29.8038 | Maintenance | 16.35% | 41.57% | 31.76% | 21.87% | 28.33% | 28.34% | 30.75% | 31.82% | 28.85%
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other Direct Activities | 8.6713 | 7.7698 | 8.4932 | 8.8688 | 7.8625 | 8.1966 | 8.4204 | 8.2077 | 66.4903 |  | Other Direct Activities | 11.0519 | 6.0924 | -1.6174 | -2.159 | -0.98075 | -1.3232 | -0.28652 | -0.95671 | 9.8208 | Other Direct Activities | 127.5% | 78.41% | -19.04% | -24.34% | -12.47% | -16.14% | -3.403% | -11.66% | 14.77%
of which Xoserve | 5.1101 | 4.9574 | 5.6031 | 6.143 | 5.0332 | 5.3265 | 5.537 | 5.3674 | 43.0776 |  | of which Xoserve | -0.93679 | -0.67681 | -1.4968 | -1.0154 | -0.11775 | -0.79428 | -0.21855 | -1.2421 | -6.4985 | of which Xoserve | -18.33% | -13.65% | -26.71% | -16.53% | -2.339% | -14.91% | -3.947% | -23.14% | -15.09%
Total Direct Opex | 73.895 | 72.8978 | 76.0283 | 75.2536 | 72.6653 | 74.0603 | 74.1182 | 72.2872 | 591.2056 |  | Total Direct Opex | 3.84 | -0.16512 | -14.1228 | -9.2397 | -7.7093 | -8.6669 | -7.3583 | -5.8856 | -49.3077 | Total Direct Opex | 5.197% | -0.2265% | -18.58% | -12.28% | -10.61% | -11.7% | -9.928% | -8.142% | -8.34%
Business support | 22.8721 | 23.0484 | 23.2729 | 23.9286 | 23.9594 | 24.1193 | 24.2487 | 24.017 | 189.4665 |  | Business support | -6.314 | -6.9327 | -4.7071 | -0.65438 | -0.21197 | -0.26493 | -0.54968 | -0.30206 | -19.9367 | Business support | -27.61% | -30.08% | -20.23% | -2.735% | -0.8847% | -1.098% | -2.267% | -1.258% | -10.52%
Training & Apprentices | 3.9077 | 4.085 | 4.4462 | 4.4821 | 4.7203 | 4.5462 | 4.552 | 4.5895 | 35.329 |  | Training & Apprentices | -1.9522 | -2.2761 | -1.8822 | -1.9087 | -1.1854 | -0.36473 | -0.26972 | -0.30194 | -10.1411 | Training & Apprentices | -49.96% | -55.72% | -42.33% | -42.59% | -25.11% | -8.023% | -5.925% | -6.579% | -28.7%
Total Indirect Opex | 26.7799 | 27.1333 | 27.7191 | 28.4108 | 28.6797 | 28.6655 | 28.8007 | 28.6066 | 224.7955 |  | Total Indirect Opex | -8.2662 | -9.2088 | -6.5893 | -2.5631 | -1.3974 | -0.62966 | -0.8194 | -0.60399 | -30.0778 | Total Indirect Opex | -30.87% | -33.94% | -23.77% | -9.022% | -4.872% | -2.197% | -2.845% | -2.111% | -13.38%
Total Opex | 101.0341 | 100.3905 | 104.1066 | 104.0237 | 101.7043 | 103.0851 | 103.2782 | 101.2531 | 818.8756 |  | Total Opex | -4.7855 | -9.7332 | -21.0714 | -12.1621 | -9.4659 | -9.6559 | -8.537 | -6.8489 | -82.2599 | Total Opex | -4.737% | -9.695% | -20.24% | -11.69% | -9.307% | -9.367% | -8.266% | -6.764% | -10.05%
Total sub-deducts | 3.6545 | -0.05974 | 1.0937 | 1.0937 | 1.0937 | 1.0937 | 1.0937 | 1.0937 | 10.1569 |  | Total sub-deducts | -3.6545 | 0.05974 | -1.0533 | -0.79812 | -0.80673 | -0.81509 | -0.8232 | -0.83108 | -10.1569 | Total sub-deducts | -100% | -100% | -96.3% | -72.98% | -73.76% | -74.53% | -75.27% | -75.99% | -100%
Total Controllable costs | 263.3116 | 257.1714 | 254.1899 | 250.7572 | 249.5129 | 248.9831 | 252.4416 | 251.016 | 2027.3837 |  | Total Controllable costs | -40.2029 | -44.4812 | -45.298 | -26.5437 | -44.7574 | -37.9398 | -36.045 | -33.5265 | -308.7944 | Total Controllable costs | -15.27% | -17.3% | -17.82% | -10.59% | -17.94% | -15.24% | -14.28% | -13.36% | -15.23%
Non-Controllable costs | [10 empty] | Non-Controllable costs | [9 empty] | Non-Controllable costs | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Licence/network/other | 33.1947 | 33.1947 | 33.1947 | 33.1947 | 33.1947 | 33.1947 | 33.1947 | 33.1947 | 265.5574 |  | Licence/network/other | 7.5193 | 8.1008 | 7.6751 | 12.724 | 23.4326 | 23.2783 | 22.8209 | 18.1881 | 123.7392 | Licence/network/other | 22.65% | 24.4% | 23.12% | 38.33% | 70.59% | 70.13% | 68.75% | 54.79% | 46.6%
NTS exit costs | 27.7053 | 27.7255 | 27.7268 | 27.7268 | 27.7268 | 27.7268 | 27.7268 | 27.7268 | 221.7916 |  | NTS exit costs | -6.3096 | -4.5504 | -4.3806 | 4.8942 | 13.8467 | 12.1334 | 10.9526 | 8.4639 | 35.0502 | NTS exit costs | -22.77% | -16.41% | -15.8% | 17.65% | 49.94% | 43.76% | 39.5% | 30.53% | 15.8%
Shrinkage | 10.6643 | 10.5185 | 10.4402 | 10.2402 | 10.0881 | 9.9404 | 9.7908 | 9.4351 | 81.1175 |  | Shrinkage | -1.4812 | -3.6853 | -5.5092 | -5.2772 | -3.4945 | -3.2828 | -3.0685 | -2.6475 | -28.4462 | Shrinkage | -13.89% | -35.04% | -52.77% | -51.53% | -34.64% | -33.02% | -31.34% | -28.06% | -35.07%
NTS pensions contributions | 4.7457 | 4.7457 | 4.7457 | 4.7457 | 4.7457 | 4.7457 | 4.7457 | 4.7457 | 37.9652 |  | NTS pensions contributions | -0.071153 | 0.0048961 | 1.9262 | 1.9189 | 2.1071 | 2.1737 | 2.2409 | 2.3087 | 12.6092 | NTS pensions contributions | -1.499% | 0.1032% | 40.59% | 40.43% | 44.4% | 45.8% | 47.22% | 48.65% | 33.21%
Total non-controllable costs | 76.3099 | 76.1843 | 76.1074 | 75.9073 | 75.7552 | 75.6075 | 75.4579 | 75.1022 | 606.4317 |  | Total non-controllable costs | -0.34256 | -0.13003 | -0.28843 | 14.2599 | 35.892 | 34.3026 | 32.9458 | 26.3132 | 142.9525 | Total non-controllable costs | -0.4489% | -0.1707% | -0.379% | 18.79% | 47.38% | 45.37% | 43.66% | 35.04% | 23.57%
Total funded costs - including agreed uncertainties** | 339.6216 | 333.3557 | 330.2972 | 326.6645 | 325.2681 | 324.5906 | 327.8995 | 326.1182 | 2633.8155 |  | Total funded costs - including uncertainties | -40.5454 | -44.6112 | -45.5864 | -12.2838 | -8.8654 | -3.6372 | -3.0992 | -7.2133 | -165.8419 | Total funded costs - including uncertainties | -11.94% | -13.38% | -13.8% | -3.76% | -2.726% | -1.121% | -0.9452% | -2.212% | -6.297%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | -0.74467
Final proposals - £m
2009/10 prices
Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 13.8122 | 13.3101 | 11.9437 | 11.3966 | 12.7849 | 11.1309 | 10.3277 | 12.0673 | 96.7734
Connections | 7.0994 | 7.2468 | 7.3383 | 7.5223 | 7.4347 | 7.6072 | 7.6604 | 7.7867 | 59.6959
Mains Reinforcement | 7.8261 | 7.8381 | 7.8485 | 7.8655 | 7.8755 | 7.8759 | 7.8783 | 7.9394 | 62.9473
Governors (Replacement) | 2.2658 | 2.3665 | 2.1638 | 3.1428 | 2.8013 | 2.858 | 2.7021 | 3.1359 | 21.4362
Other Capex | 23.0261 | 21.8536 | 16.5438 | 13.6599 | 12.5456 | 12.4343 | 16.1117 | 15.5699 | 131.7448
of which IT | 7.0366 | 6.7356 | 5.2485 | 4.9574 | 5.9858 | 5.6819 | 5.566 | 4.9857 | 46.1975
of which Vehicles | 7.5877 | 6.0407 | 4.1958 | 3.7969 | 1.8756 | 2.1721 | 4.7346 | 4.527 | 34.9303
Total Capex | 54.0297 | 52.6151 | 45.8381 | 43.5871 | 43.4421 | 41.9063 | 44.6803 | 46.499 | 372.5975
HSE driven mains & services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-HSE driven mains & services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Multi occupancy buildings (MoBs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Repex | 78.4923 | 78.4246 | 78.6719 | 78.1369 | 79.1761 | 79.1229 | 79.0647 | 77.7446 | 628.834
Work Management | 19.0744 | 19.1803 | 21.0595 | 19.9258 | 19.0203 | 20.0174 | 20.2868 | 18.5723 | 157.1369
Emergency | 13.1572 | 13.086 | 13.2399 | 13.3896 | 13.2986 | 13.2563 | 13.1863 | 13.7305 | 106.3444
Repair | 11.5835 | 11.3316 | 11.1224 | 10.931 | 10.7351 | 10.6425 | 10.4231 | 10.2343 | 87.0035
Maintenance | 10.4304 | 10.568 | 10.746 | 10.9648 | 10.8416 | 10.8616 | 10.7437 | 10.7568 | 85.9128
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Direct Activities | 7.2118 | 6.462 | 7.0637 | 7.376 | 6.5391 | 6.817 | 7.0031 | 6.8262 | 55.299
of which Xoserve | 4.25 | 4.123 | 4.66 | 5.109 | 4.186 | 4.43 | 4.605 | 4.464 | 35.827
Total Direct Opex | 61.4573 | 60.628 | 63.2315 | 62.5873 | 60.4346 | 61.5948 | 61.643 | 60.1201 | 491.6966
Business support | 19.0224 | 19.169 | 19.3557 | 19.9011 | 19.9267 | 20.0596 | 20.1673 | 19.9746 | 157.5763
Training & Apprentices | 3.25 | 3.3974 | 3.6979 | 3.7277 | 3.9258 | 3.781 | 3.7858 | 3.817 | 29.3826
Total Indirect Opex | 22.2724 | 22.5664 | 23.0535 | 23.6288 | 23.8525 | 23.8407 | 23.9531 | 23.7916 | 186.959
Total Opex | 84.0285 | 83.4932 | 86.5839 | 86.5149 | 84.5859 | 85.7343 | 85.8949 | 84.2106 | 681.0462
Total sub-deducts | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 4.7813
Total Controllable costs | 216.5505 | 214.5328 | 211.0939 | 208.239 | 207.2041 | 206.7634 | 209.6399 | 208.4542 | 1682.4777
Non-Controllable costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Licence/network/other | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 220.86
NTS exit costs | 23.0421 | 23.0589 | 23.06 | 23.06 | 23.06 | 23.06 | 23.06 | 23.06 | 184.4607
Shrinkage | 8.8693 | 8.748 | 8.683 | 8.5166 | 8.3901 | 8.2673 | 8.1429 | 7.847 | 67.4642
NTS pensions contributions | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 31.5751
Total non-controllable costs | 63.4658 | 63.3613 | 63.2973 | 63.1309 | 63.0044 | 62.8816 | 62.7572 | 62.4613 | 504.3599
Total funded costs | 280.0163 | 277.8941 | 274.3912 | 271.3699 | 270.2085 | 269.645 | 272.3971 | 270.9155 | 2186.8376
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agreed Uncertainties** £m | [8 empty] | error
2009-10 prices
Ofgem Allowance (Post IQI) £m
Uncertainty | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Smart metering | [8 empty] | 0
Streetworks | [8 empty] | 0
PSUP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SIUs | [8 empty] | 0
Other - fuel poor | 0 | 0 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 1.8716
Tier 2A adjustment | 2.4417 | -0.64735 | [6 empty] | 1.7944
0
Total | 2.4417 | -0.64735 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 3.666
[9 empty] | 0 | check
Agreed uncertainties** by activity £m
Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
LTS, storage and entry | [8 empty] | 0
Connections | 0 | 0 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 1.8716
Mains Reinforcement | [8 empty] | 0
Governors (Replacement) | [8 empty] | 0
Other Capex | [8 empty] | 0
of which IT | [8 empty] | 0
of which Vehicles | [8 empty] | 0
Total Capex | 0 | 0 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 1.8716
HSE driven mains & services | 2.4417 | -0.64735 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7944
Non-HSE driven mains & services | [8 empty] | 0
Multi occupancy buildings (MoBs) | [8 empty] | 0
Total Repex | 2.4417 | -0.64735 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7944
Work Management | [8 empty] | 0
Emergency | [8 empty] | 0
Repair | [8 empty] | 0
Maintenance | [8 empty] | 0
Statutory independent undertakings (SIUs) | [8 empty] | 0
Other Direct Activities | [8 empty] | 0
of which Xoserve | [8 empty] | 0
Total Direct Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Business support | [8 empty] | 0
Training & Apprentices | [8 empty] | 0
Total Indirect Opex | [8 empty] | 0
Total Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Controllable costs | 2.4417 | -0.64735 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 0.31194 | 3.666
0
| OK | OK | OK | OK | OK | OK | OK | OK | OK
* These are uncertainties where a reopener has yet to be triggered and no decision on setting an allowance has been made.
** Agreed uncertainties are where a reopener has been triggered and a decision has been made by Ofgem.

## Workload summary
Regulatory Reporting Pack
Wales & West Utilities
2015/16
2.3 Summary of workload
Current year RRP submission 2015 - Workload
|  | Actuals |  | Current year actuals | Forecast |  |  |  |  | Forecast RIIO Total
Cost activity |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Opex
Mains condition reports | Number | 5636 | 6424 | 5569 | 7428.6093 | 7422.7124 | 7402.5457 | 7366.8369 | 7314.2281 | 54563.9325
Service condition reports | Number | 6317 | 5417 | 5943 | 5196.1094 | 5167.9255 | 5132.0256 | 5087.7722 | 5034.4861 | 43295.3188
No. of holders removed | Number | 2 | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 10
Capex
Total mains reinforcement | km | 11.3181 | 13.4404 | 9.8232 | 14 | 8 | 8 | 14 | 3.5 | 82.0816
Total reinforcement Governors | Number | 0 | 0 | 4 | 10 | 16 | 16 | 16 | 16 | 78
Total connection services | Number | 11498 | 11294 | 11640 | 12852 | 12866 | 12886 | 12886 | 12674 | 98596
- New housing services | Number | 2898 | 3595 | 3878 | 2826 | 2868 | 2868 | 2868 | 2868 | 24669
- Existing housing services | Number | 5381 | 5508 | 5563 | 7800 | 7800 | 7800 | 7800 | 7800 | 55452
- Non- domestic services | Number | 587 | 530 | 640 | 816 | 828 | 828 | 828 | 828 | 5885
- Fuel poor services | Number | 2632 | 1661 | 1559 | 1410 | 1370 | 1390 | 1390 | 1178 | 12590
Governor intervention | Number | 94 | 90 | 35 | 450.5 | 321 | 336.5 | 289.5 | 252 | 1868.5
Repex
T1 length decommissioned | km | 332.4631 | 365.6075 | 345.0844 | 367.3282 | 305.9021 | 305.9021 | 305.9021 | 305.9021 | 2634.0918
T2 length decommissioned | km | 21.6847 | 20.7114 | 20.8641 | 35.4214 | 32.4393 | 32.4393 | 32.4393 | 32.4393 | 228.4388
T3 length decommissioned | km | 1.371 | 1.7409 | 0.7721 | 0 | 0 | 0 | 0 | 0 | 3.884
Steel length decommissioned | km | 64.8401 | 66.7523 | 100.3393 | 67.2497 | 61.6979 | 61.6979 | 61.6979 | 61.6979 | 545.973
Other length decommissioned | km | 29.407 | 26.1554 | 8.8669 | 6.2266 | 3.9592 | 3.9592 | 3.9592 | 3.9592 | 86.4927
No. of services transferred | Number | 19750 | 20361 | 17308 | 21267.1403 | 18041.6321 | 18041.6321 | 18041.6321 | 18041.6321 | 150852.6686
No. of services relaid | Number | 22851 | 23770 | 21642 | 29390.6111 | 25884.0778 | 25884.0778 | 25884.0778 | 25884.0778 | 201189.9221
Previous year RRP submission | [10 empty] | Variance from previous year | [10 empty] | % Variance from previous year
|  | Actuals 2014: Actuals; Current year actuals 2016: Previous year forecast | [5 empty] | Actuals | Forecast | [9 empty] | Actuals | Forecast
Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Opex | [10 empty] | Opex | [10 empty] | Opex
Mains condition reports | Number | 5636 | 6424 | 7421.4281 | 7428.6093 | 7422.7124 | 7402.5457 | 7366.8369 | 7314.2281 | 56416.3605 | Mains condition reports | Number | 0 | 0 | -1852.4281 | 0 | 0 | 0 | 0 | 0 | -1852.4281 | Mains condition reports | Number | 0% | 0% | -24.96% | 0% | 0% | 0% | 0% | 0% | -3.283%
Service condition reports | Number | 6317 | 5417 | 5217.1751 | 5196.1094 | 5167.9255 | 5132.0256 | 5087.7722 | 5034.4861 | 42569.4938 | Service condition reports | Number | 0 | 0 | 725.8249 | 0 | 0 | 0 | 0 | 0 | 725.8249 | Service condition reports | Number | 0% | 0% | 13.91% | 0% | 0% | 0% | 0% | 0% | 1.705%
No. of holders removed | Number | 2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | No. of holders removed | Number | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | No. of holders removed | Number | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 11.11%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capex |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Capex | [10 empty] | Capex
Total mains reinforcement | km | 11.3181 | 13.4404 | 9 | 10 | 10 | 10 | 10 | 10 | 83.7585 | Total mains reinforcement | km | 0 | 0 | 0.82315 | 4 | -2 | -2 | 4 | -6.5 | -1.6769 | Total mains reinforcement | km | 0% | 0% | 9.146% | 40% | -20% | -20% | 40% | -65% | -2.002%
Total reinforcement Governors | Number | 0 | 0 | 16 | 16 | 16 | 16 | 16 | 16 | 96 | Total reinforcement Governors | Number | 0 | 0 | -12 | -6 | 0 | 0 | 0 | 0 | -18 | Total reinforcement Governors | Number | #DIV/0! | #DIV/0! | -75% | -37.5% | 0% | 0% | 0% | 0% | -18.75%
Total connection services | Number | 11498 | 11294 | 12947.75 | 12852 | 12866 | 12886 | 12886 | 12656 | 99885.75 | Total connection services | Number | 0 | 0 | -1307.75 | 0 | 0 | 0 | 0 | 18 | -1289.75 | Total connection services | Number | 0% | 0% | -10.1% | 0% | 0% | 0% | 0% | 0.1422% | -1.291%
- New housing services | Number | 2898 | 3595 | 2770.75 | 2826 | 2868 | 2868 | 2868 | 2868 | 23561.75 | - New housing services | Number | 0 | 0 | 1107.25 | 0 | 0 | 0 | 0 | 0 | 1107.25 | - New housing services | Number | 0% | 0% | 39.96% | 0% | 0% | 0% | 0% | 0% | 4.699%
- Existing housing services | Number | 5381 | 5508 | 7800 | 7800 | 7800 | 7800 | 7800 | 7800 | 57689 | - Existing housing services | Number | 0 | 0 | -2237 | 0 | 0 | 0 | 0 | 0 | -2237 | - Existing housing services | Number | 0% | 0% | -28.68% | 0% | 0% | 0% | 0% | 0% | -3.878%
- Non- domestic services | Number | 587 | 530 | 800 | 816 | 828 | 828 | 828 | 828 | 6045 | - Non- domestic services | Number | 0 | 0 | -160 | 0 | 0 | 0 | 0 | 0 | -160 | - Non- domestic services | Number | 0% | 0% | -20% | 0% | 0% | 0% | 0% | 0% | -2.647%
- Fuel poor services | Number | 2632 | 1661 | 1577 | 1410 | 1370 | 1390 | 1390 | 1160 | 12590 | - Fuel poor services | Number | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 18 | 0 | - Fuel poor services | Number | 0% | 0% | -1.141% | 0% | 0% | 0% | 0% | 1.552% | 0%
Governor intervention | Number | 94 | 90 | 250 | 450.5 | 321 | 336.5 | 289.5 | 252 | 2083.5 | Governor intervention | Number | 0 | 0 | -215 | 0 | 0 | 0 | 0 | 0 | -215 | Governor intervention | Number | 0% | 0% | -86% | 0% | 0% | 0% | 0% | 0% | -10.32%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repex |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Repex | [10 empty] | Repex
T1 length decommissioned | km | 332.4631 | 365.6075 | 417.6 | 396.55 | 333.4 | 333.4 | 333.4 | 333.45 | 2845.8707 | T1 length decommissioned | km | 0 | 0 | -72.5156 | -29.2218 | -27.4979 | -27.4979 | -27.4979 | -27.5479 | -211.7789 | T1 length decommissioned | km | 0% | 0% | -17.36% | -7.369% | -8.248% | -8.248% | -8.248% | -8.261% | -7.442%
T2 length decommissioned | km | 21.6847 | 20.7114 | 29.7 | 29.7 | 29.7 | 29.7 | 29.7 | 29.775 | 220.6711 | T2 length decommissioned | km | 0 | 0 | -8.8359 | 5.7214 | 2.7393 | 2.7393 | 2.7393 | 2.6643 | 7.7677 | T2 length decommissioned | km | 0% | 0% | -29.75% | 19.26% | 9.223% | 9.223% | 9.223% | 8.948% | 3.52%
T3 length decommissioned | km | 1.371 | 1.7409 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.075 | 3.6869 | T3 length decommissioned | km | 0 | 0 | 0.6721 | -0.1 | -0.1 | -0.1 | -0.1 | -0.075 | 0.1971 | T3 length decommissioned | km | 0% | 0% | 672.1% | -100% | -100% | -100% | -100% | -100% | 5.346%
Steel length decommissioned | km | 64.8401 | 66.7523 | 24.4 | 24.4 | 24.4 | 24.4 | 24.4 | 24.4 | 277.9925 | Steel length decommissioned | km | 0 | 0 | 75.9393 | 42.8497 | 37.2979 | 37.2979 | 37.2979 | 37.2979 | 267.9805 | Steel length decommissioned | km | 0% | 0% | 311.2% | 175.6% | 152.9% | 152.9% | 152.9% | 152.9% | 96.4%
Other length decommissioned | km | 29.407 | 26.1554 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.725 | 95.7874 | Other length decommissioned | km | 0 | 0 | 2.1669 | -0.4734 | -2.7408 | -2.7408 | -2.7408 | -2.7658 | -9.2947 | Other length decommissioned | km | 0% | 0% | 32.34% | -7.066% | -40.91% | -40.91% | -40.91% | -41.13% | -9.703%
No. of services transferred | Number | 19750 | 20361 | 23798.3591 | 23733.5835 | 20397.6094 | 20397.6094 | 20397.6094 | 20397.6094 | 169233.3802 | No. of services transferred | Number | 0 | 0 | -6490.3591 | -2466.4432 | -2355.9773 | -2355.9773 | -2355.9773 | -2355.9773 | -18380.7116 | No. of services transferred | Number | 0% | 0% | -27.27% | -10.39% | -11.55% | -11.55% | -11.55% | -11.55% | -10.86%
No. of services relaid | Number | 22851 | 23770 | 25538.3847 | 25485.3865 | 22755.9532 | 22755.9532 | 22755.9532 | 22755.9532 | 188668.5838 | No. of services relaid | Number | 0 | 0 | -3896.3847 | 3905.2246 | 3128.1246 | 3128.1246 | 3128.1246 | 3128.1246 | 12521.3383 | No. of services relaid | Number | 0% | 0% | -15.26% | 15.32% | 13.75% | 13.75% | 13.75% | 13.75% | 6.637%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Final proposals | [10 empty] | Variance from final proposals | [10 empty] | % Variance from final proposals
[13 empty] | Actuals |  |  | Forecast | [7 empty] | Actuals |  |  | Forecast
Workload
Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Opex | [10 empty] | Opex | [10 empty] | Opex
Mains condition reports | Number | 9724.5789 | 9495.3985 | 9271.956 | 9054.1448 | 8841.8599 | 8634.9981 | 8433.4609 | 8237.1539 | 71693.5508 | Mains condition reports | Number | -4088.5789 | -3071.3985 | -3702.956 | -1625.5354 | -1419.1475 | -1232.4524 | -1066.624 | -922.9258 | -17129.6183 | Mains condition reports | Number | -42.04% | -32.35% | -39.94% | -17.95% | -16.05% | -14.27% | -12.65% | -11.2% | -23.89%
Service condition reports | Number | 5054.1887 | 4985.2576 | 4901.9519 | 4801.158 | 4680.8179 | 4540.6366 | 4372.7139 | 4180.8059 | 37517.5306 | Service condition reports | Number | 1262.8113 | 431.7424 | 1041.0481 | 394.9513 | 487.1076 | 591.389 | 715.0582 | 853.6803 | 5777.7882 | Service condition reports | Number | 24.99% | 8.66% | 21.24% | 8.226% | 10.41% | 13.02% | 16.35% | 20.42% | 15.4%
No. of holders removed | Number | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 7-8 | No. of holders removed | Number | [9 empty] | No. of holders removed | Number | [8 empty] | #VALUE!
Capex | [10 empty] | Capex | [10 empty] | Capex
Total mains reinforcement | km | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 200 | Total mains reinforcement | km | -13.6819 | -11.5596 | -15.1768 | -11 | -17 | -17 | -11 | -21.5 | -117.9184 | Total mains reinforcement | km | -54.73% | -46.24% | -60.71% | -44% | -68% | -68% | -44% | -86% | -58.96%
Total reinforcement Governors | Number | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 128 | Total reinforcement Governors | Number | -16 | -16 | -12 | -6 | 0 | 0 | 0 | 0 | -50 | Total reinforcement Governors | Number | -100% | -100% | -75% | -37.5% | 0% | 0% | 0% | 0% | -39.06%
Total connection services | Number | 12165 | 12230 | 12305 | 12365 | 12140 | 12215 | 12285 | 12355 | 98060 | Total connection services | Number | -667 | -936 | -665 | 487 | 726 | 671 | 601 | 319 | 536 | Total connection services | Number | -5.483% | -7.653% | -5.404% | 3.939% | 5.98% | 5.493% | 4.892% | 2.582% | 0.5466%
- New housing services | Number | 2485 | 2535 | 2590 | 2640 | 2690 | 2750 | 2805 | 2860 | 21355 | - New housing services | Number | 413 | 1060 | 1288 | 186 | 178 | 118 | 63 | 8 | 3314 | - New housing services | Number | 16.62% | 41.81% | 49.73% | 7.045% | 6.617% | 4.291% | 2.246% | 0.2797% | 15.52%
- Existing housing services | Number | 7465 | 7465 | 7465 | 7465 | 7475 | 7475 | 7475 | 7475 | 59760 | - Existing housing services | Number | -2084 | -1957 | -1902 | 335 | 325 | 325 | 325 | 325 | -4308 | - Existing housing services | Number | -27.92% | -26.22% | -25.48% | 4.488% | 4.348% | 4.348% | 4.348% | 4.348% | -7.209%
- Non- domestic services | Number | 715 | 730 | 750 | 760 | 775 | 790 | 805 | 820 | 6145 | - Non- domestic services | Number | -128 | -200 | -110 | 56 | 53 | 38 | 23 | 8 | -260 | - Non- domestic services | Number | -17.9% | -27.4% | -14.67% | 7.368% | 6.839% | 4.81% | 2.857% | 0.9756% | -4.231%
- Fuel poor services | Number | 1500 | 1500 | 1500 | 1500 | 1200 | 1200 | 1200 | 1200 | 10800 | - Fuel poor services | Number | 1132 | 161 | 59 | -90 | 170 | 190 | 190 | -22 | 1790 | - Fuel poor services | Number | 75.47% | 10.73% | 3.933% | -6% | 14.17% | 15.83% | 15.83% | -1.833% | 16.57%
Governor intervention | Number | 42 | 53 | 56 | 61 | 66 | 74 | 77 | 85 | 514 | Governor intervention | Number | 52 | 37 | -21 | 389.5 | 255 | 262.5 | 212.5 | 167 | 1354.5 | Governor intervention | Number | 123.8% | 69.81% | -37.5% | 638.5% | 386.4% | 354.7% | 276% | 196.5% | 263.5%
Repex | [10 empty] | Repex | [10 empty] | Repex
T1 length decommissioned | km | 331.5076 | 330.961 | 330.434 | 329.9258 | 329.4358 | 328.9635 | 328.5083 | 328.0695 | 2637.8056 | T1 length decommissioned | km | 0.9555 | 34.6465 | 14.6504 | 37.4024 | -23.5337 | -23.0614 | -22.6062 | -22.1674 | -3.7138 | T1 length decommissioned | km | 0.2882% | 10.47% | 4.434% | 11.34% | -7.144% | -7.01% | -6.881% | -6.757% | -0.1408%
T2 length decommissioned | km | 30.1528 | 29.8319 | 28.3167 | 28.2533 | 32.3017 | 30.904 | 28.6746 | 28.7351 | 237.1702 | T2 length decommissioned | km | -8.4681 | -9.1205 | -7.4526 | 7.1681 | 0.13763 | 1.5353 | 3.7647 | 3.7042 | -8.7314 | T2 length decommissioned | km | -28.08% | -30.57% | -26.32% | 25.37% | 0.4261% | 4.968% | 13.13% | 12.89% | -3.681%
T3 length decommissioned | km | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.98842 | T3 length decommissioned | km | 1.2474 | 1.6173 | 0.64855 | -0.12355 | -0.12355 | -0.12355 | -0.12355 | -0.12355 | 2.8956 | T3 length decommissioned | km | 1010% | 1309% | 524.9% | -100% | -100% | -100% | -100% | -100% | 293%
Steel length decommissioned | km | 71.6237 | 71.5443 | 71.4675 | 71.3934 | 71.3219 | 71.2528 | 71.186 | 71.1215 | 570.9112 | Steel length decommissioned | km | -6.7836 | -4.792 | 28.8718 | -4.1437 | -9.624 | -9.5549 | -9.4881 | -9.4237 | -24.9382 | Steel length decommissioned | km | -9.471% | -6.698% | 40.4% | -5.804% | -13.49% | -13.41% | -13.33% | -13.25% | -4.368%
Other length decommissioned | km | 7.2313 | 7.1443 | 6.9943 | 7.0123 | 6.8163 | 6.7863 | 6.8003 | 6.8573 | 55.6422 | Other length decommissioned | km | 22.1757 | 19.0112 | 1.8727 | -0.78568 | -2.8571 | -2.8271 | -2.8411 | -2.8981 | 30.8505 | Other length decommissioned | km | 306.7% | 266.1% | 26.77% | -11.2% | -41.92% | -41.66% | -41.78% | -42.26% | 55.44%
No. of services transferred | Number | 16553.6787 | 16530.0223 | 16538.733 | 16501.034 | 16536.0676 | 16476.732 | 16474.1113 | 16492.1039 | 132102.4827 | No. of services transferred | Number | 3196.3213 | 3830.9777 | 769.267 | 4766.1063 | 1505.5645 | 1564.9001 | 1567.5208 | 1549.5282 | 18750.1859 | No. of services transferred | Number | 19.31% | 23.18% | 4.651% | 28.88% | 9.105% | 9.498% | 9.515% | 9.396% | 14.19%
No. of services relaid | Number | 26440.2014 | 26524.1324 | 26653.347 | 26651.5127 | 26389.4372 | 26092.5755 | 25806.4502 | 25771.7966 | 210329.453 | No. of services relaid | Number | -3589.2014 | -2754.1324 | -5011.347 | 2739.0984 | -505.3594 | -208.4977 | 77.6276 | 112.2811 | -9139.5309 | No. of services relaid | Number | -13.57% | -10.38% | -18.8% | 10.28% | -1.915% | -0.7991% | 0.3008% | 0.4357% | -4.345%
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Safety
Regulatory Reporting Pack
Wales & West Utilities
2015/16
2.4 Summary of safety outputs and secondary deliverables
Actual/forecast iron mains risk reduction (incidents/year x 10-6) - Primary output
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Mains risk b/f | 197562.9 | 172591.9 | 148530.9 | 131807.3356 | 117866.4206 | 109975.4556 | 102951.8821 | 96490.1946
Mains risk reduction | 24971 | 24061 | 16723.5644 | 13940.9151 | 7890.965 | 7023.5734 | 6461.6876 | 5597.9708
Main risk c/f | 172591.9 | 148530.9 | 131807.3356 | 117866.4206 | 109975.4556 | 102951.8821 | 96490.1946 | 90892.2237
Cumulative mains risk reduction | 24971 | 49032 | 65755.5644 | 79696.4794 | 87587.4444 | 94611.0179 | 101072.7054 | 106670.6763
Previous year forecast iron mains risk reduction (incidents/year x 10-6) | [8 empty] | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [6 empty] | Actuals | Forecast | [7 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Mains risk b/f | 197562.9 | 172591.9 | 148530.9 | 130068.0264 | 116719.7423 | 109164.2237 | 102439.2237 | 96252.2237
Mains risk reduction | 24971 | 24061 | 18462.8736 | 13348.2841 | 7555.5186 | 6725 | 6187 | 5360 | Mains risk reduction | 0 | 0 | -1739.3092 | 592.631 | 335.4464 | 298.5734 | 274.6876 | 237.9708 | Mains risk reduction | 0% | 0% | -9.421% | 4.44% | 4.44% | 4.44% | 4.44% | 4.44%
Main risk c/f | 172591.9 | 148530.9 | 130068.0264 | 116719.7423 | 109164.2237 | 102439.2237 | 96252.2237 | 90892.2237
Cumulative mains risk reduction | 24971 | 49032 | 67494.8736 | 80843.1577 | 88398.6763 | 95123.6763 | 101310.6763 | 106670.6763 | Cumulative mains risk reduction | 0 | 0 | -1739.3092 | -1146.6783 | -811.2318 | -512.6584 | -237.9708 | 0 | Cumulative mains risk reduction | 0% | 0% | -2.577% | -1.418% | -0.9177% | -0.5389% | -0.2349% | 0%
Final proposals allowed iron mains risk reduction for RIIO-GD1 (incidents/year x 10-6) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Mains risk reduction | 98727 | [7 empty] | Mains risk reduction | 7943.6763 | [7 empty] | Mains risk reduction | -100%
Actual/forecast repair risk (x106)
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Repair risk 2013 (start position)
Annual repair risk | 24.6862 | 18.6322 | 11.57 | 24.18 | 24.18 | 24.18 | 24.18 | 24.18
Movement in risk | -24.6862 | -18.6322 | -11.57 | -24.18 | -24.18 | -24.18 | -24.18 | -24.18
Previous year's forecast repair risK (x106) | [8 empty] | Variance from previous year (x106) | [8 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [6 empty] | Actuals | Forecast | [7 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Annual repair risk | 24.6862 | 18.6322 | 24.18 | 24.18 | 24.18 | 24.18 | 24.18 | 24.18 | Annual repair risk | 0 | 0 | -12.61 | 0 | 0 | 0 | 0 | 0 | Repair risk reduction | 0% | 0% | -52.15% | 0% | 0% | 0% | 0% | 0%
Movement in risk | -24.6862 | -18.6322 | -24.18 | -24.18 | -24.18 | -24.18 | -24.18 | -24.18 | Movement in risk | 0 | 0 | 12.61 | 0 | 0 | 0 | 0 | 0
Safety - Emergency response - Primary output | Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Total PREs | 90885 | 87141
(1) Controllable
Number of controlled gas escapes or controlled other gas emergencies reported | 33617 | 32066 | 31341
Number of responses within timescale (2 hours) | 33444 | 31938 | 31217
Percentage of controlled gas escapes responded to within timescale (2 hours) | 99.49% | 99.6% | 99.6%
(2) Non-controllable
Number of uncontrolled gas escapes or uncontrolled other gas emergencies reported | 57268 | 55075 | 54130
Number of responses within timescale (1 hour) | 56314 | 54236 | 53365
Percentage of uncontrolled gas escapes responded to within timescale (1 hour) | 98.33% | 98.48% | 98.59%
Proportion of gas escapes prevented within 12 hrs (secondary deliverable) | 46.65% | 49.47% | 52.6%
Gas in Buildings (GIB) events - Iron mains - Secondary deliverable | Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
GIB events reportable under RIDDOR ie GIB >= 20% LEL or > 10kg from spun/cast iron fracture or DI corrosion of mains of: | 1 | 3 | 11 | 10 | 10 | 10 | 10 | 10
GIB events (any % level) from spun/cast iron fracture or DI corrosion of mains of: | 37 | 45 | 35
Cast/spun iron fractures and ductile iron corrosion failures - Secondary deliverable | Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Number of spun/cast iron fracture or DI corrosion of mains of: | 581 | 616 | 519 | 1066 | 1066 | 1066 | 1066 | 1066
Sub-deduct networks - secondary deliverable | Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
% off sub-deduct networks taken of risk | 8.28% | 9.554% | 48.41% | 75% | 90% | 100% | 100% | 100%
Cumulative | 8.28% | 17.83% | 66.24% | 141.2% | 231.2% | 331.2% | 431.2% | 531.2%
Note on A71: Ofgem: Any concentration level at any location in the building. Data to include all GIB instances including those reportable under RIDDOR

## Reliability
Regulatory Reporting Pack
Wales & West Utilities
2015/16
2.5 Summary of reliability outputs and secondary deliverables
Summary of loss of supply volumes and duration - primary output
Actual/forecast loss of supply volumes (no.)
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 53085 | 55623 | 45173 | 57490 | 48285 | 47679 | 47679 | 47676 | 402690
No. of unplanned interruptions | 9478 | 10062 | 10768 | 10064 | 9883 | 9689 | 9474 | 9238 | 78656
Total interruptions | 62563 | 65685 | 55941 | 67554 | 58168 | 57368 | 57153 | 56914 | 481346
Previous year forecast loss of supply volumes (no.) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [7 empty] | Actuals |  | Current year actuals | Forecast | [6 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 53085 | 55623 | 57490 | 57490 | 48285 | 47679 | 47679 | 47676 | 415007 | No. of planned interruptions | 0 | 0 | -12317 | 0 | 0 | 0 | 0 | 0 | -12317 | No. of planned interruptions | 0% | 0% | -21.42% | 0% | 0% | 0% | 0% | 0% | -2.968%
No. of unplanned interruptions | 9478 | 10062 | 10315 | 10064 | 9883 | 9689 | 9474 | 9238 | 78203 | No. of unplanned interruptions | 0 | 0 | 453 | 0 | 0 | 0 | 0 | 0 | 453 | No. of unplanned interruptions | 0% | 0% | 4.392% | 0% | 0% | 0% | 0% | 0% | 0.5793%
Total interruptions | 62563 | 65685 | 67805 | 67554 | 58168 | 57368 | 57153 | 56914 | 493210 | Total interruptions | 0 | 0 | -11864 | 0 | 0 | 0 | 0 | 0 | -11864 | Total interruptions | 0% | 0% | -17.5% | 0% | 0% | 0% | 0% | 0% | -2.405%
Final proposals allowed loss of supply volumes (no.) | [9 empty] | Variance from final proposals | [9 empty] | Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
No. of planned interruptions | 451235.3356 | [8 empty] | No. of planned interruptions | -48545.3356 | [8 empty] | No. of planned interruptions | -10.76%
No. of unplanned interruptions | 90169.2225 | [8 empty] | No. of unplanned interruptions | -11513.2225 | [8 empty] | No. of unplanned interruptions | -12.77%
Total interruptions | 541404.558 | [8 empty] | Total interruptions | -60058.558 | [8 empty] | Total interruptions | -11.09%
Actual/forecast loss of supply duration (mins - million of)
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 13.0837 | 13.6775 | 10.3758 | 12.4119 | 9.9417 | 9.817 | 9.817 | 9.8163 | 88.941
No. of unplanned interruptions | 6.1219 | 9.4034 | 4.8344 | 4.8428 | 4.7557 | 4.6623 | 4.5589 | 4.4453 | 43.6248
Total interruptions | 19.2057 | 23.081 | 15.2102 | 17.2547 | 14.6974 | 14.4793 | 14.3759 | 14.2617 | 132.5658
Previous year forecast loss of supply duration (mins - million of) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [7 empty] | Actuals |  | Current year actuals | Forecast | [6 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 13.0837 | 13.6775 | 13.2743 | 12.4119 | 9.9417 | 9.817 | 9.817 | 9.8163 | 91.8395 | No. of planned interruptions | 0 | 0 | -2.8985 | 0 | 0 | 0 | 0 | 0 | -2.8985 | No. of planned interruptions | 0% | 0% | -21.84% | 0% | 0% | 0% | 0% | 0% | -3.156%
No. of unplanned interruptions | 6.1219 | 9.4034 | 4.9636 | 4.8428 | 4.7557 | 4.6623 | 4.5589 | 4.4453 | 43.754 | No. of unplanned interruptions | 0 | 0 | -0.12919 | 0 | 0 | 0 | 0 | 0 | -0.12919 | No. of unplanned interruptions | 0% | 0% | -2.603% | 0% | 0% | 0% | 0% | 0% | -0.2953%
Total interruptions | 19.2057 | 23.081 | 18.2378 | 17.2547 | 14.6974 | 14.4793 | 14.3759 | 14.2617 | 135.5935 | Total interruptions | 0 | 0 | -3.0277 | 0 | 0 | 0 | 0 | 0 | -3.0277 | Total interruptions | 0% | 0% | -16.6% | 0% | 0% | 0% | 0% | 0% | -2.233%
Final proposals allowed loss of supply duration (mins - million of) | [9 empty] | Variance from final proposals | [9 empty] | Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
No. of planned interruptions | 92.052 | [8 empty] | No. of planned interruptions | -3.111 | [8 empty] | No. of planned interruptions | -3.38%
No. of unplanned interruptions | 45.0846 | [8 empty] | No. of unplanned interruptions | -1.4598 | [8 empty] | No. of unplanned interruptions | -3.238%
Total interruptions | 137.1366 | [8 empty] | Total interruptions | -4.5708 | [8 empty] | Total interruptions | -3.333%
Summary of telemetered faults - secondary deliverables
Actual/forecast telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs))
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Telemetered faults | 15.8 | 5.23 | 4.54 | 78 | 78 | 78 | 78 | 78 | 415.57
Previous year forecast telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs)) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [7 empty] | Actuals |  | Current year actuals | Forecast | [6 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Telemetered faults | 15.8 | 5.23 | 78 | 78 | 78 | 78 | 78 | 78 | 489.03 | Telemetered faults | 0 | 0 | -73.46 | 0 | 0 | 0 | 0 | 0 | -73.46 | Telemetered faults | 0% | 0% | -94.18% | 0% | 0% | 0% | 0% | 0% | -15.02%
Final proposals allowed telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs)) | [9 empty] | Variance from final proposals | [9 empty] | % Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Telemetered faults | 181 | 168 | 153 | 141 | 161 | 182 | 202 | 223 | 1411 | Telemetered faults | -165.2 | -162.77 | -148.46 | -63 | -83 | -104 | -124 | -145 | -995.43 | Telemetered faults | -91.27% | -96.89% | -97.03% | -44.68% | -51.55% | -57.14% | -61.39% | -65.02% | -70.55%
Summary of pressure systems safety regulations (PSSR) faults - secondary deliverables
Actual/forecast PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate))
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
PSSR faults (% or No.) | 48.1% | 5.7% | 4.988% | 7% | 7.2% | 7.402% | 7.601% | 7.799%
Previous year forecast PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate)) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [7 empty] | Actuals |  | Current year actuals | Forecast | [6 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
PSSR faults (% or No.) | 48.1% | 5.7% | 7.1% | 7% | 7.2% | 7.4% | 7.6% | 7.8% | 0% | PSSR faults (% or No.) | 0 | 0 | -0.021118 | 0 | 0 | 1.6e-05 | 1.4432e-05 | -9.1928e-06 |  | PSSR faults (% or No.) | 0% | 0% | -29.74% | 0% | 0% | 0.02162% | 0.01899% | -0.01179%
Final proposals allowed PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate)) | [9 empty] | Variance from final proposals | [9 empty] | % Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
PSSR faults (% or No.) | 7.3% | 7.2% | 7.1% | 7% | 7.2% | 7.4% | 7.6% | 7.8% | 58.6% | PSSR faults (% or No.) | 0.408 | -0.015 | -0.021118 | 0 | 0 | 1.6e-05 | 1.4432e-05 | -9.1928e-06 |  | PSSR faults (% or No.) | 558.9% | -20.83% | -29.74% | 0% | 0% | 0.02162% | 0.01899% | -0.01179%
Number and value of offtake meter error reports
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Volume of offtake meter errors (GWh) | 11.716 | 11.716 | 12.59 | 67 | 67 | 67 | 67 | 67
Throughput (GWh) | 62420 | 62420 | 57846 | 65565 | 65863 | 66018 | 66370 | 66525
Meter errors/throughput (%) | 0.01877% | 0.01877% | 0.02176% | 0.1022% | 0.1017% | 0.1015% | 0.1009% | 0.1007%
Summary Capacity Utilisation
Capacity utilisation | Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
</= 50% | 171 | 164 | 161 | 161 | 161 | 161 | 161 | 161
>50% to </=70% | 81 | 80 | 76 | 77 | 77 | 77 | 77 | 77
>70% to </=80% | 39 | 39 | 41 | 41 | 41 | 41 | 41 | 41
>80% to </=100% | 51 | 51 | 55 | 55 | 55 | 55 | 55 | 55
>100% | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Total no. of sites | 342 | 334 | 334 | 334 | 334 | 334 | 334 | 334
\\\\\\\\\\\\\\\\\\\\\\\\\

## Environmental
Regulatory Reporting Pack
Wales & West Utilities
2015/16
2.6 Summary of environmental outputs - shrinkage and leakage volumes
Actual/forecast shrinkage volumes (GWh)
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Shrinkage volumes at start of RIIO-GD1 | 417.4
Shrinkage volume | 417.4 | 394.7673 | 381.069 | 386.5034 | 380.0887 | 373.696 | 367.2931 | 360.6937
Shrinkage volume reduction | 0 | 22.6327 | 36.331 | 30.8966 | 37.3113 | 43.704 | 50.1069 | 56.7063
% shrinkage volume reduction | 0% | 5.422% | 8.704% | 7.402% | 8.939% | 10.47% | 12% | 13.59%
Previous year forecast shrinkage volumes (GWh) | [8 empty] | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [6 empty] | Actuals |  | Current year actuals | Forecast | [5 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Shrinkage volumes at start of RIIO-GD1 | 417.4
Shrinkage volume | 417.4 | 394.7673 | 405.3309 | 397.5245 | 389.6304 | 381.8735 | 373.8241 | 365.7847 | Shrinkage volume | 0 | 0 | -24.2619 | -11.0211 | -9.5417 | -8.1775 | -6.531 | -5.0911 | Shrinkage volume | 0% | 0% | -5.986% | -2.772% | -2.449% | -2.141% | -1.747% | -1.392%
Shrinkage volume reduction | 0 | 7.5629 | 15.8542 | 23.6606 | 31.5546 | 39.3115 | 47.3609 | 55.4003 | Shrinkage volume reduction | 0 | 15.0698 | 20.4768 | 7.236 | 5.7566 | 4.3924 | 2.746 | 1.306 | Shrinkage volume reduction | #DIV/0! | 199.3% | 129.2% | 30.58% | 18.24% | 11.17% | 5.798% | 2.357%
% shrinkage volume reduction | 0% | 1.812% | 3.798% | 5.669% | 7.56% | 9.418% | 11.35% | 13.27%
Final proposals allowed shrinkage volumes (GWh) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Shrinkage volume reduction | 14% | [7 empty] | Shrinkage volume reduction | -1.7297 | [7 empty] | Shrinkage volume reduction | -0.4144%
Actual/forecast leakage volumes (GWh)
| Actuals |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Leakage volumes at start of RIIO-GD1 | 398
Leakage volume | 398 | 376.0295 | 362.9632 | 365.9772 | 359.4689 | 353.0277 | 346.5221 | 339.9521
Leakage volume reduction | 0 | 21.9705 | 35.0368 | 32.0228 | 38.5311 | 44.9723 | 51.4779 | 58.0479
% Leakage volume reduction | 0% | 5.52% | 8.803% | 8.046% | 9.681% | 11.3% | 12.93% | 14.58%
Previous year forecast leakage volumes (GWh) | [8 empty] | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  | Previous year forecast | [6 empty] | Actuals |  | Current year actuals | Forecast | [5 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Leakage volumes at start of RIIO-GD1 | 398
Leakage volume | 398 | 376.0295 | 376.1331 | 367.7197 | 361.2288 | 354.8052 | 348.3174 | 341.7653 | Leakage volume | 0 | 0 | -13.17 | -1.7425 | -1.7599 | -1.7775 | -1.7953 | -1.8133 | Leakage volume | 0% | 0% | -3.501% | -0.4739% | -0.4872% | -0.501% | -0.5154% | -0.5306%
Leakage volume reduction | 0 | 25.8053 | 25.7016 | 34.1151 | 40.6059 | 47.0295 | 53.5174 | 60.0694 | Leakage volume reduction | 0 | -3.8348 | 9.3352 | -2.0923 | -2.0748 | -2.0572 | -2.0395 | -2.0215 | Leakage volume reduction | #DIV/0! | -14.86% | 36.32% | -6.133% | -5.11% | -4.374% | -3.811% | -3.365%
% Leakage volume reduction | 0% | 6.484% | 6.458% | 8.572% | 10.2% | 11.82% | 13.45% | 15.09%
Final proposals allowed leakage volumes (GWh) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Leakage volume reduction | 14.7% | [7 empty] | Leakage volume reduction | -0.45809 | [7 empty] | Leakage volume reduction | -0.1151%

## Guaranteed Standards
Regulatory Reporting Pack
Wales & West Utilities
2015/16
8.3 Guaranteed Standards of Service
Guaranteed Standard 1 - Regulation 7 - Supply Restoration
Domestic
Number of customers' premises not restored within the prescribed period (Reg 7(2)(a)) | 424
Number of customers' premises not restored within the prescribed period (Reg 7(2)(b)) | 150
Number of payments made under Reg 7(2)(a) | 424
Value of payments made under Reg 7(2)(a) | 12720
Number of payments made under Reg 7(2)(b) | 391
Value of payments made under Reg 7(2)(b) | 11730
Number of times cap reached for payments under Reg 7(2) | 0
Total value of domestic payments made under Regulation 7 | 24450
Non Domestic
Number of customers' premises not restored within the prescribed period (Reg 7(2)(a)) | 20
Number of customers' premises not restored within the prescribed period (Reg 7(2)(b)) | 8
Number of payments made under Reg 7(2)(a) | 20
Value of payments made under Reg 7(2)(a) | 1000
Number of payments made under Reg 7(2)(b) | 12
Value of payments made under Reg 7(2)(b) | 600
Number of times cap reached for payments under Reg 7(2) | 0
Total value of non-domestic payments made under Regulation 7 | 1600
Total value of domestic and non-domestic payments made under Regulation 7 | 26050
Guaranteed Standard 2 - Regulation 8 - Reinstatement of customer's premises
Domestic
Number of customers' premises due to be reinstated | 11766
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(a)) | 257
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(b)) | 54
Number of payments made under Reg 8(2)(a) | 257
Value of payments made under Reg 8(2)(a) | 12850
Number of payments made under Reg 8(2)(b) | 94
Value of payments made under Reg 8(2)(b) | 4700
Total value of payments made under Regulation 8 to domestic customers | 17550
Non Domestic
Number of customers' premises due to be reinstated | 267
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(a)) | 3
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(b)) | 1
Number of payments made under Reg 8(2)(a) | 3
Value of payments made under Reg 8(2)(a) | 300
Number of payments made under Reg 8(2)(b) | 1
Value of payments made under Reg 8(2)(b) | 100
Total value of payments made under Regulation 8 to non-domestic customers | 400
Total value of payments made under Regulation 8 | 17950
Guaranteed Standard 3 - Regulation 9 - Priority domestic customers
Number of supply interruptions to priority domestic customers' premises (Reg 9(1)) | 4429.37
Planned interruptions
Number of planned interruptions to priority domestic customers' premises (Reg 9(2)(a)) | 3062.51
Number of payments made under Reg 9(2)(a) | 15
Value of payments made under Reg 9(2)(a) | 360
Unplanned interruptions (less than 250 premises)
Number of unplanned interruptions to priority domestic customers' premises where less than 250 customers' premises are affected (Reg 9(2)(b)(i)) | 1172.27
Number of payments made under Reg 9(2)(b)(i) | 2
Value of payments made under Reg 9(2)(b)(i) | 48
Unplanned interruptions (more than 250 premises)
Number of unplanned interruptions to priority domestic customers' premises where 250 or more customers' premises are affected (Reg 9(2)(b)(ii)) | 194.59
Number of payments made under Reg 9(2)(b)(ii) | 1
Value of payments made under Reg 9(2)(b)(ii) | 24
Total value of payments made under Regulation 9 | 432
Guaranteed Standard 4 - Regulation 10 - Provision of standard connection quotations =<275kWh per hour
Voluntary Scheme
Number of requests for standard quote =<275kWh per hour (Reg 10(1)(a)) | 5912 | 2153
Number of standard quotations provided within prescribed period (Reg 10 (3) (a)) | 5896 | 2145
Number of standard quotations not provided within prescribed period (Reg 10(3)(a)) | 16 | 8
Number of payments made under Reg 10(3)(a) | 150 | 52
Number of times cap reached for payments under Reg 10(6)(b)(i) | 0 | 1
Value of payments made under Regulation 10(3)(a) | 1500 | 520
Exclusions
Number of excluded connections | 4029
Number of complex connections | 0
Number of connections where customer failed to provide required information | 0
Number of customer requested deferrals | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) | 0
Guaranteed Standard 5 - Regulation 10 - Provision of non-standard connection quotations =<275kWh per hour
Voluntary Scheme
Number of requests for non-standard quote =<275kWh per hour (Reg 10(1)(a)) | 5034 | 2374
Number of non-standard quotations provided within prescribed period (Reg 10(3)(b)(i)) | 4974 | 2341
Number of non-standard quotations not provided within prescribed period (Reg 10(3)(b)(i)) | 60 | 33
Number of payments made under Reg 10(3)(b)(i) | 392 | 254
Number of times cap reached for payments under Reg 10(6)(b)(i) | 3 | 1
Value of payments made under Regulation 10(3)(b)(i) | 3920 | 2540
Exclusions
Number of excluded connections | 354
Number of complex connections | 0
Number of connections where customer failed to provide required information | 0
Number of customer requested deferrals | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) | 3
Guaranteed Standard 6 - Regulation 10 - Provision of non-standard connection quotations > 275kWh per hour
Voluntary Scheme
Number of requests for non-standard quote >275kWh per hour (Reg 10(1)(a)) | 71 | 403
Number of non-standard quotations provided within prescribed period (Reg 10(3)(b)(ii)) | 70 | 397
Number of non-standard quotations not provided within prescribed period (Reg 10(3)(b)(ii)) | 1 | 6
Number of payments made under Reg 10(3)(b)(ii) | 1 | 42
Number of times cap reached for payments under Reg 10(6)(b)(ii) | 0 | 0
Value of payments made under Regulation 10 (3)(b)(ii) | 20 | 840
Exclusions
Number of excluded connections | 1513
Number of complex connections | 32
Number of connections where customer failed to provide required information | 0
Number of customer requested deferrals | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) | 390
Guaranteed Standard 7 - Regulation 10 - Accuracy of quotations
Voluntary Scheme
Number of quotations challenged under accuracy scheme (Reg 10(1)(b)) | 0 | 0
Number of quotations found not to be accurate (Reg 10(3)(c)) | 0 | 0
Number of refunds issued following accuracy scheme challenge | 0 | 0
Value of refunds issued under accuracy scheme (Reg 10 (3)(c)) | 0 | 0
Exclusions
Number of excluded connections | 0
Number of complex connections | 0
Number of connections where customer failed to provide required information | 0
Number of customer requested deferrals | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) | 0
Guaranteed Standard 8 - Regulation 10 - Response to land enquiries
Voluntary Scheme
Number of land enquiry requests received (Reg 10(1)(c)) | 4 | 621
Number of land enquiry requests responded to within timescale (Reg 10(3)(d)) | 4 | 613
Number of land enquiry requests not responded to within timescale (Reg 10(3)(d)) | 0 | 8
Number of payments made under Reg 10(3)(d) | 0 | 8
Number of times cap reached for payments under Reg 10(6)(c)(i)(ii) | 0 | 2
Value of payments made under Regulation 10(3)(d) | 0 | 1440
Exclusions
Number of excluded connections | 465
Number of complex connections | 0
Number of connections where customer failed to provide required information | 0
Number of customer requested deferrals | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) | 465
Guaranteed Standard 9 - Regulation 10 - Offering a date for commencement and substantial completion of connection works (=<275kWh per hour)
Voluntary
Number of quotations accepted (Reg 10(1)(d)) | 7135 | 2389
Number where both dates offered within timescale (Reg 10(3)(e)(i)) | 7132 | 2387
Number where at least one date not offered within timescale (Reg 10(3)(e)(i)) | 3 | 2
Number of payments made under Reg 10(3)(e)(i) | 37.5 | 15.5
Number of times cap reached for payments under Reg 10(6)(d)(i) | 3 | 1
Value of payments made under Regulation 10(3)(e)(i) | 750 | 310
Guaranteed Standard 10 - Regulation 10 - Offering a date for commencement and substantial completion of connection works (> 275kWh per hour)
Voluntary Scheme
Number of quotations accepted (Reg 10(1)(d)) | 33 | 135
Number where both dates offered within timescale (Reg 10(3)(e)(ii)) | 33 | 135
Number where at least one date not offered within timescale (Reg 10(3)(e)(ii)) | 0 | 0
Number of payments made under Reg 10(3)(e)(ii) | 0 | 0
Number of times cap reached for payments under Reg 10(6)(d)(ii) | 0 | 0
Value of payments made under Regulation 10(3)(e)(ii) | 0 | 0
Guaranteed Standard 11 - Regulation 10 - Substantial completion on agreed date
Quotation value up to and including £1,000 |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(i)) | 6008 | 1703
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(i)) | 306 | 94
Number of payments made under Reg 10(3)(f)(i) | 880 | 286
Number of times cap reached for payments under Reg 10(6)(e) | 36 | 13
Value of payments made under Regulation 10(3)(f)(i) | 17600 | 5720
Quotation value over £1,000 but not exceeding £4,000 |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(ii)) | 630 | 531
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(ii)) | 67 | 53
Number of payments made under Reg 10(3)(f)(ii) | 247.0006 | 177.9993
Number of times cap reached for payments under Reg 10(6)(f) | 12 | 9
Value of payments made under Regulation 10(3)(f)(ii) | 12958.332 | 9443.4667
Quotation value over £4,000 but not exceeding £20,000 |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(iii)) | 51 | 109
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(iii)) | 14 | 17
Number of payments made under Reg 10(3)(f)(iii) | 57.4887 | 53
Number of times cap reached for payments under Reg 10(6)(f) | 2 | 0
Value of payments made under Regulation 10(3)(f)(iii) | 5748.915 | 5300
Quotation value above £20,000 but not exceeding £50,000 |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(iv)) | 2 | 7
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(iv)) | 1 | 1
Number of payments made under Reg 10(3)(f)(iv) | 4 | 2
Number of times cap reached for payments under Reg 10(6)(g) | 0 | 0
Value of payments made under Regulation 10(3)(f)(iv) | 400 | 200
Quotation value above £50,000 but not exceeding £100,000 |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10)(3)(f)(v)) | 0 | 0
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(v) | 0 | 0
Number of payments made under Reg 10(3)(f)(v) | 0 | 0
Number of times cap reached for payments under Reg 10(6)(h) | 0 | 0
Value of payments made under Regulation 10(3)(f)(v) | 0 | 0
Total Amount |  | Voluntary Scheme
Total number of substantially completed quotations | 7079 | 2515
Total number substantially completed within agreed timescale | 6691 | 2350
Total number not substantially completed within agreed timescale (Reg 10(3)(f) | 388 | 165
Total number of payments made (Reg 10(3)(f)) | 1188.4892 | 518.9993
Total number of times cap reached for payments (Reg 10(6)(e) - (h)) | 50 | 22
Total value of payments made (Regulation 10(3)(f)) | 36707.247 | 20663.4667
Guaranteed Standard 13 - Regulation 10A - Notification of planned supply interruptions
Domestic
Number of customers whose gas supply was interrupted for planned maintenance or replacement work | 35583
Number of customers that did not receive prior notice of not less than prescribed period (Reg 10A(2)) | 628
Number of payments made under Reg 10A(2) | 16
Value of payments made under Reg 10A(2) | 320
Non Domestic
Number of customers whose gas supply was interrupted for planned maintenance or replacement work | 443
Number of customers that did not receive prior notice of not less than prescribed period (Reg 10A(2)) | 35
Number of payments made under Reg 10A(2) | 1
Value of payments made under Reg 10A(2) | 50
Total value of payments made under Reg 10A | 370
Guaranteed Standard 14 - Regulation 10B - Response to complaints
Total number of written and oral complaints received requiring a response | 1776
Number of customers that did not receive a response within the prescribed period (Reg 10B(2)) | 2
Number of payments made under Reg 10B(2) | 8
Number of times cap reached for payments under Reg 10B(4)(e) | 1
Total value of payments made under Reg 10B | 160
Guaranteed Standard 12 - Regulation 12 - Payments
Domestic
Number of payments due under Reg 12 | 16
Value of payments made under Regulation 12 to domestic customers | 320
Non Domestic
Number of payments due under Reg 12 | 10
Value of payments made under Regulation 12 to non-domestic customers | 200
Value of payments made under Reg 12 | 520
Voluntary Scheme
Total value of payments made under the Guaranteed Standards | 88379.247 | 26313.4667

## Licence Condition D10
Regulatory Reporting Pack
Wales & West Utilities
2015/16
8.4 Licence Condition D10
Standard Special Condition D10(2)(a) Provision of standard connection quotations =<275 kWh per hour
Annual
Number of requests for standard quotation =<275kWh per hour (Standard Special Condition D10 (1)(a)) | 8065
Number of standard quotations provided within timescale (Standard Special Condition D10 (2)(a)) | 8041
Percentage of standard quotations provided within timescale (Standard Special Condition D10 (2)(a)) | 99.7%
Number of standard quotations not provided within timescale (Standard Special Condition D10 (2)(a) | 24
Percentage of standard quotations not provided within timescale (Standard Special Condition D10 (2)(a)) | 0.2976%
Standard Special Condition D10(2)(b)(i) Provision of non-standard connection quotations =<275kWh per hour
Annual
Number of requests for non-standard quotation =<275kWh per hour (Standard Special Condition D10 (1)(a)) | 7408
Number of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 7315
Percentage of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 98.74%
Number of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 93
Percentage of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 1.255%
Standard Special Condition D10(2)(b)(ii) Provision of non-standard connections quotations >275kWh per hour
Annual
Number of requests for non-standard quotation >275kWh per hour (Standard Special Condition D10 (1)(a)) | 474
Number of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 467
Percentage of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 98.52%
Number of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 7
Percentage of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 1.477%
Standard Special Condition D10(3) Accuracy of quotations
Annual
Number of quotations challenged under accuracy scheme (Standard Special Condition D10 (3) | 0
Number of quotations found not to be accurate (Standard Special Condition D10 (3)) | 0
Number of refunds issued following accuracy scheme challenge (Standard Special Condition D10 (3)) | 0
Total value of refunds issued following accuracy scheme challenge (Standard Special Condition D10 (3)) | 0
Standard Special Condition D10(2)(d) Response to land enquiries
Annual
Number of land enquiry requests received (Standard Special Condition D10 (1)(c)) | 625
Number of land enquiry requests responded to within timescale (Standard Special Condition D10 (2)(d)) | 617
Percentage of land enquiry requests responded to within timescale (Standard Special Condition D10 (2)(d)) | 98.72%
Number of land enquiry requests not responded to within timescale (Standard Special Condition D10 (2)(d)) | 8
Percentage of land enquiry requests not responded to within timescale (Standard Special Condition D10 (2)(d)) | 1.28%
Standard Special Condition D10(2)(e) Provision of a date for commencement and substantial completion
Annual
Number of quotations accepted | 9692
Number where both dates offered within timescale (Standard Special Condition D10 (2)(e)) | 9687
Percentage where both dates provided within timescale (Standard Special Condition D10 (2)(e)) | 99.95%
Number where at least one date not offered within timescale (Standard Special Condition D10 (2)(e)) | 5
Percentage where at least one date not offered within timescale (Standard Special Condition D10 (2)(e)) | 0.05159%
Standard Special Condition D10(2)(c) Substantial completion of works within timescales agreed with the customer.
Annual
Total number of projects completed | 9594
Number substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 9041
Percentage substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 94.24%
Number not substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 553
Percentage not substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 5.764%
Standard Special Condition D10(2)(f) Responding to telephone calls
Annual
Total calls received on specified numbers | 2068506
Total calls answered within timescale | 1915279
Percentage of telephone calls answered within timescale | 92.59%