## Totex costs summary
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
2.2 Summary of totex costs
Current year RRP submission - £m
2016/17 prices
| Actuals |  |  | Current year actuals | Forecast |  |  |  | Forecast RIIO Total
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
LTS, storage and entry | 8.9329 | 6.5675 | 11.468 | 9.2308 | 12.626 | 12.2906 | 6.5876 | 7.9523 | 75.6558
Connections | 10.8259 | 9.8257 | 12.1278 | 11.0897 | 11.875 | 12.3379 | 12.7203 | 12.6886 | 93.491
Mains Reinforcement | 3.9848 | 3.616 | 3.4892 | 3.533 | 3.514 | 3.7098 | 3.7908 | 3.8354 | 29.473
Governors (Replacement) | 2.3878 | 2.1956 | 2.4795 | 1.6158 | 1.7129 | 1.7909 | 1.8552 | 1.8893 | 15.927
Other Capex | 27.5797 | 22.5124 | 20.3016 | 22.7311 | 14.6429 | 13.3068 | 18.8327 | 18.2256 | 158.1329
of which IT | 5.7561 | 7.8102 | 7.6498 | 5.1048 | 7.6918 | 6.1731 | 5.8473 | 5.8546 | 51.8878
of which Vehicles | 5.5091 | 5.4526 | 4.925 | 4.0919 | 3.8282 | 4.9701 | 8.9086 | 7 | 44.6855
Total Capex | 53.7111 | 44.7173 | 49.866 | 48.2004 | 44.3708 | 43.436 | 43.7867 | 44.5913 | 372.6797
HSE driven mains & services | 67.9278 | 61.1035 | 58.1488 | 58.6694 | 60.3363 | 65.9755 | 67.0807 | 67.7101 | 506.9522
Non-HSE driven mains & services | 6.3466 | 16.2563 | 18.3713 | 16.6066 | 10.019 | 8.6581 | 8.8389 | 9.0559 | 94.153
Risers | 1.5927 | 2.5706 | 2.1671 | 1.8786 | 1.6891 | 1.4974 | 1.572 | 1.3881 | 14.3555
Total Repex | 75.8672 | 79.9304 | 78.6873 | 77.1545 | 72.0444 | 76.131 | 77.4917 | 78.1541 | 615.4606
Work Management | 23.8965 | 20.914 | 21.0515 | 19.8864 | 20.6746 | 21.3758 | 21.5285 | 20.683 | 170.0103
Emergency | 10.3287 | 10.6455 | 9.1195 | 9.6792 | 9.6961 | 10.2852 | 10.3464 | 10.4617 | 80.5624
Repair | 10.1248 | 10.1977 | 8.648 | 9.8569 | 9.2614 | 9.7498 | 9.8094 | 9.9627 | 77.6107
Maintenance | 14.9047 | 18.3747 | 17.3896 | 17.7124 | 16.2315 | 16.9565 | 17.0476 | 17.2112 | 135.8283
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Direct Activities | 20.1458 | 14.1593 | 7.0231 | 6.7866 | 7.8992 | 8.4444 | 8.1369 | 8.4489 | 81.0443
of which xoserve | 4.2627 | 4.3723 | 4.1943 | 3.7135 | 6.642 | 6.8006 | 6.1051 | 6.1452 | 42.2357
Total Direct Opex | 79.4005 | 74.2911 | 63.2319 | 63.9215 | 63.7628 | 66.8117 | 66.8688 | 66.7677 | 545.0559
Business support | 16.9129 | 16.461 | 18.9636 | 18.8683 | 23.9362 | 24.0824 | 24.0794 | 24.0602 | 167.3641
Training & Apprentices | 1.9974 | 1.8476 | 2.6189 | 3.2379 | 3.3479 | 4.0806 | 4.5599 | 4.6926 | 26.3828
Total Indirect Opex | 18.9103 | 18.3086 | 21.5825 | 22.1061 | 27.2841 | 28.163 | 28.6394 | 28.7528 | 193.7469
Total Opex | 98.3108 | 92.5997 | 84.8144 | 86.0276 | 91.0469 | 94.9747 | 95.5081 | 95.5205 | 738.8028
Of which total sub-deducts | 0 | 0 | 0.041302 | 0.031211 | 0.29126 | 0.28278 | 0.27454 | 0.26655 | 1.1876
Total Controllable costs | 227.8891 | 217.2474 | 213.3677 | 211.3826 | 207.4621 | 214.5417 | 216.7864 | 218.266 | 1726.9431
Non-Controllable costs
Licence/network/other | 41.5864 | 42.1803 | 41.7455 | 57.0468 | 47.1093 | 57.4365 | 57.4296 | 51.5727 | 396.1071
NTS exit costs | 21.8542 | 23.6716 | 23.8464 | 32.5054 | 40.6391 | 35.1651 | 40.1577 | 38.5773 | 256.4168
Shrinkage | 9.3799 | 6.9795 | 5.0367 | 4.9532 | 5.2494 | 5.1505 | 4.8331 | 4.7536 | 46.3359
NTS pensions contributions | 4.7747 | 4.8523 | 6.8148 | 6.7064 | 6.8887 | 6.9556 | 7.0231 | 7.0913 | 51.107
Total non-controllable costs | 77.5951 | 77.6838 | 77.4434 | 101.2118 | 99.8866 | 104.7076 | 109.4435 | 101.9949 | 749.9668
Total funded costs - including uncertainties | 305.4842 | 294.9312 | 290.8111 | 312.5944 | 307.3488 | 319.2494 | 326.23 | 320.2609 | 2476.9099
Of which: uncertainties*:
Smart metering | 0 | 0 | 0.22377 | 0.42663 | 0 | 0 | 0 | 0 | 0.6504
Streetworks | 1.826 | 1.1909 | 1.3045 | 1.1024 | 0.19566 | 0.57864 | 0.95845 | 1.1116 | 8.2682
Physical Security Upgrade Programme (PSUP) | 0 | 0.1735 | 0.66457 | 5.8992 | 8.2776 | 2.8196 | 0.31833 | 0.31833 | 18.4711
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total uncertainties* | 1.826 | 1.3644 | 2.1929 | 7.4282 | 8.4733 | 3.3982 | 1.2768 | 1.4299 | 27.3896
Total funded costs - excluding uncertainties* | 303.6582 | 293.5667 | 288.6182 | 305.1662 | 298.8755 | 315.8512 | 324.9532 | 318.8309 | 2449.5202
Previous year RRP submission - £m | [10 empty] | Variance from previous year | [9 empty] | % Variance from previous year
2016/17 prices
| Actuals |  |  | Forecast
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 8.9329 | 6.5675 | 11.468 | 16.5523 | 15.6862 | 9.8099 | 5.6253 | 5.777 | 80.4191 |  | LTS, storage and entry | 0 | 0 | 0 | -7.3215 | -3.0602 | 2.4807 | 0.9623 | 2.1754 | -4.7633 | LTS, storage and entry | 0% | 0% | 0% | -44.23% | -19.51% | 25.29% | 17.11% | 37.66% | -5.923%
Connections | 10.8259 | 9.8257 | 12.1278 | 12.168 | 11.7406 | 11.418 | 11.5657 | 11.5701 | 91.2419 |  | Connections | 0 | 0 | 0 | -1.0783 | 0.13437 | 0.91985 | 1.1547 | 1.1185 | 2.2491 | Connections | 0% | 0% | 0% | -8.862% | 1.145% | 8.056% | 9.984% | 9.667% | 2.465%
Mains Reinforcement | 3.9848 | 3.616 | 3.4892 | 4.0948 | 4.0332 | 3.9751 | 4.0074 | 4.0448 | 31.2454 |  | Mains Reinforcement | 0 | 0 | 0 | -0.56186 | -0.51921 | -0.26535 | -0.21656 | -0.20943 | -1.7724 | Mains Reinforcement | 0% | 0% | 0% | -13.72% | -12.87% | -6.675% | -5.404% | -5.178% | -5.673%
Governors (Replacement) | 2.3878 | 2.1956 | 2.4795 | 1.6169 | 2.2521 | 2.274 | 2.3051 | 2.3658 | 17.8769 |  | Governors (Replacement) | 0 | 0 | 0 | -0.0011188 | -0.53921 | -0.48306 | -0.44997 | -0.4765 | -1.9499 | Governors (Replacement) | 0% | 0% | 0% | -0.06919% | -23.94% | -21.24% | -19.52% | -20.14% | -10.91%
Other Capex | 27.5797 | 22.5124 | 20.3016 | 21.6823 | 13.3273 | 16.0508 | 22.8542 | 22.9379 | 167.2463 |  | Other Capex | 0 | 0 | 0 | 1.0488 | 1.3155 | -2.744 | -4.0214 | -4.7123 | -9.1134 | Other Capex | 0% | 0% | 0% | 4.837% | 9.871% | -17.1% | -17.6% | -20.54% | -5.449%
of which IT | 5.7561 | 7.8102 | 7.6498 | 8.7322 | 7.0573 | 6.8912 | 6.4715 | 6.4574 | 56.8257 |  | of which IT | 0 | 0 | 0 | -3.6274 | 0.63446 | -0.71804 | -0.62422 | -0.60276 | -4.9379 | of which IT | 0% | 0% | 0% | -41.54% | 8.99% | -10.42% | -9.646% | -9.334% | -8.69%
of which Vehicles | 5.5091 | 5.4526 | 4.925 | 4.2736 | 4.3913 | 4.1981 | 6.9596 | 7.0856 | 42.7949 |  | of which Vehicles | 0 | 0 | 0 | -0.18165 | -0.56309 | 0.77202 | 1.9489 | -0.085623 | 1.8906 | of which Vehicles | 0% | 0% | 0% | -4.251% | -12.82% | 18.39% | 28% | -1.208% | 4.418%
Total Capex | 53.7111 | 44.7173 | 49.866 | 56.1145 | 47.0395 | 43.5279 | 46.3577 | 46.6956 | 388.0296 |  | Total Capex | 0 | 0 | 0 | -7.914 | -2.6687 | -0.091891 | -2.571 | -2.1043 | -15.3499 | Total Capex | 0% | 0% | 0% | -14.1% | -5.673% | -0.2111% | -5.546% | -4.506% | -3.956%
HSE driven mains & services | 67.9278 | 61.1035 | 58.1488 | 68.0933 | 62.0335 | 67.857 | 69.0245 | 70.014 | 524.2024 |  | HSE driven mains & services | 0 | 0 | 0 | -9.424 | -1.6971 | -1.8814 | -1.9438 | -2.3039 | -17.2502 | HSE driven mains & services | 0% | 0% | 0% | -13.84% | -2.736% | -2.773% | -2.816% | -3.291% | -3.291%
Non-HSE driven mains & services | 6.3466 | 16.2563 | 18.3713 | 8.9326 | 5.855 | 7.8701 | 7.992 | 8.1166 | 79.7407 |  | Non-HSE driven mains & services | 0 | 0 | 0 | 7.674 | 4.1641 | 0.78805 | 0.8469 | 0.93928 | 14.4123 | Non-HSE driven mains & services | 0% | 0% | 0% | 85.91% | 71.12% | 10.01% | 10.6% | 11.57% | 18.07%
Multi occupancy buildings (MoBs) | 1.5927 | 2.5706 | 2.1671 | 2.0472 | 0 | 0.87922 | 0.88776 | 0.89638 | 11.041 |  | Multi occupancy buildings (MoBs) | 0 | 0 | 0 | -0.16868 | 1.6891 | 0.61813 | 0.68424 | 0.49176 | 3.3145 | Multi occupancy buildings (MoBs) | 0% | 0% | 0% | -8.239% | #DIV/0! | 70.3% | 77.08% | 54.86% | 30.02%
Total Repex | 75.8672 | 79.9304 | 78.6873 | 79.0732 | 67.8884 | 76.6063 | 77.9043 | 79.027 | 614.9841 |  | Total Repex | 0 | 0 | 0 | -1.9187 | 4.156 | -0.47525 | -0.41267 | -0.87284 | 0.47658 | Total Repex | 0% | 0% | 0% | -2.426% | 6.122% | -0.6204% | -0.5297% | -1.104% | 0.07749%
Work Management | 23.8965 | 20.914 | 21.0515 | 22.3754 | 19.9211 | 20.1441 | 19.912 | 19.9677 | 168.1823 |  | Work Management | 0 | 0 | 0 | -2.489 | 0.75348 | 1.2317 | 1.6164 | 0.71537 | 1.828 | Work Management | 0% | 0% | 0% | -11.12% | 3.782% | 6.114% | 8.118% | 3.583% | 1.087%
Emergency | 10.3287 | 10.6455 | 9.1195 | 11.1553 | 11.423 | 11.525 | 11.6315 | 11.7942 | 87.6227 |  | Emergency | 0 | 0 | 0 | -1.4761 | -1.7269 | -1.2398 | -1.2851 | -1.3325 | -7.0603 | Emergency | 0% | 0% | 0% | -13.23% | -15.12% | -10.76% | -11.05% | -11.3% | -8.058%
Repair | 10.1248 | 10.1977 | 8.648 | 10.6323 | 10.8874 | 10.9846 | 11.0861 | 11.2412 | 83.802 |  | Repair | 0 | 0 | 0 | -0.77532 | -1.626 | -1.2348 | -1.2767 | -1.2784 | -6.1913 | Repair | 0% | 0% | 0% | -7.292% | -14.93% | -11.24% | -11.52% | -11.37% | -7.388%
Maintenance | 14.9047 | 18.3747 | 17.3896 | 16.4119 | 17.0871 | 17.12 | 17.2525 | 17.4149 | 135.9555 |  | Maintenance | 0 | 0 | 0 | 1.3005 | -0.85562 | -0.16353 | -0.20491 | -0.2037 | -0.12725 | Maintenance | 0% | 0% | 0% | 7.924% | -5.007% | -0.9552% | -1.188% | -1.17% | -0.09359%
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other Direct Activities | 20.1458 | 14.1593 | 7.0231 | 6.8536 | 7.0292 | 7.0207 | 8.3082 | 7.4063 | 77.9462 |  | Other Direct Activities | 0 | 0 | 0 | -0.067006 | 0.87007 | 1.4237 | -0.1713 | 1.0426 | 3.0981 | Other Direct Activities | 0% | 0% | 0% | -0.9777% | 12.38% | 20.28% | -2.062% | 14.08% | 3.975%
of which xoserve | 4.2627 | 4.3723 | 4.1943 | 5.2374 | 5.0207 | 4.6294 | 5.4324 | 4.2137 | 37.3629 |  | of which xoserve | 0 | 0 | 0 | -1.5239 | 1.6213 | 2.1713 | 0.67275 | 1.9315 | 4.8729 | of which xoserve | 0% | 0% | 0% | -29.1% | 32.29% | 46.9% | 12.38% | 45.84% | 13.04%
Total Direct Opex | 79.4005 | 74.2911 | 63.2319 | 67.4284 | 66.3478 | 66.7944 | 68.1903 | 67.8243 | 553.5087 |  | Total Direct Opex | 0 | 0 | 0 | -3.5069 | -2.585 | 0.017285 | -1.3216 | -1.0566 | -8.4528 | Total Direct Opex | 0% | 0% | 0% | -5.201% | -3.896% | 0.02588% | -1.938% | -1.558% | -1.527%
Business support | 16.9129 | 16.461 | 18.9636 | 23.7729 | 24.2563 | 24.3655 | 24.2068 | 24.2231 | 173.1621 |  | Business support | 0 | 0 | 0 | -4.9047 | -0.32011 | -0.28307 | -0.12734 | -0.16286 | -5.7981 | Business support | 0% | 0% | 0% | -20.63% | -1.32% | -1.162% | -0.5261% | -0.6723% | -3.348%
Training & Apprentices | 1.9974 | 1.8476 | 2.6189 | 2.6285 | 3.6106 | 4.2711 | 4.374 | 4.3795 | 25.7277 |  | Training & Apprentices | 0 | 0 | 0 | 0.60932 | -0.26272 | -0.19048 | 0.18589 | 0.31314 | 0.65514 | Training & Apprentices | 0% | 0% | 0% | 23.18% | -7.276% | -4.46% | 4.25% | 7.15% | 2.546%
Total Indirect Opex | 18.9103 | 18.3086 | 21.5825 | 26.4015 | 27.8669 | 28.6366 | 28.5808 | 28.6026 | 198.8898 |  | Total Indirect Opex | 0 | 0 | 0 | -4.2954 | -0.58283 | -0.47356 | 0.05855 | 0.15028 | -5.1429 | Total Indirect Opex | 0% | 0% | 0% | -16.27% | -2.091% | -1.654% | 0.2049% | 0.5254% | -2.586%
Total Opex | 98.3108 | 92.5997 | 84.8144 | 93.8299 | 94.2147 | 95.431 | 96.7711 | 96.4269 | 752.3985 |  | Total Opex | 0 | 0 | 0 | -7.8022 | -3.1678 | -0.45627 | -1.263 | -0.90634 | -13.5957 | Total Opex | 0% | 0% | 0% | -8.315% | -3.362% | -0.4781% | -1.305% | -0.9399% | -1.807%
Total sub-deducts | 0 | 0 | 0.041302 | 0.3019 | 0.29311 | 0.28457 | 0.27628 | 0.26823 | 1.4654 |  | Total sub-deducts | [9 empty] | Total sub-deducts | #DIV/0! | #DIV/0! | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Controllable costs | 227.8891 | 217.2474 | 213.3677 | 229.0175 | 209.1426 | 215.5651 | 221.0331 | 222.1495 | 1755.4121 |  | Total Controllable costs | 0 | 0 | 0 | -17.6349 | -1.6805 | -1.0234 | -4.2467 | -3.8835 | -28.469 | Total Controllable costs | 0% | 0% | 0% | -7.7% | -0.8035% | -0.4748% | -1.921% | -1.748% | -1.622%
Non-Controllable costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Non-Controllable costs | [9 empty] | Non-Controllable costs | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Licence/network/other | 41.5864 | 42.1803 | 41.7455 | 46.9025 | 57.8406 | 57.6829 | 57.2158 | 52.4837 | 397.6377 |  | Licence/network/other | 0 | 0 | 0 | 10.1443 | -10.7313 | -0.24648 | 0.21377 | -0.91093 | -1.5306 | Licence/network/other | 0% | 0% | 0% | 21.63% | -18.55% | -0.4273% | 0.3736% | -1.736% | -0.3849%
NTS exit costs | 21.8542 | 23.6716 | 23.8464 | 33.32 | 42.4642 | 40.7143 | 39.5081 | 36.9662 | 262.345 |  | NTS exit costs | 0 | 0 | 0 | -0.81462 | -1.8251 | -5.5492 | 0.64959 | 1.6111 | -5.9282 | NTS exit costs | 0% | 0% | 0% | -2.445% | -4.298% | -13.63% | 1.644% | 4.358% | -2.26%
Shrinkage | 9.3799 | 6.9795 | 5.0367 | 5.0693 | 6.7349 | 6.8003 | 6.8663 | 6.933 | 53.7999 |  | Shrinkage | 0 | 0 | 0 | -0.11613 | -1.4854 | -1.6498 | -2.0332 | -2.1794 | -7.464 | Shrinkage | 0% | 0% | 0% | -2.291% | -22.06% | -24.26% | -29.61% | -31.44% | -13.87%
NTS pensions contributions | 4.7747 | 4.8523 | 6.8148 | 6.8073 | 6.9996 | 7.0676 | 7.1362 | 7.2055 | 51.6581 |  | NTS pensions contributions | 0 | 0 | 0 | -0.10091 | -0.11092 | -0.112 | -0.11308 | -0.11418 | -0.55109 | NTS pensions contributions | 0% | 0% | 0% | -1.482% | -1.585% | -1.585% | -1.585% | -1.585% | -1.067%
Total non-controllable costs | 77.5951 | 77.6838 | 77.4434 | 92.0992 | 114.0394 | 112.2651 | 110.7264 | 103.5883 | 765.4407 |  | Total non-controllable costs | 0 | 0 | 0 | 9.1126 | -14.1527 | -7.5574 | -1.2829 | -1.5934 | -15.4739 | Total non-controllable costs | 0% | 0% | 0% | 9.894% | -12.41% | -6.732% | -1.159% | -1.538% | -2.022%
Total funded costs - including uncertainties | 305.4842 | 294.9312 | 290.8111 | 321.1167 | 323.182 | 327.8302 | 331.7596 | 325.7378 | 2520.8528 |  | Total funded costs - including uncertainties | 0 | 0 | 0 | -8.5223 | -15.8332 | -8.5808 | -5.5296 | -5.4769 | -43.9429 | Total funded costs - including uncertainties | 0% | 0% | 0% | -2.654% | -4.899% | -2.617% | -1.667% | -1.681% | -1.743%
Of which: uncertainties*: | [10 empty] | Of which: uncertainties*: | [9 empty] | Of which: uncertainties*:
Smart metering | 0 | 0 | 0.22377 | 0 | 0 | 0 | 0 | 0 | 0.22377 |  | Smart metering | 0 | 0 | 0 | 0.42663 | 0 | 0 | 0 | 0 | 0.42663 | Smart metering | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1.9065
Streetworks | 1.826 | 1.1909 | 1.3045 | 0.16479 | 0.49054 | 0.85187 | 1.3138 | 1.5962 | 8.7387 |  | Streetworks | 0 | 0 | 0 | 0.93758 | -0.29488 | -0.27323 | -0.35536 | -0.48463 | -0.47052 | Streetworks | 0 | 0 | 0 | 5.6896 | -0.60114 | -0.32074 | -0.27048 | -0.30361 | -0.053844
Physical Security Upgrade Programme (PSUP) | 0 | 0.99417 | 0.17722 | 5.2194 | 5.9116 | 4.1512 | 0 | 0 | 16.4537 |  | Physical Security Upgrade Programme (PSUP) | 0 | -0.82067 | 0.48735 | 0.67974 | 2.366 | -1.3317 | 0.31833 | 0.31833 | 2.0174 | Physical Security Upgrade Programme (PSUP) | #DIV/0! | -0.82548 | 2.7499 | 0.13023 | 0.40023 | -0.32079 | #DIV/0! | #DIV/0! | 0.12261
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total uncertainties* | 1.826 | 2.1851 | 1.7055 | 5.3842 | 6.4021 | 5.0031 | 1.3138 | 1.5962 | 25.4161 |  | Total uncertainties* | 0 | -0.82067 | 0.48735 | 2.044 | 2.0711 | -1.6049 | -0.037032 | -0.16629 | 1.9735 | Total uncertainties* | 0 | -0.37557 | 0.28574 | 0.37962 | 0.32351 | -0.32078 | -0.028186 | -0.10418 | 0.077649
Total funded costs - excluding uncertainties* | 303.6582 | 292.7461 | 289.1056 | 315.7325 | 316.7799 | 322.8271 | 330.4458 | 324.1416 | 2495.4367 |  | Total funded costs - excluding uncertainties* | 0 | 0.82067 | -0.48735 | -10.5663 | -17.9044 | -6.9759 | -5.4926 | -5.3106 | -45.9165 | Total funded costs - excluding uncertainties* | 0 | 0.0028034 | -0.0016857 | -0.033466 | -0.05652 | -0.021609 | -0.016622 | -0.016384 | -0.0184
Final proposals adjusted with agreed uncertainties - £m | [10 empty] | Variance from final proposals adjusted with uncertainties | [9 empty] | % Variance from final proposals adjusted with uncertainties
2016/17 prices
| Ofgem Allowance (Post IQI) £m | [10 empty] | Ofgem Allowance (Post IQI) £m | [9 empty] | Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 16.9634 | 16.3467 | 14.6686 | 13.9966 | 15.7017 | 13.6703 | 12.6839 | 14.8203 | 118.8514 |  | LTS, storage and entry | -8.0305 | -9.7793 | -3.2005 | -4.7658 | -3.0756 | -1.3796 | -6.0962 | -6.868 | -43.1956 | LTS, storage and entry | -47.34% | -59.82% | -21.82% | -34.05% | -19.59% | -10.09% | -48.06% | -46.34% | -36.34%
Connections | 8.7191 | 8.9001 | 9.0125 | 9.7052 | 9.5976 | 9.8095 | 9.8747 | 10.0299 | 75.6484 |  | Connections | 2.1068 | 0.92566 | 3.1154 | 1.3846 | 2.2774 | 2.5284 | 2.8456 | 2.6588 | 17.8426 | Connections | 24.16% | 10.4% | 34.57% | 14.27% | 23.73% | 25.78% | 28.82% | 26.51% | 23.59%
Mains Reinforcement | 9.6116 | 9.6263 | 9.639 | 9.66 | 9.6722 | 9.6727 | 9.6757 | 9.7506 | 77.3082 |  | Mains Reinforcement | -5.6268 | -6.0103 | -6.1499 | -6.127 | -6.1582 | -5.963 | -5.8849 | -5.9152 | -47.8352 | Mains Reinforcement | -58.54% | -62.44% | -63.8% | -63.43% | -63.67% | -61.65% | -60.82% | -60.67% | -61.88%
Governors (Replacement) | 2.7827 | 2.9064 | 2.6574 | 3.8598 | 3.4404 | 3.51 | 3.3186 | 3.8513 | 26.3266 |  | Governors (Replacement) | -0.39491 | -0.71071 | -0.17796 | -2.244 | -1.7275 | -1.7191 | -1.4635 | -1.962 | -10.3996 | Governors (Replacement) | -14.19% | -24.45% | -6.697% | -58.14% | -50.21% | -48.98% | -44.1% | -50.94% | -39.5%
Other Capex | 28.2793 | 26.8393 | 20.3182 | 16.7762 | 15.4078 | 15.271 | 19.7875 | 19.122 | 161.8013 |  | Other Capex | -0.69956 | -4.3269 | -0.016587 | 5.9549 | -0.76489 | -1.9642 | -0.95475 | -0.89636 | -3.6684 | Other Capex | -2.474% | -16.12% | -0.08164% | 35.5% | -4.964% | -12.86% | -4.825% | -4.688% | -2.267%
of which IT | 8.642 | 8.2722 | 6.4459 | 6.0884 | 7.3514 | 6.9782 | 6.8358 | 6.1231 | 56.7371 |  | of which IT | -2.8859 | -0.46201 | 1.2039 | -0.98356 | 0.34036 | -0.80508 | -0.98854 | -0.26849 | -4.8493 | of which IT | -33.39% | -5.585% | 18.68% | -16.15% | 4.63% | -11.54% | -14.46% | -4.385% | -8.547%
of which Vehicles | 9.3187 | 7.4189 | 5.1531 | 4.6631 | 2.3034 | 2.6676 | 5.8147 | 5.5598 | 42.8994 |  | of which Vehicles | -3.8097 | -1.9663 | -0.22806 | -0.57115 | 1.5247 | 2.3025 | 3.0938 | 1.4402 | 1.7861 | of which Vehicles | -40.88% | -26.5% | -4.426% | -12.25% | 66.19% | 86.31% | 53.21% | 25.9% | 4.164%
Total Capex | 66.356 | 64.6187 | 56.2956 | 53.9979 | 53.8197 | 51.9335 | 55.3404 | 57.5741 | 459.9359 |  | Total Capex | -12.6449 | -19.9015 | -6.4296 | -5.7974 | -9.4488 | -8.4975 | -11.5537 | -12.9828 | -87.2562 | Total Capex | -19.06% | -30.8% | -11.42% | -10.74% | -17.56% | -16.36% | -20.88% | -22.55% | -18.97%
HSE driven mains & services | 2.9988 | -0.79503 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2038 |  | HSE driven mains & services | 64.929 | 61.8985 | 58.1488 | 58.6694 | 60.3363 | 65.9755 | 67.0807 | 67.7101 | 504.7484 | HSE driven mains & services | 2165% | -7786% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 22904%
Non-HSE driven mains & services | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Non-HSE driven mains & services | 6.3466 | 16.2563 | 18.3713 | 16.6066 | 10.019 | 8.6581 | 8.8389 | 9.0559 | 94.153 | Non-HSE driven mains & services | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Multi occupancy buildings (MoBs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Multi occupancy buildings (MoBs) | 1.5927 | 2.5706 | 2.1671 | 1.8786 | 1.6891 | 1.4974 | 1.572 | 1.3881 | 14.3555 | Multi occupancy buildings (MoBs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total Repex | 99.3984 | 95.5214 | 96.6202 | 95.9632 | 97.2394 | 97.1741 | 97.1027 | 95.4813 | 774.5008 |  | Total Repex | -23.5313 | -15.591 | -17.933 | -18.8086 | -25.195 | -21.0431 | -19.611 | -17.3272 | -159.0402 | Total Repex | -23.67% | -16.32% | -18.56% | -19.6% | -25.91% | -21.66% | -20.2% | -18.15% | -20.53%
Work Management | 23.4261 | 23.5562 | 25.864 | 24.4717 | 23.3596 | 24.5841 | 24.9151 | 22.8094 | 192.9863 |  | Work Management | 0.4704 | -2.6422 | -4.8125 | -4.5853 | -2.6851 | -3.2083 | -3.3866 | -2.1264 | -22.9761 | Work Management | 2.008% | -11.22% | -18.61% | -18.74% | -11.49% | -13.05% | -13.59% | -9.322% | -11.91%
Emergency | 16.1589 | 16.0715 | 16.2605 | 16.4443 | 16.3325 | 16.2807 | 16.1946 | 16.863 | 130.6059 |  | Emergency | -5.8302 | -5.426 | -7.1409 | -6.7651 | -6.6364 | -5.9954 | -5.8482 | -6.4013 | -50.0435 | Emergency | -36.08% | -33.76% | -43.92% | -41.14% | -40.63% | -36.83% | -36.11% | -37.96% | -38.32%
Repair | 14.2261 | 13.9168 | 13.6599 | 13.4248 | 13.1842 | 13.0705 | 12.801 | 12.5692 | 106.8525 |  | Repair | -4.1013 | -3.7191 | -5.0119 | -3.5679 | -3.9228 | -3.3207 | -2.9916 | -2.6065 | -29.2418 | Repair | -28.83% | -26.72% | -36.69% | -26.58% | -29.75% | -25.41% | -23.37% | -20.74% | -27.37%
Maintenance | 12.81 | 12.979 | 13.1977 | 13.4663 | 13.315 | 13.3396 | 13.1948 | 13.2108 | 105.5131 |  | Maintenance | 2.0947 | 5.3957 | 4.192 | 4.2461 | 2.9166 | 3.6169 | 3.8528 | 4.0004 | 30.3152 | Maintenance | 16.35% | 41.57% | 31.76% | 31.53% | 21.9% | 27.11% | 29.2% | 30.28% | 28.73%
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Statutory independent undertakings (SIUs) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Other Direct Activities | 8.8571 | 7.9363 | 8.6752 | 9.0588 | 8.0309 | 8.3722 | 8.6008 | 8.3835 | 67.915 |  | Other Direct Activities | 11.2887 | 6.223 | -1.652 | -2.2723 | -0.1317 | 0.072185 | -0.46396 | 0.065397 | 13.1293 | Other Direct Activities | 127.5% | 78.41% | -19.04% | -25.08% | -1.64% | 0.8622% | -5.394% | 0.7801% | 19.33%
of which Xoserve | 5.2196 | 5.0636 | 5.7231 | 6.2746 | 5.141 | 5.4407 | 5.6556 | 5.4824 | 44.0006 |  | of which Xoserve | -0.95687 | -0.69131 | -1.5289 | -2.5611 | 1.501 | 1.36 | 0.44952 | 0.66275 | -1.7649 | of which Xoserve | -18.33% | -13.65% | -26.71% | -40.82% | 29.2% | 25% | 7.948% | 12.09% | -4.011%
Total Direct Opex | 75.4782 | 74.4598 | 77.6572 | 76.866 | 74.2222 | 75.6471 | 75.7063 | 73.836 | 603.8729 |  | Total Direct Opex | 3.9223 | -0.16866 | -14.4254 | -12.9445 | -10.4594 | -8.8354 | -8.8375 | -7.0683 | -58.8169 | Total Direct Opex | 5.197% | -0.2265% | -18.58% | -16.84% | -14.09% | -11.68% | -11.67% | -9.573% | -9.74%
Business support | 23.3622 | 23.5422 | 23.7715 | 24.4413 | 24.4728 | 24.6361 | 24.7682 | 24.5316 | 193.526 |  | Business support | -6.4493 | -7.0812 | -4.8079 | -5.5731 | -0.53662 | -0.55368 | -0.6888 | -0.47139 | -26.162 | Business support | -27.61% | -30.08% | -20.23% | -22.8% | -2.193% | -2.247% | -2.781% | -1.922% | -13.52%
Training & Apprentices | 3.9914 | 4.1725 | 4.5415 | 4.5782 | 4.8214 | 4.6436 | 4.6495 | 4.6879 | 36.086 |  | Training & Apprentices | -1.994 | -2.3249 | -1.9225 | -1.3403 | -1.4735 | -0.56303 | -0.089606 | 0.0047349 | -9.7032 | Training & Apprentices | -49.96% | -55.72% | -42.33% | -29.28% | -30.56% | -12.12% | -1.927% | 0.101% | -26.89%
Total Indirect Opex | 27.3536 | 27.7147 | 28.313 | 29.0195 | 29.2942 | 29.2797 | 29.4178 | 29.2195 | 229.612 |  | Total Indirect Opex | -8.4433 | -9.4061 | -6.7304 | -6.9134 | -2.0101 | -1.1167 | -0.7784 | -0.46665 | -35.8652 | Total Indirect Opex | -30.87% | -33.94% | -23.77% | -23.82% | -6.862% | -3.814% | -2.646% | -1.597% | -15.62%
Total Opex | 103.1989 | 102.5415 | 106.3372 | 106.2525 | 103.8834 | 105.2938 | 105.491 | 103.4225 | 836.421 |  | Total Opex | -4.8881 | -9.9418 | -21.5229 | -20.2249 | -12.8366 | -10.3191 | -9.9829 | -7.902 | -97.6182 | Total Opex | -4.737% | -9.695% | -20.24% | -19.03% | -12.36% | -9.8% | -9.463% | -7.641% | -11.67%
Total sub-deducts | 0.71862 | 0.71862 | 0.71862 | 0.71862 | 0.71862 | 0.71862 | 0.71862 | 0.71862 | 5.7489 |  | Total sub-deducts | -0.71862 | -0.71862 | -0.67731 | -0.68741 | -0.42735 | -0.43584 | -0.44407 | -0.45207 | -4.5613 | Total sub-deducts | -100% | -100% | -94.25% | -95.66% | -59.47% | -60.65% | -61.8% | -62.91% | -79.34%
Total Controllable costs | 268.9534 | 262.6816 | 259.2531 | 256.2136 | 254.9426 | 254.4014 | 257.9341 | 256.4779 | 2070.8577 |  | Total Controllable costs | -41.0643 | -45.4342 | -45.8854 | -44.831 | -47.4804 | -39.8597 | -41.1476 | -38.212 | -343.9146 | Total Controllable costs | -15.27% | -17.3% | -17.7% | -17.5% | -18.62% | -15.67% | -15.95% | -14.9% | -16.61%
Non-Controllable costs | [10 empty] | Non-Controllable costs | [9 empty] | Non-Controllable costs | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Licence/network/other | 33.9059 | 33.9059 | 33.9059 | 33.9059 | 33.9059 | 33.9059 | 33.9059 | 33.9059 | 271.2472 |  | Licence/network/other | 7.6805 | 8.2744 | 7.8396 | 23.1409 | 13.2034 | 23.5306 | 23.5237 | 17.6668 | 124.8599 | Licence/network/other | 22.65% | 24.4% | 23.12% | 68.25% | 38.94% | 69.4% | 69.38% | 52.11% | 46.03%
NTS exit costs | 28.299 | 28.3195 | 28.3209 | 28.3209 | 28.3209 | 28.3209 | 28.3209 | 28.3209 | 226.5438 |  | NTS exit costs | -6.4448 | -4.6479 | -4.4745 | 4.1845 | 12.3183 | 6.8442 | 11.8369 | 10.2564 | 29.873 | NTS exit costs | -22.77% | -16.41% | -15.8% | 14.78% | 43.5% | 24.17% | 41.8% | 36.21% | 13.19%
Shrinkage | 10.8928 | 10.7438 | 10.6639 | 10.4596 | 10.3042 | 10.1534 | 10.0006 | 9.6372 | 82.8555 |  | Shrinkage | -1.5129 | -3.7643 | -5.6272 | -5.5064 | -5.0548 | -5.0029 | -5.1675 | -4.8836 | -36.5197 | Shrinkage | -13.89% | -35.04% | -52.77% | -52.64% | -49.06% | -49.27% | -51.67% | -50.67% | -44.08%
NTS pensions contributions | 4.8473 | 4.8473 | 4.8473 | 4.8473 | 4.8473 | 4.8473 | 4.8473 | 4.8473 | 38.7787 |  | NTS pensions contributions | -0.072677 | 0.005001 | 1.9675 | 1.8591 | 2.0414 | 2.1083 | 2.1758 | 2.244 | 12.3283 | NTS pensions contributions | -1.499% | 0.1032% | 40.59% | 38.35% | 42.11% | 43.49% | 44.89% | 46.29% | 31.79%
Total non-controllable costs | 77.945 | 77.8166 | 77.738 | 77.5337 | 77.3784 | 77.2275 | 77.0747 | 76.7113 | 619.4252 |  | Total non-controllable costs | -0.3499 | -0.13281 | -0.29461 | 23.678 | 22.5083 | 27.4801 | 32.3688 | 25.2836 | 130.5415 | Total non-controllable costs | -0.4489% | -0.1707% | -0.379% | 30.54% | 29.09% | 35.58% | 42% | 32.96% | 21.07%
Total funded costs - including agreed uncertainties** | 346.8984 | 340.4982 | 336.9911 | 333.7473 | 332.3209 | 331.6289 | 335.0088 | 333.1893 | 2690.2829 |  | Total funded costs - including uncertainties | -41.4142 | -45.567 | -46.18 | -21.1529 | -24.9721 | -12.3795 | -8.7788 | -12.9284 | -213.373 | Total funded costs - including uncertainties | -11.94% | -13.38% | -13.7% | -6.338% | -7.514% | -3.733% | -2.62% | -3.88% | -7.931%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Final proposals - £m
2009/10 prices
Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
LTS, storage and entry | 13.8122 | 13.3101 | 11.9437 | 11.3966 | 12.7849 | 11.1309 | 10.3277 | 12.0673 | 96.7734
Connections | 7.0994 | 7.2468 | 7.3383 | 7.5223 | 7.4347 | 7.6072 | 7.6604 | 7.7867 | 59.6959
Mains Reinforcement | 7.8261 | 7.8381 | 7.8485 | 7.8655 | 7.8755 | 7.8759 | 7.8783 | 7.9394 | 62.9473
Governors (Replacement) | 2.2658 | 2.3665 | 2.1638 | 3.1428 | 2.8013 | 2.858 | 2.7021 | 3.1359 | 21.4362
Other Capex | 23.0261 | 21.8536 | 16.5438 | 13.6599 | 12.5456 | 12.4343 | 16.1117 | 15.5699 | 131.7448
of which IT | 7.0366 | 6.7356 | 5.2485 | 4.9574 | 5.9858 | 5.6819 | 5.566 | 4.9857 | 46.1975
of which Vehicles | 7.5877 | 6.0407 | 4.1958 | 3.7969 | 1.8756 | 2.1721 | 4.7346 | 4.527 | 34.9303
Total Capex | 54.0297 | 52.6151 | 45.8381 | 43.5871 | 43.4421 | 41.9063 | 44.6803 | 46.499 | 372.5975
HSE driven mains & services | [8 empty] | 0
Non-HSE driven mains & services | [8 empty] | 0
Multi occupancy buildings (MoBs) | [8 empty] | 0
Total Repex | 78.4923 | 78.4246 | 78.6719 | 78.1369 | 79.1761 | 79.1229 | 79.0647 | 77.7446 | 628.834
Work Management | 19.0744 | 19.1803 | 21.0595 | 19.9258 | 19.0203 | 20.0174 | 20.2868 | 18.5723 | 157.1369
Emergency | 13.1572 | 13.086 | 13.2399 | 13.3896 | 13.2986 | 13.2563 | 13.1863 | 13.7305 | 106.3444
Repair | 11.5835 | 11.3316 | 11.1224 | 10.931 | 10.7351 | 10.6425 | 10.4231 | 10.2343 | 87.0035
Maintenance | 10.4304 | 10.568 | 10.746 | 10.9648 | 10.8416 | 10.8616 | 10.7437 | 10.7568 | 85.9128
Statutory independent undertakings (SIUs) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Direct Activities | 7.2118 | 6.462 | 7.0637 | 7.376 | 6.5391 | 6.817 | 7.0031 | 6.8262 | 55.299
of which Xoserve | 4.25 | 4.123 | 4.66 | 5.109 | 4.186 | 4.43 | 4.605 | 4.464 | 35.827
Total Direct Opex | 61.4573 | 60.628 | 63.2315 | 62.5873 | 60.4346 | 61.5948 | 61.643 | 60.1201 | 491.6966
Business support | 19.0224 | 19.169 | 19.3557 | 19.9011 | 19.9267 | 20.0596 | 20.1673 | 19.9746 | 157.5763
Training & Apprentices | 3.25 | 3.3974 | 3.6979 | 3.7277 | 3.9258 | 3.781 | 3.7858 | 3.817 | 29.3826
Total Indirect Opex | 22.2724 | 22.5664 | 23.0535 | 23.6288 | 23.8525 | 23.8407 | 23.9531 | 23.7916 | 186.959
Total Opex | 84.0285 | 83.4932 | 86.5839 | 86.5149 | 84.5859 | 85.7343 | 85.8949 | 84.2106 | 681.0462
Total sub-deducts | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 0.59766 | 4.7813
Total Controllable costs | 216.5505 | 214.5328 | 211.0939 | 208.239 | 207.2041 | 206.7634 | 209.6399 | 208.4542 | 1682.4777
Non-Controllable costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Licence/network/other | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 27.6075 | 220.86
NTS exit costs | 23.0421 | 23.0589 | 23.06 | 23.06 | 23.06 | 23.06 | 23.06 | 23.06 | 184.4607
Shrinkage | 8.8693 | 8.748 | 8.683 | 8.5166 | 8.3901 | 8.2673 | 8.1429 | 7.847 | 67.4642
NTS pensions contributions | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 3.9469 | 31.5751
Total non-controllable costs | 63.4658 | 63.3613 | 63.2973 | 63.1309 | 63.0044 | 62.8816 | 62.7572 | 62.4613 | 504.3599
Total funded costs | 280.0163 | 277.8941 | 274.3912 | 271.3699 | 270.2085 | 269.645 | 272.3971 | 270.9155 | 2186.8376
Agreed Uncertainties** £m | [8 empty] | error | Ok does balance
2009-10 prices
Ofgem Allowance (Post IQI) £m
Uncertainty | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Smart metering
Streetworks
PSUP
SIUs
Other - fuel poor |  |  |  | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 1.9 | Amended to 5 years phasing not 6 as per prior year
Tier 2A adjustment | 2.4417 | -0.64735 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7944
Total | 2.4417 | -0.64735 | 0 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 3.6944
[9 empty] | 0 | check
Agreed uncertainties** by activity £m
Ofgem Allowance (Post IQI) £m
Controllable costs by activity | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
LTS, storage and entry | [8 empty] | 0
Connections | 0 | 0 | 0 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 1.9
Mains Reinforcement | [8 empty] | 0
Governors (Replacement) | [8 empty] | 0
Other Capex | [8 empty] | 0
of which IT | [8 empty] | 0
of which Vehicles | [8 empty] | 0
Total Capex | 0 | 0 | 0 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 1.9
HSE driven mains & services | 2.4417 | -0.64735 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7944
Non-HSE driven mains & services | [8 empty] | 0
Multi occupancy buildings (MoBs) | [8 empty] | 0
Total Repex | 2.4417 | -0.64735 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7944
Work Management | [8 empty] | 0
Emergency | [8 empty] | 0
Repair | [8 empty] | 0
Maintenance | [8 empty] | 0
Statutory independent undertakings (SIUs) | [8 empty] | 0
Other Direct Activities | [8 empty] | 0
of which Xoserve | [8 empty] | 0
Total Direct Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Business support | [8 empty] | 0
Training & Apprentices | [8 empty] | 0
Total Indirect Opex | [8 empty] | 0
Total Opex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Controllable costs | 2.4417 | -0.64735 | 0 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 3.6944
| OK | OK | OK | OK | OK | OK | OK | OK | OK
* These are uncertainties where a reopener has yet to be triggered and no decision on setting an allowance has been made.
** Agreed uncertainties are where a reopener has been triggered and a decision has been made by Ofgem.

## Workload summary
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
2.3 Summary of workload
Current year RRP submission 2017 - Workload
|  | Actuals |  |  | Current year actuals | Forecast |  |  |  | Forecast RIIO Total
Cost activity |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Opex
Mains condition reports | Number | 5636 | 6424 | 5569 | 6421 | 7903.8167 | 7179.7701 | 7230.1496 | 7269.2004 | 53632.9367
Service condition reports | Number | 6317 | 5417 | 5943 | 5621 | 5880.4881 | 5866.4346 | 5846.5367 | 5818.1871 | 46709.6464
No. of holders removed | Number | 2 | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 10
Capex
Total mains reinforcement | km | 11.3181 | 13.4404 | 9.8232 | 12.6042 | 23.9 | 19.4 | 17.4 | 17.4 | 125.2859
Total reinforcement Governors | Number | 0 | 0 | 4 | 0 | 4 | 4 | 4 | 4 | 20
Total connection services | Number | 11498 | 11294 | 11640 | 11933 | 11251.934 | 11298.5 | 11298.5 | 11087 | 91300.934
- New housing services | Number | 2898 | 3595 | 3878 | 4463 | 4463 | 4463 | 4463 | 4463 | 32686
- Existing housing services | Number | 5381 | 5508 | 5563 | 5235 | 4940.7869 | 5000 | 5000 | 4988.5 | 41616.2869
- Non- domestic services | Number | 587 | 530 | 640 | 639 | 512.6471 | 500 | 500 | 500 | 4408.6471
- Fuel poor services | Number | 2632 | 1661 | 1559 | 1596 | 1335.5 | 1335.5 | 1335.5 | 1135.5 | 12590
Governor intervention | Number | 94 | 90 | 35 | 24 | 12 | 12 | 12 | 12 | 291
Repex
T1 length decommissioned | km | 332.4631 | 365.6075 | 345.0844 | 336.2143 | 316.5896 | 316.5896 | 316.5896 | 316.5896 | 2645.7278
T2 length decommissioned | km | 21.6847 | 20.7114 | 20.8641 | 30.7381 | 34.3525 | 34.3525 | 34.3525 | 34.3525 | 231.4084
T3 length decommissioned | km | 1.371 | 1.7409 | 0.7721 | 1.1014 | 2 | 2 | 2 | 2 | 12.9854
Steel length decommissioned | km | 64.8401 | 66.7523 | 100.3393 | 84.6442 | 66.0334 | 66.0334 | 66.0334 | 66.0334 | 580.7097
Other length decommissioned | km | 29.407 | 26.1554 | 8.8669 | 18.4951 | 12.9538 | 12.9538 | 12.9538 | 12.9538 | 134.7396
No. of services transferred | Number | 19849 | 20384 | 17357 | 17354 | 15541.9857 | 15541.9857 | 15541.9857 | 15541.9857 | 137111.9427
No. of services relaid | Number | 22851 | 23770 | 21642 | 23268 | 21743.25 | 21743.25 | 21743.25 | 21743.25 | 178504
Previous year RRP submission | [10 empty] | Variance from previous year | [10 empty] | % Variance from previous year
|  | Actuals 2014: Actuals; Current year actuals 2017: Previous year forecast |  |  |  | Actuals |  |  | Current year actuals | Forecast | [6 empty] | Actuals |  |  | Current year actuals | Forecast
Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Opex | [10 empty] | Opex | [10 empty] | Opex
Mains condition reports | Number | 5636 | 6424 | 5569 | 7428.6093 | 7422.7124 | 7402.5457 | 7366.8369 | 7314.2281 | 54563.9325 | Mains condition reports | Number | 0 | 0 | 0 | -1007.6093 | 481.1043 | -222.7756 | -136.6873 | -45.0277 | -930.9958 | Mains condition reports | Number | 0% | 0% | 0% | -13.56% | 6.482% | -3.009% | -1.855% | -0.6156% | -1.706%
Service condition reports | Number | 6317 | 5417 | 5943 | 5196.1094 | 5167.9255 | 5132.0256 | 5087.7722 | 5034.4861 | 43295.3188 | Service condition reports | Number | 0 | 0 | 0 | 424.8906 | 712.5625 | 734.409 | 758.7645 | 783.7009 | 3414.3276 | Service condition reports | Number | 0% | 0% | 0% | 8.177% | 13.79% | 14.31% | 14.91% | 15.57% | 7.886%
No. of holders removed | Number | 2 | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 10 | No. of holders removed | Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No. of holders removed | Number | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0%
Capex | [10 empty] | Capex | [10 empty] | Capex
Total mains reinforcement | km | 11.3181 | 13.4404 | 9.8232 | 14 | 8 | 8 | 14 | 3.5 | 82.0816 | Total mains reinforcement | km | 0 | 0 | 0 | -1.3958 | 15.9 | 11.4 | 3.4 | 13.9 | 43.2042 | Total mains reinforcement | km | 0% | 0% | 0% | -9.97% | 198.7% | 142.5% | 24.29% | 397.1% | 52.64%
Total reinforcement Governors | Number | 0 | 0 | 4 | 10 | 16 | 16 | 16 | 16 | 78 | Total reinforcement Governors | Number | 0 | 0 | 0 | -10 | -12 | -12 | -12 | -12 | -58 | Total reinforcement Governors | Number | #DIV/0! | #DIV/0! | 0% | -100% | -75% | -75% | -75% | -75% | -74.36%
Total connection services | Number | 11498 | 11294 | 11640 | 12852 | 12866 | 12886 | 12886 | 12674 | 98596 | Total connection services | Number | 0 | 0 | 0 | -919 | -1614.066 | -1587.5 | -1587.5 | -1587 | -7295.066 | Total connection services | Number | 0% | 0% | 0% | -7.151% | -12.55% | -12.32% | -12.32% | -12.52% | -7.399%
- New housing services | Number | 2898 | 3595 | 3878 | 2826 | 2868 | 2868 | 2868 | 2868 | 24669 | - New housing services | Number | 0 | 0 | 0 | 1637 | 1595 | 1595 | 1595 | 1595 | 8017 | - New housing services | Number | 0% | 0% | 0% | 57.93% | 55.61% | 55.61% | 55.61% | 55.61% | 32.5%
- Existing housing services | Number | 5381 | 5508 | 5563 | 7800 | 7800 | 7800 | 7800 | 7800 | 55452 | - Existing housing services | Number | 0 | 0 | 0 | -2565 | -2859.2131 | -2800 | -2800 | -2811.5 | -13835.7131 | - Existing housing services | Number | 0% | 0% | 0% | -32.88% | -36.66% | -35.9% | -35.9% | -36.04% | -24.95%
- Non- domestic services | Number | 587 | 530 | 640 | 816 | 828 | 828 | 828 | 828 | 5885 | - Non- domestic services | Number | 0 | 0 | 0 | -177 | -315.3529 | -328 | -328 | -328 | -1476.3529 | - Non- domestic services | Number | 0% | 0% | 0% | -21.69% | -38.09% | -39.61% | -39.61% | -39.61% | -25.09%
- Fuel poor services | Number | 2632 | 1661 | 1559 | 1410 | 1370 | 1390 | 1390 | 1178 | 12590 | - Fuel poor services | Number | 0 | 0 | 0 | 186 | -34.5 | -54.5 | -54.5 | -42.5 | 0 | - Fuel poor services | Number | 0% | 0% | 0% | 13.19% | -2.518% | -3.921% | -3.921% | -3.608% | 0%
Governor intervention | Number | 94 | 90 | 35 | 450.5 | 321 | 336.5 | 289.5 | 252 | 1868.5 | Governor intervention | Number | 0 | 0 | 0 | -426.5 | -309 | -324.5 | -277.5 | -240 | -1577.5 | Governor intervention | Number | 0% | 0% | 0% | -94.67% | -96.26% | -96.43% | -95.85% | -95.24% | -84.43%
Repex | [10 empty] | Repex | [10 empty] | Repex
T1 length decommissioned | km | 332.4631 | 365.6075 | 345.0844 | 367.3282 | 305.9021 | 305.9021 | 305.9021 | 305.9021 | 2634.0918 | T1 length decommissioned | km | 0 | 0 | 0 | -31.1139 | 10.6875 | 10.6875 | 10.6875 | 10.6875 | 11.636 | T1 length decommissioned | km | 0% | 0% | 0% | -8.47% | 3.494% | 3.494% | 3.494% | 3.494% | 0.4417%
T2 length decommissioned | km | 21.6847 | 20.7114 | 20.8641 | 35.4214 | 32.4393 | 32.4393 | 32.4393 | 32.4393 | 228.4388 | T2 length decommissioned | km | 0 | 0 | 0 | -4.6833 | 1.9132 | 1.9132 | 1.9132 | 1.9132 | 2.9696 | T2 length decommissioned | km | 0% | 0% | 0% | -13.22% | 5.898% | 5.898% | 5.898% | 5.898% | 1.3%
T3 length decommissioned | km | 1.371 | 1.7409 | 0.7721 | 0 | 0 | 0 | 0 | 0 | 3.884 | T3 length decommissioned | km | 0 | 0 | 0 | 1.1014 | 2 | 2 | 2 | 2 | 9.1014 | T3 length decommissioned | km | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 234.3%
Steel length decommissioned | km | 64.8401 | 66.7523 | 100.3393 | 67.2497 | 61.6979 | 61.6979 | 61.6979 | 61.6979 | 545.973 | Steel length decommissioned | km | 0 | 0 | 0 | 17.3945 | 4.3356 | 4.3356 | 4.3356 | 4.3356 | 34.7367 | Steel length decommissioned | km | 0% | 0% | 0% | 25.87% | 7.027% | 7.027% | 7.027% | 7.027% | 6.362%
Other length decommissioned | km | 29.407 | 26.1554 | 8.8669 | 6.2266 | 3.9592 | 3.9592 | 3.9592 | 3.9592 | 86.4927 | Other length decommissioned | km | 0 | 0 | 0 | 12.2685 | 8.9946 | 8.9946 | 8.9946 | 8.9946 | 48.2468 | Other length decommissioned | km | 0% | 0% | 0% | 197% | 227.2% | 227.2% | 227.2% | 227.2% | 55.78%
No. of services transferred | Number | 19750 | 20361 | 17308 | 21267.1403 | 18041.6321 | 18041.6321 | 18041.6321 | 18041.6321 | 150852.6686 | No. of services transferred | Number | 99 | 23 | 49 | -3913.1403 | -2499.6464 | -2499.6464 | -2499.6464 | -2499.6464 | -13740.7259 | No. of services transferred | Number | 0.5013% | 0.113% | 0.2831% | -18.4% | -13.85% | -13.85% | -13.85% | -13.85% | -9.109%
No. of services relaid | Number | 22851 | 23770 | 21642 | 29390.6111 | 25884.0778 | 25884.0778 | 25884.0778 | 25884.0778 | 201189.9221 | No. of services relaid | Number | 0 | 0 | 0 | -6122.6111 | -4140.8278 | -4140.8278 | -4140.8278 | -4140.8278 | -22685.9221 | No. of services relaid | Number | 0% | 0% | 0% | -20.83% | -16% | -16% | -16% | -16% | -11.28%
Final proposals | [10 empty] | Variance from final proposals | [10 empty] | % Variance from final proposals
[13 empty] | Actuals |  |  | Current year actuals | Forecast | [6 empty] | Actuals |  |  | Current year actuals | Forecast
Workload
Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total | Cost activity | Units | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Opex | [10 empty] | Opex | [10 empty] | Opex
Mains condition reports | Number | 9724.5789 | 9495.3985 | 9271.956 | 9054.1448 | 8841.8599 | 8634.9981 | 8433.4609 | 8237.1539 | 71693.5508 | Mains condition reports | Number | -4088.5789 | -3071.3985 | -3702.956 | -2633.1448 | -938.0432 | -1455.228 | -1203.3113 | -967.9535 | -18060.6141 | Mains condition reports | Number | -42.04% | -32.35% | -39.94% | -29.08% | -10.61% | -16.85% | -14.27% | -11.75% | -25.19%
Service condition reports | Number | 5054.1887 | 4985.2576 | 4901.9519 | 4801.158 | 4680.8179 | 4540.6366 | 4372.7139 | 4180.8059 | 37517.5306 | Service condition reports | Number | 1262.8113 | 431.7424 | 1041.0481 | 819.842 | 1199.6702 | 1325.7979 | 1473.8227 | 1637.3812 | 9192.1158 | Service condition reports | Number | 24.99% | 8.66% | 21.24% | 17.08% | 25.63% | 29.2% | 33.7% | 39.16% | 24.5%
No. of holders removed | Number | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 0-1 | c. 7-8 | No. of holders removed | Number | [9 empty] | No. of holders removed | Number | [8 empty] | #VALUE!
Capex | [10 empty] | Capex | [10 empty] | Capex
Total mains reinforcement | km | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 200 | Total mains reinforcement | km | -13.6819 | -11.5596 | -15.1768 | -12.3958 | -1.1 | -5.6 | -7.6 | -7.6 | -74.7141 | Total mains reinforcement | km | -54.73% | -46.24% | -60.71% | -49.58% | -4.4% | -22.4% | -30.4% | -30.4% | -37.36%
Total reinforcement Governors | Number | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 128 | Total reinforcement Governors | Number | -16 | -16 | -12 | -16 | -12 | -12 | -12 | -12 | -108 | Total reinforcement Governors | Number | -100% | -100% | -75% | -100% | -75% | -75% | -75% | -75% | -84.38%
Total connection services | Number | 12165 | 12230 | 12305 | 12365 | 12140 | 12215 | 12285 | 12355 | 98060 | Total connection services | Number | -667 | -936 | -665 | -432 | -888.066 | -916.5 | -986.5 | -1268 | -6759.066 | Total connection services | Number | -5.483% | -7.653% | -5.404% | -3.494% | -7.315% | -7.503% | -8.03% | -10.26% | -6.893%
- New housing services | Number | 2485 | 2535 | 2590 | 2640 | 2690 | 2750 | 2805 | 2860 | 21355 | - New housing services | Number | 413 | 1060 | 1288 | 1823 | 1773 | 1713 | 1658 | 1603 | 11331 | - New housing services | Number | 16.62% | 41.81% | 49.73% | 69.05% | 65.91% | 62.29% | 59.11% | 56.05% | 53.06%
- Existing housing services | Number | 7465 | 7465 | 7465 | 7465 | 7475 | 7475 | 7475 | 7475 | 59760 | - Existing housing services | Number | -2084 | -1957 | -1902 | -2230 | -2534.2131 | -2475 | -2475 | -2486.5 | -18143.7131 | - Existing housing services | Number | -27.92% | -26.22% | -25.48% | -29.87% | -33.9% | -33.11% | -33.11% | -33.26% | -30.36%
- Non- domestic services | Number | 715 | 730 | 750 | 760 | 775 | 790 | 805 | 820 | 6145 | - Non- domestic services | Number | -128 | -200 | -110 | -121 | -262.3529 | -290 | -305 | -320 | -1736.3529 | - Non- domestic services | Number | -17.9% | -27.4% | -14.67% | -15.92% | -33.85% | -36.71% | -37.89% | -39.02% | -28.26%
- Fuel poor services | Number | 1500 | 1500 | 1500 | 1500 | 1200 | 1200 | 1200 | 1200 | 10800 | - Fuel poor services | Number | 1132 | 161 | 59 | 96 | 135.5 | 135.5 | 135.5 | -64.5 | 1790 | - Fuel poor services | Number | 75.47% | 10.73% | 3.933% | 6.4% | 11.29% | 11.29% | 11.29% | -5.375% | 16.57%
Governor intervention | Number | 42 | 53 | 56 | 61 | 66 | 74 | 77 | 85 | 514 | Governor intervention | Number | 52 | 37 | -21 | -37 | -54 | -62 | -65 | -73 | -223 | Governor intervention | Number | 123.8% | 69.81% | -37.5% | -60.66% | -81.82% | -83.78% | -84.42% | -85.88% | -43.39%
Repex | [10 empty] | Repex | [10 empty] | Repex
T1 length decommissioned | km | 331.5076 | 330.961 | 330.434 | 329.9258 | 329.4358 | 328.9635 | 328.5083 | 328.0695 | 2637.8056 | T1 length decommissioned | km | 0.9555 | 34.6465 | 14.6504 | 6.2885 | -12.8462 | -12.3739 | -11.9187 | -11.4799 | 7.9222 | T1 length decommissioned | km | 0.2882% | 10.47% | 4.434% | 1.906% | -3.899% | -3.761% | -3.628% | -3.499% | 0.3003%
T2 length decommissioned | km | 30.1528 | 29.8319 | 28.3167 | 28.2533 | 32.3017 | 30.904 | 28.6746 | 28.7351 | 237.1702 | T2 length decommissioned | km | -8.4681 | -9.1205 | -7.4526 | 2.4848 | 2.0509 | 3.4485 | 5.6779 | 5.6174 | -5.7618 | T2 length decommissioned | km | -28.08% | -30.57% | -26.32% | 8.795% | 6.349% | 11.16% | 19.8% | 19.55% | -2.429%
T3 length decommissioned | km | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.12355 | 0.98842 | T3 length decommissioned | km | 1.2474 | 1.6173 | 0.64855 | 0.97785 | 1.8764 | 1.8764 | 1.8764 | 1.8764 | 11.997 | T3 length decommissioned | km | 1010% | 1309% | 524.9% | 791.4% | 1519% | 1519% | 1519% | 1519% | 1214%
Steel length decommissioned | km | 71.6237 | 71.5443 | 71.4675 | 71.3934 | 71.3219 | 71.2528 | 71.186 | 71.1215 | 570.9112 | Steel length decommissioned | km | -6.7836 | -4.792 | 28.8718 | 13.2508 | -5.2884 | -5.2193 | -5.1526 | -5.0881 | 9.7985 | Steel length decommissioned | km | -9.471% | -6.698% | 40.4% | 18.56% | -7.415% | -7.325% | -7.238% | -7.154% | 1.716%
Other length decommissioned | km | 7.2313 | 7.1443 | 6.9943 | 7.0123 | 6.8163 | 6.7863 | 6.8003 | 6.8573 | 55.6422 | Other length decommissioned | km | 22.1757 | 19.0112 | 1.8727 | 11.4828 | 6.1375 | 6.1675 | 6.1535 | 6.0965 | 79.0973 | Other length decommissioned | km | 306.7% | 266.1% | 26.77% | 163.8% | 90.04% | 90.88% | 90.49% | 88.91% | 142.2%
No. of services transferred | Number | 16553.6787 | 16530.0223 | 16538.733 | 16501.034 | 16536.0676 | 16476.732 | 16474.1113 | 16492.1039 | 132102.4827 | No. of services transferred | Number | 3295.3213 | 3853.9777 | 818.267 | 852.966 | -994.0819 | -934.7463 | -932.1256 | -950.1182 | 5009.46 | No. of services transferred | Number | 19.91% | 23.32% | 4.948% | 5.169% | -6.012% | -5.673% | -5.658% | -5.761% | 3.792%
No. of services relaid | Number | 26440.2014 | 26524.1324 | 26653.347 | 26651.5127 | 26389.4372 | 26092.5755 | 25806.4502 | 25771.7966 | 210329.453 | No. of services relaid | Number | -3589.2014 | -2754.1324 | -5011.347 | -3383.5127 | -4646.1872 | -4349.3255 | -4063.2002 | -4028.5466 | -31825.453 | No. of services relaid | Number | -13.57% | -10.38% | -18.8% | -12.7% | -17.61% | -16.67% | -15.74% | -15.63% | -15.13%

## Safety
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
2.4 Summary of safety outputs and secondary deliverables
Actual/forecast iron mains risk reduction (incidents/year x 10-6) - Primary output
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Mains risk b/f | 197562.9 | 172591.9 | 148530.9 | 131807.3356 | 118736.0551 | 110845.0551 | 103821.0551 | 97359.0551
Mains risk reduction | 24971 | 24061 | 16723.5644 | 13071.2805 | 7891 | 7024 | 6462 | 5598
Main risk c/f | 172591.9 | 148530.9 | 131807.3356 | 118736.0551 | 110845.0551 | 103821.0551 | 97359.0551 | 91761.0551
Cumulative mains risk reduction | 24971 | 49032 | 65755.5644 | 78826.8449 | 86717.8449 | 93741.8449 | 100203.8449 | 105801.8449
Previous year forecast iron mains risk reduction (incidents/year x 10-6) | [8 empty] | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  |  | Forecast | [5 empty] | Actuals | Forecast | [7 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Mains risk b/f | 197562.9 | 172591.9 | 148530.9 | 131807.3356 | 117866.4206 | 109975.4556 | 102951.8821 | 96490.1946
Mains risk reduction | 24971 | 24061 | 16723.5644 | 13940.9151 | 7890.965 | 7023.5734 | 6461.6876 | 5597.9708 | Mains risk reduction | 0 | 0 | 0 | -869.6346 | 0.035017 | 0.42655 | 0.31243 | 0.029191 | Mains risk reduction | 0% | 0% | 0% | -6.238% | 0.0004438% | 0.006073% | 0.004835% | 0.0005215%
Main risk c/f | 172591.9 | 148530.9 | 131807.3356 | 117866.4206 | 109975.4556 | 102951.8821 | 96490.1946 | 90892.2237
Cumulative mains risk reduction | 24971 | 49032 | 65755.5644 | 79696.4794 | 87587.4444 | 94611.0179 | 101072.7054 | 106670.6763 | Cumulative mains risk reduction | 0 | 0 | 0 | -869.6346 | -869.5996 | -869.173 | -868.8606 | -868.8314 | Cumulative mains risk reduction | 0% | 0% | 0% | -1.091% | -0.9928% | -0.9187% | -0.8596% | -0.8145%
Final proposals allowed iron mains risk reduction for RIIO-GD1 (incidents/year x 10-6) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Mains risk reduction | 98727 | [7 empty] | Mains risk reduction | 7074.8449 | [7 empty] | Mains risk reduction | -100%
Actual/forecast repair risk (x106)
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Repair risk 2013 (start position)
Annual repair risk | 24.6862 | 18.6322 | 11.57 | 11.53 | 24.18 | 24.18 | 24.18 | 24.18
Movement in risk | -24.6862 | -18.6322 | -11.57 | -11.53 | -24.18 | -24.18 | -24.18 | -24.18
Previous year's forecast repair risK (x106) | [8 empty] | Variance from previous year (x106) | [8 empty] | % Variance from previous year
| Actuals |  |  | Forecast | [5 empty] | Actuals |  |  | Current year actuals | Forecast |  |  |  |  | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Annual repair risk | 24.6862 | 18.6322 | 11.57 | 24.18 | 24.18 | 24.18 | 24.18 | 24.18 | Annual repair risk | 0 | 0 | 0 | -12.65 | 0 | 0 | 0 | 0 | Repair risk reduction | 0% | 0% | 0% | -52.32% | 0% | 0% | 0% | 0%
Movement in risk | -24.6862 | -18.6322 | -11.57 | -24.18 | -24.18 | -24.18 | -24.18 | -24.18 | Movement in risk | 0 | 0 | 0 | 12.65 | 0 | 0 | 0 | 0
Safety - Emergency response - Primary output | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Total PREs | 90885 | 87141 | 85471 | 83758
(1) Controllable
Number of controlled gas escapes or controlled other gas emergencies reported | 33617 | 32066 | 31341 | 29587
Number of responses within timescale (2 hours) | 33444 | 31938 | 31217 | 29399
Percentage of controlled gas escapes responded to within timescale (2 hours) | 99.49% | 99.6% | 99.6% | 99.36%
| 0 | 0 | 0
(2) Non-controllable | 0 | 0 | 0
Number of uncontrolled gas escapes or uncontrolled other gas emergencies reported | 57268 | 55075 | 54130 | 54171
Number of responses within timescale (1 hour) | 56314 | 54236 | 53365 | 53332
Percentage of uncontrolled gas escapes responded to within timescale (1 hour) | 98.33% | 98.48% | 98.59% | 98.45%
Proportion of gas escapes prevented within 12 hrs (secondary deliverable) | 46.65% | 49.47% | 52.6% | 52.4%
Gas in Buildings (GIB) events - Iron mains - Secondary deliverable | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
GIB events reportable under RIDDOR ie GIB >= 20% LEL or > 10kg from spun/cast iron fracture or DI corrosion of mains of: | 1 | 3 | 11 | 11 | 10 | 10 | 10 | 10
GIB events (any % level) from spun/cast iron fracture or DI corrosion of mains of: | 37 | 45 | 35 | 37
Cast/spun iron fractures and ductile iron corrosion failures - Secondary deliverable | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Number of spun/cast iron fracture or DI corrosion of mains of: | 581 | 616 | 519 | 679 | 1066 | 1066 | 1066 | 1066
Sub-deduct networks - secondary deliverable | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
% off sub-deduct networks taken of risk | 8.28% | 2% | 38% | 20% | 17% | 10% | 5% | 0%
Cumulative | 8.28% | 10.28% | 48.28% | 68.28% | 85.28% | 95.28% | 100.3% | 100.3%
Note on A71: Ofgem: Any concentration level at any location in the building. Data to include all GIB instances including those reportable under RIDDOR

## Reliability
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
2.5 Summary of reliability outputs and secondary deliverables
Summary of loss of supply volumes and duration - primary output
Actual/forecast loss of supply volumes (no.)
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 53085 | 55623 | 45173 | 45470 | 45121.984 | 45121.984 | 45121.984 | 45121.984 | 379838.936
No. of unplanned interruptions | 9478 | 10062 | 10768 | 9428 | 9934 | 9934 | 9934 | 9934 | 79472
Total interruptions | 62563 | 65685 | 55941 | 54898 | 55055.984 | 55055.984 | 55055.984 | 55055.984 | 459310.936
Previous year forecast loss of supply volumes (no.) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [6 empty] | Actuals |  |  | Current year actuals | Forecast | [5 empty] | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
No. of planned interruptions | 53085 | 55623 | 45173 | 57490 | 48285 | 47679 | 47679 | 47676 | 402690 | No. of planned interruptions | 0 | 0 | 0 | -12020 | -3163.016 | -2557.016 | -2557.016 | -2554.016 | -22851.064 | No. of planned interruptions | 0% | 0% | 0% | -20.91% | -6.551% | -5.363% | -5.363% | -5.357% | -5.675%
No. of unplanned interruptions | 9478 | 10062 | 10768 | 10064 | 9883 | 9689 | 9474 | 9238 | 78656 | No. of unplanned interruptions | 0 | 0 | 0 | -636 | 51 | 245 | 460 | 696 | 816 | No. of unplanned interruptions | 0% | 0% | 0% | -6.32% | 0.516% | 2.529% | 4.855% | 7.534% | 1.037%
Total interruptions | 62563 | 65685 | 55941 | 67554 | 58168 | 57368 | 57153 | 56914 | 481346 | Total interruptions | 0 | 0 | 0 | -12656 | -3112.016 | -2312.016 | -2097.016 | -1858.016 | -22035.064 | Total interruptions | 0% | 0% | 0% | -18.73% | -5.35% | -4.03% | -3.669% | -3.265% | -4.578%
Final proposals allowed loss of supply volumes (no.) | [9 empty] | Variance from final proposals | [9 empty] | Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
No. of planned interruptions | 451235.3356 | [8 empty] | No. of planned interruptions | -71396.3995 | [8 empty] | No. of planned interruptions | -15.82%
No. of unplanned interruptions | 90169.2225 | [8 empty] | No. of unplanned interruptions | -10697.2225 | [8 empty] | No. of unplanned interruptions | -11.86%
Total interruptions | 541404.558 | [8 empty] | Total interruptions | -82093.622 | [8 empty] | Total interruptions | -15.16%
Actual/forecast loss of supply duration (mins - million of)
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Dur. of planned interruptions | 13.0837 | 13.6775 | 10.3758 | 9.0853 | 9.2049 | 9.2049 | 9.2049 | 9.2049 | 83.042
Dur. of unplanned interruptions | 6.1219 | 9.4034 | 4.8344 | 4.6341 | 4.967 | 4.967 | 4.967 | 4.967 | 44.8618
Total interruptions | 19.2057 | 23.081 | 15.2102 | 13.7194 | 14.1719 | 14.1719 | 14.1719 | 14.1719 | 127.9038
Previous year forecast loss of supply duration (mins - million of) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [6 empty] | Actuals |  |  | Current year actuals | Forecast | [5 empty] | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Dur. of planned interruptions | 13.0837 | 13.6775 | 10.3758 | 12.4119 | 9.9417 | 9.817 | 9.817 | 9.8163 | 88.941 | No. of planned interruptions | 0 | 0 | 0 | -3.3266 | -0.73685 | -0.61208 | -0.61208 | -0.61146 | -5.8991 | No. of planned interruptions | 0% | 0% | 0% | -26.8% | -7.412% | -6.235% | -6.235% | -6.229% | -6.633%
Dur. of unplanned interruptions | 6.1219 | 9.4034 | 4.8344 | 4.8428 | 4.7557 | 4.6623 | 4.5589 | 4.4453 | 43.6248 | No. of unplanned interruptions | 0 | 0 | 0 | -0.2087 | 0.2113 | 0.30465 | 0.40811 | 0.52167 | 1.237 | No. of unplanned interruptions | 0% | 0% | 0% | -4.309% | 4.443% | 6.534% | 8.952% | 11.74% | 2.836%
Total interruptions | 19.2057 | 23.081 | 15.2102 | 17.2547 | 14.6974 | 14.4793 | 14.3759 | 14.2617 | 132.5658 | Total interruptions | 0 | 0 | 0 | -3.5353 | -0.52555 | -0.30743 | -0.20397 | -0.089789 | -4.662 | Total interruptions | 0% | 0% | 0% | -20.49% | -3.576% | -2.123% | -1.419% | -0.6296% | -3.517%
Final proposals allowed loss of supply duration (mins - million of) | [9 empty] | Variance from final proposals | [9 empty] | Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
Dur. of planned interruptions | 92.052 | [8 empty] | No. of planned interruptions | -9.01 | [8 empty] | No. of planned interruptions | -9.788%
Dur. of unplanned interruptions | 45.0846 | [8 empty] | No. of unplanned interruptions | -0.22277 | [8 empty] | No. of unplanned interruptions | -0.4941%
Total interruptions | 137.1366 | [8 empty] | Total interruptions | -9.2328 | [8 empty] | Total interruptions | -6.733%
Summary of telemetered faults - secondary deliverables
Actual/forecast telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs))
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Telemetered faults | 15.8 | 5.23 | 4.54 | 3.89 | 78 | 78 | 78 | 78 | 341.46
Previous year forecast telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs)) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [6 empty] | Actuals |  | Current year actuals | Forecast | [6 empty] | Actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
Telemetered faults | 15.8 | 5.23 | 4.54 | 78 | 78 | 78 | 78 | 78 | 415.57 | Telemetered faults | 0 | 0 | 0 | -74.11 | 0 | 0 | 0 | 0 | -74.11 | Telemetered faults | 0% | 0% | 0% | -95.01% | 0% | 0% | 0% | 0% | -17.83%
Final proposals allowed telemetered faults (fault * duration/no. of telemetered AGIs - "now faults" (hrs)) | [9 empty] | Variance from final proposals | [9 empty] | % Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
Telemetered faults | 181 | 168 | 153 | 141 | 161 | 182 | 202 | 223 | 1411 | Telemetered faults | -165.2 | -162.77 | -148.46 | -137.11 | -83 | -104 | -124 | -145 | -1069.54 | Telemetered faults | -91.27% | -96.89% | -97.03% | -97.24% | -51.55% | -57.14% | -61.39% | -65.02% | -75.8%
Summary of pressure systems safety regulations (PSSR) faults - secondary deliverables
Actual/forecast PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate))
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
PSSR faults (% or No.) | 6.2% | 5.7% | 4.988% | 4.6% | 7.2% | 7.402% | 7.601% | 7.799%
Previous year forecast PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate)) | [9 empty] | Variance from previous year | [9 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [6 empty] | Actuals |  |  | Current year actuals | Forecast | [5 empty] | Actuals |  |  | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast RIIO Total
PSSR faults (% or No.) | 48.1% | 5.7% | 4.988% | 7% | 7.2% | 7.402% | 7.601% | 7.799% | 0% | PSSR faults (% or No.) | -0.419 | 0 | 0 | -0.024 | 0 | 0 | 0 | 0 |  | PSSR faults (% or No.) | -87.11% | 0% | 0% | -34.29% | 0% | 0% | 0% | 0%
Final proposals allowed PSSR faults (faults as a % of inspections - PSSR A1 and A2 faults or faults/No. of AGIs - PSSR A1 and A2 faults (delete as appropriate)) | [9 empty] | Variance from final proposals | [9 empty] | % Variance from final proposals
| Final proposals | [9 empty] | Final proposals | [9 empty] | Final proposals
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | RIIO Total
PSSR faults (% or No.) | 7.3% | 7.2% | 7.1% | 7% | 7.2% | 7.4% | 7.6% | 7.8% | 58.6% | PSSR faults (% or No.) | -0.011 | -0.015 | -0.021118 | -0.024 | 0 | 1.6e-05 | 1.4432e-05 | -9.1928e-06 |  | PSSR faults (% or No.) | -15.07% | -20.83% | -29.74% | -34.29% | 0% | 0.02162% | 0.01899% | -0.01179%
Number and value of offtake meter error reports
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Volume of offtake meter errors (GWh) | 11.716 | 11.716 | 12.59 | 0 | 65.8631 | 66.0181 | 66.3696 | 66.2516
Throughput (GWh) | 62420 | 62420 | 57846 | 66050 | 65863.0808 | 66018.0524 | 66369.5938 | 66251.605
Meter errors/throughput (%) | 0.01877% | 0.01877% | 0.02176% | 0.1022% | 0.1017% | 0.1015% | 0.1009% | 0.1007%
Summary Capacity Utilisation
Capacity utilisation | Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
</= 50% | 171 | 164 | 161 | 161 | 145 | 145 | 145 | 145
>50% to </=70% | 81 | 80 | 76 | 72 | 72 | 72 | 72 | 72
>70% to </=80% | 39 | 39 | 41 | 38 | 38 | 38 | 38 | 38
>80% to </=100% | 51 | 51 | 55 | 78 | 78 | 78 | 78 | 78
>100% | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
Total no. of sites | 342 | 334 | 334 | 333 | 333 | 333 | 333 | 333
Note on B91: Carly Evans: Updated following rebasing of methodology in 14/15

## Environmental
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
2.6 Summary of environmental outputs - shrinkage and leakage volumes
Actual/forecast shrinkage volumes (GWh)
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Shrinkage volumes at start of RIIO-GD1 | 417.4
Shrinkage volume | 417.4 | 394.7673 | 381.069 | 378.4849 | 364.0378 | 357.5053 | 350.9609 | 344.2188
Shrinkage baselines | 440 | 429.2 | 421.2 | 413.2 | 405.2 | 397.2 | 389.2 | 381.2
Shrinkage volume reduction | 0 | 22.6327 | 36.331 | 38.9151 | 53.3622 | 59.8947 | 66.4391 | 73.1812
% shrinkage volume reduction | 0% | 5.422% | 8.704% | 9.323% | 12.78% | 14.35% | 15.92% | 17.53%
Previous year forecast shrinkage volumes (GWh) | [8 empty] | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [5 empty] | Actuals |  |  | Current year actuals | Forecast |  |  |  |  | Actuals |  |  | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Shrinkage volumes at start of RIIO-GD1 | 417.4
Shrinkage volume | 417.4 | 394.7673 | 381.069 | 386.5034 | 380.0887 | 373.696 | 367.2931 | 360.6937 | Shrinkage volume | 0 | 0 | 0 | -8.0186 | -16.0509 | -16.1907 | -16.3322 | -16.4748 | Shrinkage volume | 0% | 0% | 0% | -2.075% | -4.223% | -4.333% | -4.447% | -4.568%
Shrinkage volume reduction | 0 | 22.6327 | 36.331 | 30.8966 | 37.3113 | 43.704 | 50.1069 | 56.7063 | Shrinkage volume reduction | 0 | 0 | 0 | 8.0186 | 16.0509 | 16.1907 | 16.3322 | 16.4748 | Shrinkage volume reduction | #DIV/0! | 0% | 0% | 25.95% | 43.02% | 37.05% | 32.59% | 29.05%
% shrinkage volume reduction | 0% | 5.422% | 8.704% | 7.402% | 8.939% | 10.47% | 12% | 13.59%
Final proposals allowed shrinkage volumes (GWh) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Shrinkage volume reduction | 14% | [7 empty] | Shrinkage volume reduction | 14.7452 | [7 empty] | Shrinkage volume reduction | 3.533%
Actual/forecast leakage volumes (GWh)
| Actuals |  |  | Current year actuals | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Leakage volumes at start of RIIO-GD1 | 398
Leakage volume | 398 | 376.0295 | 362.9632 | 357.9314 | 345.4268 | 338.8452 | 332.1978 | 325.4845
Leakage baselines | 415 | 403.2 | 396.2 | 388.2 | 380.2 | 372.2 | 365.2 | 357.2
Leakage volume reduction | 0 | 21.9705 | 35.0368 | 40.0686 | 52.5732 | 59.1548 | 65.8022 | 72.5155
% Leakage volume reduction | 0% | 5.52% | 8.803% | 10.07% | 13.21% | 14.86% | 16.53% | 18.22%
Previous year forecast leakage volumes (GWh) |  |  |  | 8 | 2.235% |  |  |  | Variance from previous year | [8 empty] | % Variance from previous year
| Actuals |  |  | Previous year forecast | [5 empty] | Actuals |  |  | Current year actuals | Forecast |  |  |  |  | Actuals |  |  | Forecast
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Leakage volumes at start of RIIO-GD1 | 398
Leakage volume | 398 | 376.0295 | 362.9632 | 365.9772 | 359.4689 | 353.0277 | 346.5221 | 339.9521 | Leakage volume | 0 | 0 | 0 | -8.0458 | -14.0421 | -14.1825 | -14.3243 | -14.4676 | Leakage volume | 0% | 0% | 0% | -2.198% | -3.906% | -4.017% | -4.134% | -4.256%
Leakage volume reduction | 0 | 21.9705 | 35.0368 | 32.0228 | 38.5311 | 44.9723 | 51.4779 | 58.0479 | Leakage volume reduction | 0 | 0 | 0 | 8.0458 | 14.0421 | 14.1825 | 14.3243 | 14.4676 | Leakage volume reduction | #DIV/0! | 0% | 0% | 25.13% | 36.44% | 31.54% | 27.83% | 24.92%
% Leakage volume reduction | 0% | 5.52% | 8.803% | 8.046% | 9.681% | 11.3% | 12.93% | 14.58%
Final proposals allowed leakage volumes (GWh) | [8 empty] | Variance from final proposals | [8 empty] | % Variance from final proposals
| Final proposals | [8 empty] | Final proposals | [8 empty] | Final proposals
Leakage volume reduction | 14.7% | [7 empty] | Leakage volume reduction | 14.0095 | [7 empty] | Leakage volume reduction | 3.52%
Note on B23: revised baseline based on lastest shrinkage/leakage model - informed as part of the SQ process
Note on B49: revised baseline based on lastest shrinkage/leakage model - informed as part of the SQ process

## Guaranteed Standards
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
8.3 Guaranteed Standards of Service
Guaranteed Standard 1 - Regulation 7 - Supply Restoration
Domestic
Number of customers' premises not restored within the prescribed period (Reg 7(2)(a)) |  | 763
Number of customers' premises not restored within the prescribed period (Reg 7(2)(b)) |  | 139
Number of payments made under Reg 7(2)(a) |  | 763
Value of payments made under Reg 7(2)(a) |  | 22890
Number of payments made under Reg 7(2)(b) |  | 316.33
Value of payments made under Reg 7(2)(b) |  | 9489.9
Number of times cap reached for payments under Reg 7(2) |  | 1
Total value of domestic payments made under Regulation 7 |  | 32379.9
Non Domestic
Number of customers' premises not restored within the prescribed period (Reg 7(2)(a)) |  | 33
Number of customers' premises not restored within the prescribed period (Reg 7(2)(b)) |  | 10
Number of payments made under Reg 7(2)(a) |  | 33
Value of payments made under Reg 7(2)(a) |  | 1650
Number of payments made under Reg 7(2)(b) |  | 12
Value of payments made under Reg 7(2)(b) |  | 600
Number of times cap reached for payments under Reg 7(2) |  | 0
Total value of non-domestic payments made under Regulation 7 |  | 2250
Total value of domestic and non-domestic payments made under Regulation 7 |  | 34629.9
Guaranteed Standard 2 - Regulation 8 - Reinstatement of customer's premises
Domestic
Number of customers' premises due to be reinstated |  | 11537
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(a)) |  | 277
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(b)) |  | 70
Number of payments made under Reg 8(2)(a) |  | 277
Value of payments made under Reg 8(2)(a) |  | 13850
Number of payments made under Reg 8(2)(b) |  | 220
Value of payments made under Reg 8(2)(b) |  | 11000
Total value of payments made under Regulation 8 to domestic customers |  | 24850
Non Domestic
Number of customers' premises due to be reinstated |  | 210
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(a)) |  | 9
Number of customers' premises not reinstated within the prescribed period (Reg 8(2)(b)) |  | 1
Number of payments made under Reg 8(2)(a) |  | 9
Value of payments made under Reg 8(2)(a) |  | 900
Number of payments made under Reg 8(2)(b) |  | 1
Value of payments made under Reg 8(2)(b) |  | 100
Total value of payments made under Regulation 8 to non-domestic customers |  | 1000
Total value of payments made under Regulation 8 |  | 25850
Guaranteed Standard 3 - Regulation 9 - Priority domestic customers
Number of supply interruptions to priority domestic customers' premises (Reg 9(1)) |  | 9533
Planned interruptions
Number of planned interruptions to priority domestic customers' premises (Reg 9(2)(a)) |  | 7891
Number of payments made under Reg 9(2)(a) |  | 25
Value of payments made under Reg 9(2)(a) |  | 600
Unplanned interruptions (less than 250 premises)
Number of unplanned interruptions to priority domestic customers' premises where less than 250 customers' premises are affected (Reg 9(2)(b)(i)) |  | 1586
Number of payments made under Reg 9(2)(b)(i) |  | 3
Value of payments made under Reg 9(2)(b)(i) |  | 72
Unplanned interruptions (more than 250 premises)
Number of unplanned interruptions to priority domestic customers' premises where 250 or more customers' premises are affected (Reg 9(2)(b)(ii)) |  | 56
Number of payments made under Reg 9(2)(b)(ii) |  | 0
Value of payments made under Reg 9(2)(b)(ii) |  | 0
Total value of payments made under Regulation 9 |  | 672
Guaranteed Standard 4 - Regulation 10 - Provision of standard connection quotations =<275kWh per hour
Voluntary Scheme
Number of requests for standard quote =<275kWh per hour (Reg 10(1)(a)) |  | 6110 | 2252
Number of standard quotations provided within prescribed period (Reg 10 (3) (a)) |  | 6086 | 2240
Number of standard quotations not provided within prescribed period (Reg 10(3)(a)) |  | 24 | 12
Number of payments made under Reg 10(3)(a) |  | 226 | 108
Number of times cap reached for payments under Reg 10(6)(b)(i) |  | 3 | 1
Value of payments made under Regulation 10(3)(a) |  | 2260 | 1080
Exclusions
Number of excluded connections |  | 3780
Number of complex connections |  | 0
Number of connections where customer failed to provide required information |  | 0
Number of customer requested deferrals |  | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) |  | 0
Guaranteed Standard 5 - Regulation 10 - Provision of non-standard connection quotations =<275kWh per hour
Voluntary Scheme
Number of requests for non-standard quote =<275kWh per hour (Reg 10(1)(a)) |  | 4951 | 2389
Number of non-standard quotations provided within prescribed period (Reg 10(3)(b)(i)) |  | 4877 | 2342
Number of non-standard quotations not provided within prescribed period (Reg 10(3)(b)(i)) |  | 74 | 47
Number of payments made under Reg 10(3)(b)(i) |  | 382 | 269
Number of times cap reached for payments under Reg 10(6)(b)(i) |  | 3 | 1
Value of payments made under Regulation 10(3)(b)(i) |  | 3820 | 2690
Exclusions
Number of excluded connections |  | 346
Number of complex connections |  | 1
Number of connections where customer failed to provide required information |  | 0
Number of customer requested deferrals |  | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) |  | 3
Guaranteed Standard 6 - Regulation 10 - Provision of non-standard connection quotations > 275kWh per hour
Voluntary Scheme
Number of requests for non-standard quote >275kWh per hour (Reg 10(1)(a)) |  | 94 | 496
Number of non-standard quotations provided within prescribed period (Reg 10(3)(b)(ii)) |  | 94 | 491
Number of non-standard quotations not provided within prescribed period (Reg 10(3)(b)(ii)) |  | 0 | 5
Number of payments made under Reg 10(3)(b)(ii) |  | 0 | 36
Number of times cap reached for payments under Reg 10(6)(b)(ii) |  | 0 | 1
Value of payments made under Regulation 10 (3)(b)(ii) |  | 0 | 720
Exclusions
Number of excluded connections |  | 1583
Number of complex connections |  | 39
Number of connections where customer failed to provide required information |  | 0
Number of customer requested deferrals |  | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) |  | 421
Guaranteed Standard 7 - Regulation 10 - Accuracy of quotations
Voluntary Scheme
Number of quotations challenged under accuracy scheme (Reg 10(1)(b)) |  | 0 | 0
Number of quotations found not to be accurate (Reg 10(3)(c)) |  | 0 | 0
Number of refunds issued following accuracy scheme challenge |  | 0 | 0
Value of refunds issued under accuracy scheme (Reg 10 (3)(c)) |  | 0 | 0
Exclusions
Number of excluded connections |  | 0
Number of complex connections |  | 0
Number of connections where customer failed to provide required information |  | 0
Number of customer requested deferrals |  | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) |  | 0
Guaranteed Standard 8 - Regulation 10 - Response to land enquiries
Voluntary Scheme
Number of land enquiry requests received (Reg 10(1)(c)) |  | 3 | 714
Number of land enquiry requests responded to within timescale (Reg 10(3)(d)) |  | 3 | 707
Number of land enquiry requests not responded to within timescale (Reg 10(3)(d)) |  | 0 | 7
Number of payments made under Reg 10(3)(d) |  | 0 | 7
Number of times cap reached for payments under Reg 10(6)(c)(i)(ii) |  | 0 | 1
Value of payments made under Regulation 10(3)(d) |  | 0 | 900
Exclusions
Number of excluded connections |  | 486
Number of complex connections |  | 0
Number of connections where customer failed to provide required information |  | 0
Number of customer requested deferrals |  | 0
Number of connections not covered by SI (connections >7 bar gauge, domestic developments and non-domestic developments) |  | 486
Guaranteed Standard 9 - Regulation 10 - Offering a date for commencement and substantial completion of connection works (=<275kWh per hour)
Voluntary
Number of quotations accepted (Reg 10(1)(d)) |  | 7051 | 2453
Number where both dates offered within timescale (Reg 10(3)(e)(i)) |  | 7045 | 2449
Number where at least one date not offered within timescale (Reg 10(3)(e)(i)) |  | 6 | 4
Number of payments made under Reg 10(3)(e)(i) |  | 51 | 38.5
Number of times cap reached for payments under Reg 10(6)(d)(i) |  | 2 | 1
Value of payments made under Regulation 10(3)(e)(i) |  | 1020 | 770
Guaranteed Standard 10 - Regulation 10 - Offering a date for commencement and substantial completion of connection works (> 275kWh per hour)
Voluntary Scheme
Number of quotations accepted (Reg 10(1)(d)) |  | 33 | 150
Number where both dates offered within timescale (Reg 10(3)(e)(ii)) |  | 33 | 149
Number where at least one date not offered within timescale (Reg 10(3)(e)(ii)) |  | 0 | 1
Number of payments made under Reg 10(3)(e)(ii) |  | 0 | 12.5
Number of times cap reached for payments under Reg 10(6)(d)(ii) |  | 0 | 1
Value of payments made under Regulation 10(3)(e)(ii) |  | 0 | 500
Guaranteed Standard 11 - Regulation 10 - Substantial completion on agreed date | ;
Quotation value up to and including £1,000 |  |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(i)) |  | 5912 | 1696
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(i)) |  | 216 | 70
Number of payments made under Reg 10(3)(f)(i) |  | 788 | 233
Number of times cap reached for payments under Reg 10(6)(e) |  | 42 | 13
Value of payments made under Regulation 10(3)(f)(i) |  | 15760 | 4660
Quotation value over £1,000 but not exceeding £4,000 |  |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(ii)) |  | 646 | 566
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(ii)) |  | 48 | 41
Number of payments made under Reg 10(3)(f)(ii) |  | 170 | 135
Number of times cap reached for payments under Reg 10(6)(f) |  | 7 | 5
Value of payments made under Regulation 10(3)(f)(ii) |  | 7991.99 | 5609.15
Quotation value over £4,000 but not exceeding £20,000 |  |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(iii)) |  | 75 | 124
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(iii)) |  | 6 | 5
Number of payments made under Reg 10(3)(f)(iii) |  | 44.25 | 27.55
Number of times cap reached for payments under Reg 10(6)(f) |  | 1 | 1
Value of payments made under Regulation 10(3)(f)(iii) |  | 4424.81 | 2754.54
Quotation value above £20,000 but not exceeding £50,000 |  |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10(3)(f)(iv)) |  | 0 | 5
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(iv)) |  | 0 | 0
Number of payments made under Reg 10(3)(f)(iv) |  | 0 | 0
Number of times cap reached for payments under Reg 10(6)(g) |  | 0 | 0
Value of payments made under Regulation 10(3)(f)(iv) |  | 0 | 0
Quotation value above £50,000 but not exceeding £100,000 |  |  | Voluntary Scheme
Number substantially completed within timescale agreed with customer (Reg 10)(3)(f)(v)) |  | 1 | 0
Number not substantially completed within timescale agreed with customer (Reg 10(3)(f)(v) |  | 0 | 0
Number of payments made under Reg 10(3)(f)(v) |  | 0 | 0
Number of times cap reached for payments under Reg 10(6)(h) |  | 0 | 0
Value of payments made under Regulation 10(3)(f)(v) |  | 0 | 0
Total Amount |  |  | Voluntary Scheme
Total number of substantially completed quotations |  | 6904 | 2507
Total number substantially completed within agreed timescale |  | 6634 | 2391
Total number not substantially completed within agreed timescale (Reg 10(3)(f) |  | 270 | 116
Total number of payments made (Reg 10(3)(f)) |  | 1002.25 | 395.55
Total number of times cap reached for payments (Reg 10(6)(e) - (h)) |  | 50 | 19
Total value of payments made (Regulation 10(3)(f)) |  | 28176.8 | 13023.69
Guaranteed Standard 13 - Regulation 10A - Notification of planned supply interruptions
Domestic
Number of customers whose gas supply was interrupted for planned maintenance or replacement work |  | 35515
Number of customers that did not receive prior notice of not less than prescribed period (Reg 10A(2)) |  | 567
Number of payments made under Reg 10A(2) |  | 21
Value of payments made under Reg 10A(2) |  | 420
Non Domestic
Number of customers whose gas supply was interrupted for planned maintenance or replacement work |  | 447
Number of customers that did not receive prior notice of not less than prescribed period (Reg 10A(2)) |  | 39
Number of payments made under Reg 10A(2) |  | 0
Value of payments made under Reg 10A(2) |  | 0
Total value of payments made under Reg 10A |  | 420
Guaranteed Standard 14 - Regulation 10B - Response to complaints
Total number of written and oral complaints received requiring a response |  | 1708
Number of customers that did not receive a response within the prescribed period (Reg 10B(2)) |  | 1
Number of payments made under Reg 10B(2) |  | 2
Number of times cap reached for payments under Reg 10B(4)(e) |  | 0
Total value of payments made under Reg 10B |  | 40
Guaranteed Standard 12 - Regulation 12 - Payments
Domestic
Number of payments due under Reg 12 |  | 45
Value of payments made under Regulation 12 to domestic customers |  | 900
Non Domestic
Number of payments due under Reg 12 |  | 2
Value of payments made under Regulation 12 to non-domestic customers |  | 40
Value of payments made under Reg 12 |  | 940
Voluntary Scheme
Total value of payments made under the Guaranteed Standards |  | 97828.7 | 19683.69

## Licence Condition D10
Regulatory Reporting Pack
Wales & West Utilities PLC
2016/17
8.4 Licence Condition D10
Standard Special Condition D10(2)(a) Provision of standard connection quotations =<275 kWh per hour
Annual
Number of requests for standard quotation =<275kWh per hour (Standard Special Condition D10 (1)(a)) | 8362
Number of standard quotations provided within timescale (Standard Special Condition D10 (2)(a)) | 8326
Percentage of standard quotations provided within timescale (Standard Special Condition D10 (2)(a)) | 99.57%
Number of standard quotations not provided within timescale (Standard Special Condition D10 (2)(a) | 36
Percentage of standard quotations not provided within timescale (Standard Special Condition D10 (2)(a)) | 0.4305%
Standard Special Condition D10(2)(b)(i) Provision of non-standard connection quotations =<275kWh per hour
Annual
Number of requests for non-standard quotation =<275kWh per hour (Standard Special Condition D10 (1)(a)) | 7340
Number of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 7219
Percentage of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 98.35%
Number of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 121
Percentage of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(i)) | 1.649%
Standard Special Condition D10(2)(b)(ii) Provision of non-standard connections quotations >275kWh per hour
Annual
Number of requests for non-standard quotation >275kWh per hour (Standard Special Condition D10 (1)(a)) | 590
Number of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 585
Percentage of non-standard quotations provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 99.15%
Number of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 5
Percentage of non-standard quotations not provided within timescale (Standard Special Condition D10 (2)(b)(ii)) | 0.8475%
Standard Special Condition D10(3) Accuracy of quotations
Annual
Number of quotations challenged under accuracy scheme (Standard Special Condition D10 (3) | 0
Number of quotations found not to be accurate (Standard Special Condition D10 (3)) | 0
Number of refunds issued following accuracy scheme challenge (Standard Special Condition D10 (3)) | 0
Total value of refunds issued following accuracy scheme challenge (Standard Special Condition D10 (3)) | 0
Standard Special Condition D10(2)(d) Response to land enquiries
Annual
Number of land enquiry requests received (Standard Special Condition D10 (1)(c)) | 717
Number of land enquiry requests responded to within timescale (Standard Special Condition D10 (2)(d)) | 710
Percentage of land enquiry requests responded to within timescale (Standard Special Condition D10 (2)(d)) | 99.02%
Number of land enquiry requests not responded to within timescale (Standard Special Condition D10 (2)(d)) | 7
Percentage of land enquiry requests not responded to within timescale (Standard Special Condition D10 (2)(d)) | 0.9763%
Standard Special Condition D10(2)(e) Provision of a date for commencement and substantial completion
Annual
Number of quotations accepted | 9687
Number where both dates offered within timescale (Standard Special Condition D10 (2)(e)) | 9676
Percentage where both dates provided within timescale (Standard Special Condition D10 (2)(e)) | 99.89%
Number where at least one date not offered within timescale (Standard Special Condition D10 (2)(e)) | 11
Percentage where at least one date not offered within timescale (Standard Special Condition D10 (2)(e)) | 0.1136%
Standard Special Condition D10(2)(c) Substantial completion of works within timescales agreed with the customer.
Annual
Total number of projects completed | 9411
Number substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 9025
Percentage substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 95.9%
Number not substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 386
Percentage not substantially completed within timescale agreed with customer (Standard Special Condition D10 (2)(c)) | 4.102%
Standard Special Condition D10(2)(f) Responding to telephone calls
Annual
Total calls received on specified numbers | 2014847
Total calls answered within timescale | 1874576
Percentage of telephone calls answered within timescale | 93.04%