## Summary
Risers | Ofgem DD:
Asset health data for 91 high rise buildings (HRBs) (10+ floors) has not been provided for all materials so the volumes for HRBs has been reduced. Data is missing for 74 medium rise building (MRB) (6-9 floors) steel risers. These volumes have been reduced in our Draft Determinations. Complete asset health data would be required for highlighted volumes for full justification.
WWU Response: August 2025 Risers Intervention List (medium rise 6-9 floors and high rise 10 floors and higher)
The sites listed have been surveyed during RIIO-GD2 and have been identified for future intervention. It is important to note that this is a list at a point in time when we are still completing a survey programme of our MOB sites. As such our intervention programme is designed to be dynamic, with a measured risk-based approach, which means that should a higher risk asset be identified (following a survey or a gas leak) an updated risk priority list is created, ensuring that we address the most at risk assets in the population with our intervention plan. Therefore, within the Details tab, details of a refreshed list of risers that have been identified for intervention on high rise and medium rise MOBs is provided. This is our most up to date view of workload. Some risers presented in previous lists may now be lower risk relatively and conversely, there are some new assets identified for intervention. Hence the volumes have changed slightly. In summary: 108 risers on high rise buildings are identified for future intervention (91 proposed for intervention in RIIO-GD3). 160 risers on medium rise buildings are identified for future intervention (74 proposed for intervention in RIIO-GD3).

## Details
Building Ref | Address | Address 2 | Town | PostCode | No of Storeys | Category | Driver | Score | Riser Material | Driver | Asset Health Score GD3 Start Risk | Asset Health Score GD3 End Risk Without Intervention | Asset Health Score GD3 Risk With Intervention | Asset Health Score Difference
7 | Holland House | South Road 53 | Weston-Super-Mare | BS23 2LU | 6 | 6-9 | Medium Risk | 5.2 | Steel | Associated Riser Replaced due to Condition | 857.6278 | 1022.9766 | 125.3107 | 897.6659
7 | Holland House | South Road 53 | Weston-Super-Mare | BS23 2LU | 6 | 6-9 | Medium Risk | 5.2 | Steel | Condition | 857.6278 | 1022.9766 | 125.3107 | 897.6659
27 | Harley Court | Harley Place | Bristol | BS8 3JU | 9 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1130.794 | 1337.0782 | 0 | 1337.0782
27 | Harley Court | Harley Place | Bristol | BS8 3JU | 9 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1130.794 | 1337.0782 | 0 | 1337.0782
28 | Seawalls 1-25 | Seawalls Road | Bristol | BS9 1PG | 7 | 6-9 | Medium Risk | 4.8 | Steel | Condition | 1772.4081 | 2095.297 | 289.0598 | 1806.2372
28 | Seawalls 1-25 | Seawalls Road | Bristol | BS9 1PG | 7 | 6-9 | Medium Risk | 4.8 | Steel | Condition | 1772.4081 | 2095.297 | 289.0598 | 1806.2372
28 | Seawalls 1-25 | Seawalls Road | Bristol | BS9 1PG | 7 | 6-9 | Medium Risk | 4.8 | Steel | Condition | 1772.4081 | 2095.297 | 289.0598 | 1806.2372
28 | Seawalls 1-25 | Seawalls Road | Bristol | BS9 1PG | 7 | 6-9 | Medium Risk | 4.8 | Steel | Condition | 1772.4081 | 2095.297 | 289.0598 | 1806.2372
32 | Withyholt Court 1-24 | Charlton Kings | Cheltenham | GL53 9BG | 6 | 6-9 | Medium Risk | 3.4 | Steel | No Supports or Ventilation | 2809.1137 | 3427.0866 | 288.7934 | 3138.2932
32 | Withyholt Court 1-24 | Charlton Kings | Cheltenham | GL53 9BG | 6 | 6-9 | Medium Risk | 3.4 | Steel | No Supports or Ventilation | 2809.1137 | 3427.0866 | 288.7934 | 3138.2932
32 | Withyholt Court 1-24 | Charlton Kings | Cheltenham | GL53 9BG | 6 | 6-9 | Medium Risk | 3.4 | Steel | No Supports or Ventilation | 2809.1137 | 3427.0866 | 288.7934 | 3138.2932
32 | Withyholt Court 1-24 | Charlton Kings | Cheltenham | GL53 9BG | 6 | 6-9 | Medium Risk | 3.4 | Steel | No Supports or Ventilation | 2809.1137 | 3427.0866 | 288.7934 | 3138.2932
34 | Withyholt Court 25-48 | Charlton Kings | Cheltenham | GL53 9BQ | 6 | 6-9 | High Risk | 6 | Copper | Copper Riser | 1173.4628 | 1349.0226 | 1349.0226 | 0
34 | Withyholt Court 25-48 | Charlton Kings | Cheltenham | GL53 9BQ | 6 | 6-9 | High Risk | 6 | Steel | Condition | 1173.4628 | 1349.0226 | 1349.0226 | 0
34 | Withyholt Court 25-48 | Charlton Kings | Cheltenham | GL53 9BQ | 6 | 6-9 | High Risk | 6 | Copper | Copper Riser | 1173.4628 | 1349.0226 | 1349.0226 | 0
34 | Withyholt Court 25-48 | Charlton Kings | Cheltenham | GL53 9BQ | 6 | 6-9 | High Risk | 6 | Copper | Copper Riser | 1173.4628 | 1349.0226 | 1349.0226 | 0
40 | Berkeley House | Snow Hill | Bath | BA1 6DG | 12 | 10+ | PE Riser | 4.2 | PE | PE Riser | 1194.8753 | 1202.4168 | 1202.4168 | 0
40 | Berkeley House | Snow Hill | Bath | BA1 6DG | 12 | 10+ | PE Riser | 4.2 | PE | PE Riser | 1194.8753 | 1202.4168 | 1202.4168 | 0
40 | Berkeley House | Snow Hill | Bath | BA1 6DG | 12 | 10+ | PE Riser | 4.2 | PE | PE Riser | 1194.8753 | 1202.4168 | 1202.4168 | 0
40 | Berkeley House | Snow Hill | Bath | BA1 6DG | 12 | 10+ | PE Riser | 4.2 | PE | PE Riser | 1194.8753 | 1202.4168 | 1202.4168 | 0
41 | Wool Exchange | Brecon Road | Builth Wells | LD2 3ED | 6 | 6-9 | Medium Risk | 4.4 | PE | PE Riser | 270.2995 | 271.6756 | 271.6756 | 0
41 | Wool Exchange | Brecon Road | Builth Wells | LD2 3ED | 6 | 6-9 | Medium Risk | 4.4 | PE | PE Riser | 270.2995 | 271.6756 | 271.6756 | 0
45 | Plas Tudur | Bro Tudur | Llangefni | LL77 7LH | 7 | 6-9 | Medium Risk | 5 | Steel | Condition | 2382.7649 | 2877.5154 | 0 | 2877.5154
45 | Plas Tudur | Bro Tudur | Llangefni | LL77 7LH | 7 | 6-9 | Medium Risk | 5 | Steel | Condition | 2382.7649 | 2877.5154 | 0 | 2877.5154
45 | Plas Tudur | Bro Tudur | Llangefni | LL77 7LH | 7 | 6-9 | Medium Risk | 5 | Steel | Condition | 2382.7649 | 2877.5154 | 0 | 2877.5154
45 | Plas Tudur | Bro Tudur | Llangefni | LL77 7LH | 7 | 6-9 | Medium Risk | 5 | Steel | Condition | 2382.7649 | 2877.5154 | 0 | 2877.5154
57 | Chapter One (19) | Albert Road | Plymouth | PL2 1AN | 6 | 6-9 | Medium Risk | 3.4 | Steel | Condition | 418.913 | 491.4599 | 74.4398 | 417.0202
91 | Douglas House | Bitton Park Road | Teignmouth | TQ14 9HU | 8 | 6-9 | High Risk | 6.2 | Steel | Condition | 5070.6378 | 6284.0836 | 0 | 6284.0836
91 | Douglas House | Bitton Park Road | Teignmouth | TQ14 9HU | 8 | 6-9 | High Risk | 6.2 | Steel | Condition | 5070.6378 | 6284.0836 | 0 | 6284.0836
108 | St Tydfils Court | Caedraw Road | Merthyr Tydfil | CF47 8HP | 12 | 10+ | Medium Risk | 5.4 | Steel | Condition | 6442.1968 | 8027.1849 | 390.2353 | 7636.9496
108 | St Tydfils Court | Caedraw Road | Merthyr Tydfil | CF47 8HP | 12 | 10+ | Medium Risk | 5.4 | Steel | Condition | 6442.1968 | 8027.1849 | 390.2353 | 7636.9496
108 | St Tydfils Court | Caedraw Road | Merthyr Tydfil | CF47 8HP | 12 | 10+ | Medium Risk | 5.4 | Steel | Condition | 6442.1968 | 8027.1849 | 390.2353 | 7636.9496
108 | St Tydfils Court | Caedraw Road | Merthyr Tydfil | CF47 8HP | 12 | 10+ | Medium Risk | 5.4 | Steel | Condition | 6442.1968 | 8027.1849 | 390.2353 | 7636.9496
111 | Awbery House | Buttrills Walk | Barry | CF62 8DG | 6 | 6-9 | Medium Risk | 5.2 | Steel | Interim Repair | 793.4701 | 937.3638 | 130.4727 | 806.8911
111 | Awbery House | Buttrills Walk | Barry | CF62 8DG | 6 | 6-9 | Medium Risk | 5.2 | Steel | Interim Repair | 793.4701 | 937.3638 | 130.4727 | 806.8911
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
115 | The Crescent | Mill Lane, Llandaff | Cardiff | CF5 2DL | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 2334.3712 | 2348.9276 | 2348.9276 | 0
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Associated Riser Replaced due to Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | Steel | Condition | 5448.773 | 6675.1698 | 607.285 | 6067.8848
130 | Etonhurst | Beach Road | Weston-Super-Mare | BS23 1BU | 6 | 6-9 | Medium Risk | 5.6 | PE | PE Riser | 5448.773 | 6675.1698 | 607.285 | 6067.8848
133 | Maelfa House | Roundwood Gardens | Cardiff | CF23 9PL | 11 | 10+ | Medium Risk | 4.6 | Steel | Associated Riser Replaced due to Condition | 4187.3934 | 5018.8807 | 1894.3146 | 3124.5662
133 | Maelfa House | Roundwood Gardens | Cardiff | CF23 9PL | 11 | 10+ | Medium Risk | 4.6 | Steel | Associated Riser Replaced due to Condition | 4187.3934 | 5018.8807 | 1894.3146 | 3124.5662
133 | Maelfa House | Roundwood Gardens | Cardiff | CF23 9PL | 11 | 10+ | Medium Risk | 4.6 | Steel | Associated Riser Replaced due to Condition | 4187.3934 | 5018.8807 | 1894.3146 | 3124.5662
133 | Maelfa House | Roundwood Gardens | Cardiff | CF23 9PL | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 4187.3934 | 5018.8807 | 1894.3146 | 3124.5662
133 | Maelfa House | Roundwood Gardens | Cardiff | CF23 9PL | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 4187.3934 | 5018.8807 | 1894.3146 | 3124.5662
135 | Woodlands Court | Cheriton Close | Plymouth | PL5 3QT | 12 | 10+ | Medium Risk | 4.2 | Steel | Condition | 585.8102 | 665.5961 | 0 | 665.5961
136 | Meade House | Wedgewood Road | Bath | BA2 1QN | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 729.951 | 734.4017 | 734.4017 | 0
136 | Meade House | Wedgewood Road | Bath | BA2 1QN | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 729.951 | 734.4017 | 734.4017 | 0
136 | Meade House | Wedgewood Road | Bath | BA2 1QN | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 729.951 | 734.4017 | 734.4017 | 0
136 | Meade House | Wedgewood Road | Bath | BA2 1QN | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 729.951 | 734.4017 | 734.4017 | 0
136 | Meade House | Wedgewood Road | Bath | BA2 1QN | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 729.951 | 734.4017 | 734.4017 | 0
152 | Tavy House | Duke Street, Devonport | Plymouth | PL1 4HL | 17 | 10+ | Medium Risk | 4.4 | Steel | Condition | 2737.4648 | 3396.0273 | 3396.0273 | 0
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
153 | West Lee Flats | Cowbridge Road | Cardiff | CF11 9DR | 8 | 6-9 | Medium Risk | 4.8 | Steel | Boxed in Risers | 26755.5703 | 33185.2368 | 1865.3147 | 31319.922
172 | Tamar House | James Street, Devonport | Plymouth | PL1 4HJ | 17 | 10+ | Medium Risk | 4.4 | Steel | Condition | 2744.5268 | 3405.0647 | 3405.0647 | 0
187 | Lynher House | Curtis Street | Plymouth | PL1 4HH | 17 | 10+ | Medium Risk | 4.4 | Steel | Condition | 5000.5635 | 6169.9112 | 3734.4233 | 2435.4879
191 | Alma Court 1-30 | Alma Vale Road | Bristol | BS8 2HQ | 6 | 6-9 | Medium Risk | 5.4 | Steel | Condition | 1463.0311 | 1756.7553 | 194.9406 | 1561.8147
191 | Alma Court 1-30 | Alma Vale Road | Bristol | BS8 2HQ | 6 | 6-9 | Medium Risk | 5.4 | Steel | Condition | 1463.0311 | 1756.7553 | 194.9406 | 1561.8147
191 | Alma Court 1-30 | Alma Vale Road | Bristol | BS8 2HQ | 6 | 6-9 | Medium Risk | 5.4 | Steel | Condition | 1463.0311 | 1756.7553 | 194.9406 | 1561.8147
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
193 | Loudoun House & Nelson House | Loudoun Square | Cardiff | CF10 5JF | 16 | 10+ | Medium Risk | 5.4 | Steel | Condition | 44458.6099 | 55655.6306 | 0 | 55655.6306
211 | Lydstep Flats 1-42 | Lydstep Crescent | Cardiff | CF14 2QU | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 2867.8907 | 3396.7933 | 2661.5803 | 735.213
211 | Lydstep Flats 1-42 | Lydstep Crescent | Cardiff | CF14 2QU | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 2867.8907 | 3396.7933 | 2661.5803 | 735.213
211 | Lydstep Flats 1-42 | Lydstep Crescent | Cardiff | CF14 2QU | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 2867.8907 | 3396.7933 | 2661.5803 | 735.213
211 | Lydstep Flats 1-42 | Lydstep Crescent | Cardiff | CF14 2QU | 11 | 10+ | Medium Risk | 4.6 | Steel | Condition | 2867.8907 | 3396.7933 | 2661.5803 | 735.213
212 | Lydstep Flats 43-84 | Lydstep Crescent | Cardiff | CF14 2QW | 11 | 10+ | Medium Risk | 4.8 | Steel | Condition | 7567.8975 | 9424.5623 | 466.9892 | 8957.5731
212 | Lydstep Flats 43-84 | Lydstep Crescent | Cardiff | CF14 2QW | 11 | 10+ | Medium Risk | 4.8 | Steel | Condition | 7567.8975 | 9424.5623 | 466.9892 | 8957.5731
212 | Lydstep Flats 43-84 | Lydstep Crescent | Cardiff | CF14 2QW | 11 | 10+ | Medium Risk | 4.8 | Steel | Condition | 7567.8975 | 9424.5623 | 466.9892 | 8957.5731
212 | Lydstep Flats 43-84 | Lydstep Crescent | Cardiff | CF14 2QW | 11 | 10+ | Medium Risk | 4.8 | Steel | Condition | 7567.8975 | 9424.5623 | 466.9892 | 8957.5731
213 | Lydstep Flats 85-126 | Lydstep Crescent | Cardiff | CF14 2QX | 11 | 10+ | Medium Risk | 4 | Steel | Condition | 5227.3721 | 6427.1309 | 455.9413 | 5971.1895
213 | Lydstep Flats 85-126 | Lydstep Crescent | Cardiff | CF14 2QX | 11 | 10+ | Medium Risk | 4 | Steel | Condition | 5227.3721 | 6427.1309 | 455.9413 | 5971.1895
213 | Lydstep Flats 85-126 | Lydstep Crescent | Cardiff | CF14 2QX | 11 | 10+ | Medium Risk | 4 | Steel | Condition | 5227.3721 | 6427.1309 | 455.9413 | 5971.1895
213 | Lydstep Flats 85-126 | Lydstep Crescent | Cardiff | CF14 2QX | 11 | 10+ | Medium Risk | 4 | Steel | Condition | 5227.3721 | 6427.1309 | 455.9413 | 5971.1895
215 | Sycamore House | Hollybush Estate, Whitchurch | Cardiff | CF14 7DY | 11 | 10+ | Medium Risk | 5 | Steel | Condition | 7041.8596 | 8743.0239 | 477.4117 | 8265.6122
215 | Sycamore House | Hollybush Estate, Whitchurch | Cardiff | CF14 7DY | 11 | 10+ | Medium Risk | 5 | Steel | Condition | 7041.8596 | 8743.0239 | 477.4117 | 8265.6122
215 | Sycamore House | Hollybush Estate, Whitchurch | Cardiff | CF14 7DY | 11 | 10+ | Medium Risk | 5 | Steel | Condition | 7041.8596 | 8743.0239 | 477.4117 | 8265.6122
215 | Sycamore House | Hollybush Estate, Whitchurch | Cardiff | CF14 7DY | 11 | 10+ | Medium Risk | 5 | Steel | Condition | 7041.8596 | 8743.0239 | 477.4117 | 8265.6122
237 | Seabank Flats 1-75 | The Esplanade | Penarth | CF64 3AR | 9 | 6-9 | Medium Risk | 5.2 | Steel | Condition | 2534.3159 | 3109.8305 | 231.3642 | 2878.4663
242 | Fairview Court | George Street | Pontypool | NP4 8NY | 12 | 10+ | Medium Risk | 3.6 | PE | PE Riser | 2236.5543 | 2454.235 | 2454.235 | 0
242 | Fairview Court | George Street | Pontypool | NP4 8NY | 12 | 10+ | Medium Risk | 3.6 | PE | PE Riser | 2236.5543 | 2454.235 | 2454.235 | 0
242 | Fairview Court | George Street | Pontypool | NP4 8NY | 12 | 10+ | Medium Risk | 3.6 | PE | PE Riser | 2236.5543 | 2454.235 | 2454.235 | 0
242 | Fairview Court | George Street | Pontypool | NP4 8NY | 12 | 10+ | Medium Risk | 3.6 | PE | PE Riser | 2236.5543 | 2454.235 | 2454.235 | 0
244 | Griffiths John Flats Block 1 | Griffith John Street | Swansea | SA1 2BW | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8373.2711 | 10387.5153 | 582.5218 | 9804.9934
244 | Griffiths John Flats Block 1 | Griffith John Street | Swansea | SA1 2BW | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8373.2711 | 10387.5153 | 582.5218 | 9804.9934
244 | Griffiths John Flats Block 1 | Griffith John Street | Swansea | SA1 2BW | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8373.2711 | 10387.5153 | 582.5218 | 9804.9934
244 | Griffiths John Flats Block 1 | Griffith John Street | Swansea | SA1 2BW | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8373.2711 | 10387.5153 | 582.5218 | 9804.9934
244 | Griffiths John Flats Block 1 | Griffith John Street | Swansea | SA1 2BW | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8373.2711 | 10387.5153 | 582.5218 | 9804.9934
245 | Griffiths John Flats Block 2 | Griffith John Street | Swansea | SA1 2BT | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8600.638 | 10651.8267 | 0 | 10651.8267
245 | Griffiths John Flats Block 2 | Griffith John Street | Swansea | SA1 2BT | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8600.638 | 10651.8267 | 0 | 10651.8267
245 | Griffiths John Flats Block 2 | Griffith John Street | Swansea | SA1 2BT | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8600.638 | 10651.8267 | 0 | 10651.8267
245 | Griffiths John Flats Block 2 | Griffith John Street | Swansea | SA1 2BT | 11 | 10+ | Medium Risk | 5.4 | Steel | Condition | 8600.638 | 10651.8267 | 0 | 10651.8267
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
246 | Matthew Street Flats 1-60 | Matthew Street | Swansea | SA1 1PY | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
247 | Matthew Street Flats 61-120 | Matthew Street | Swansea | SA1 1PU | 11 | 10+ | Medium Risk | 5.6 | Steel | Condition | 8716.8595 | 10765.2116 | 684.139 | 10081.0726
248 | Croft Street Flats 12-63 | Croft Street | Swansea | SA1 1QF | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7404.7684 | 9146.8891 | 0 | 9146.8891
248 | Croft Street Flats 12-63 | Croft Street | Swansea | SA1 1QF | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7404.7684 | 9146.8891 | 0 | 9146.8891
248 | Croft Street Flats 12-63 | Croft Street | Swansea | SA1 1QF | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7404.7684 | 9146.8891 | 0 | 9146.8891
248 | Croft Street Flats 12-63 | Croft Street | Swansea | SA1 1QF | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7404.7684 | 9146.8891 | 0 | 9146.8891
249 | Croft Street Flats 64-115 | Croft Street | Swansea | SA1 1QB | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7459.6059 | 9217.067 | 0 | 9217.067
249 | Croft Street Flats 64-115 | Croft Street | Swansea | SA1 1QB | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7459.6059 | 9217.067 | 0 | 9217.067
249 | Croft Street Flats 64-115 | Croft Street | Swansea | SA1 1QB | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7459.6059 | 9217.067 | 0 | 9217.067
249 | Croft Street Flats 64-115 | Croft Street | Swansea | SA1 1QB | 14 | 10+ | Medium Risk | 5.2 | Steel | Condition | 7459.6059 | 9217.067 | 0 | 9217.067
265 | Harbourside Court | Hawkers Avenue | Plymouth | PL4 0QT | 6 | 6-9 | Medium Risk | 3.6 | Steel | Laterals Boxed in | 1570.1374 | 1925.1463 | 145.8578 | 1779.2885
265 | Harbourside Court | Hawkers Avenue | Plymouth | PL4 0QT | 6 | 6-9 | Medium Risk | 3.6 | Steel | Laterals Boxed in | 1570.1374 | 1925.1463 | 145.8578 | 1779.2885
273 | Jeffreys Court | Penlan | Swansea | SA5 7EP | 8 | 6-9 | Medium Risk | 5 | Steel | Condition | 3066.1497 | 3778.9222 | 0 | 3778.9222
273 | Jeffreys Court | Penlan | Swansea | SA5 7EP | 8 | 6-9 | Medium Risk | 5 | Steel | Condition | 3066.1497 | 3778.9222 | 0 | 3778.9222
273 | Jeffreys Court | Penlan | Swansea | SA5 7EP | 8 | 6-9 | Medium Risk | 5 | Steel | Condition | 3066.1497 | 3778.9222 | 0 | 3778.9222
295 | 4 | Elliot Terrace | Plymouth | PL1 2PL | 6 | 6-9 | Medium Risk | 4.6 | Steel | Condition | 509.3906 | 616.8544 | 59.6667 | 557.1877
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
297 | Middleford House | Silcox Road | Bristol | BS13 0JH | 12 | 10+ | Medium Risk | 3.6 | Steel | Low Gas Usage | 7716.9533 | 9457.3085 | 0 | 9457.3085
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
298 | Millmead House | Silcox Road, Hartcliffe | Bristol | BS13 0JL | 11 | 10+ | Medium Risk | 5.2 | Steel | Condition | 4240.76 | 5021.1557 | 2067.7777 | 2953.378
301 | Norton House | Ship Lane | Bristol | BS1 6RW | 11 | 10+ | PE Riser | 4.4 | PE | PE Riser | 308.99 | 310.9569 | 310.9569 | 0
301 | Norton House | Ship Lane | Bristol | BS1 6RW | 11 | 10+ | PE Riser | 4.4 | PE | PE Riser | 308.99 | 310.9569 | 310.9569 | 0
303 | Patterson House | Prewett Street | Bristol | BS1 6PF | 10 | 10+ | Medium Risk | 4.2 | Steel | Condition | 6914.3555 | 8547.8851 | 527.5557 | 8020.3294
303 | Patterson House | Prewett Street | Bristol | BS1 6PF | 10 | 10+ | Medium Risk | 4.2 | Steel | Condition | 6914.3555 | 8547.8851 | 527.5557 | 8020.3294
303 | Patterson House | Prewett Street | Bristol | BS1 6PF | 10 | 10+ | Medium Risk | 4.2 | Steel | Condition | 6914.3555 | 8547.8851 | 527.5557 | 8020.3294
303 | Patterson House | Prewett Street | Bristol | BS1 6PF | 10 | 10+ | Medium Risk | 4.2 | Steel | Condition | 6914.3555 | 8547.8851 | 527.5557 | 8020.3294
303 | Patterson House | Prewett Street | Bristol | BS1 6PF | 10 | 10+ | Medium Risk | 4.2 | Steel | Condition | 6914.3555 | 8547.8851 | 527.5557 | 8020.3294
304 | Polden House | Windmill Hill | Bristol | BS3 4LF | 15 | 10+ | High Risk | 6 | Steel | Condition | 8605.9024 | 10660.5724 | 0 | 10660.5724
304 | Polden House | Windmill Hill | Bristol | BS3 4LF | 15 | 10+ | High Risk | 6 | Steel | Condition | 8605.9024 | 10660.5724 | 0 | 10660.5724
304 | Polden House | Windmill Hill | Bristol | BS3 4LF | 15 | 10+ | High Risk | 6 | Steel | Condition | 8605.9024 | 10660.5724 | 0 | 10660.5724
304 | Polden House | Windmill Hill | Bristol | BS3 4LF | 15 | 10+ | High Risk | 6 | Steel | Condition | 8605.9024 | 10660.5724 | 0 | 10660.5724
329 | Lansdowne Court | Easton Road | Bristol | BS5 0RX | 17 | 10+ | Medium Risk | 5.4 | Steel | Condition | 12818.813 | 15993.3916 | 0 | 15993.3916
329 | Lansdowne Court | Easton Road | Bristol | BS5 0RX | 17 | 10+ | Medium Risk | 5.4 | Steel | Condition | 12818.813 | 15993.3916 | 0 | 15993.3916
329 | Lansdowne Court | Easton Road | Bristol | BS5 0RX | 17 | 10+ | Medium Risk | 5.4 | Steel | Condition | 12818.813 | 15993.3916 | 0 | 15993.3916
329 | Lansdowne Court | Easton Road | Bristol | BS5 0RX | 17 | 10+ | Medium Risk | 5.4 | Steel | Condition | 12818.813 | 15993.3916 | 0 | 15993.3916
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | PE | PE Riser | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
402 | Queens Court | Queens Road | Bristol | BS8 1NE | 9 | 6-9 | High Risk | 6.4 | Steel | Condition | 26162.6066 | 32481.7684 | 2860.9349 | 29620.8336
434 | Ellesmere 1-26 | Lower Warberry Road | Torquay | TQ1 1TR | 8 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1978.755 | 2435.051 | 0 | 2435.051
434 | Ellesmere 1-26 | Lower Warberry Road | Torquay | TQ1 1TR | 8 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1978.755 | 2435.051 | 0 | 2435.051
435 | Ellesmere 27-52 | Lower Warberry Road | Torquay | TQ1 1TR | 8 | 6-9 | Medium Risk | 5.4 | Steel | Condition | 1978.755 | 2435.051 | 0 | 2435.051
435 | Ellesmere 27-52 | Lower Warberry Road | Torquay | TQ1 1TR | 8 | 6-9 | Medium Risk | 5.4 | Steel | Condition | 1978.755 | 2435.051 | 0 | 2435.051
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
442 | Brynfield Court | Langland Court Road, Langland | Swansea | SA3 4TF | 6 | 6-9 | Medium Risk | 3.6 | PE | PE Riser | 860.2675 | 865.1527 | 865.1527 | 0
443 | Callencroft Court | Newton Road, Newton | Swansea | SA3 4TG | 6 | 6-9 | High Risk | 6 | Steel | Boxed in Risers | 3116.163 | 3843.3962 | 252.7203 | 3590.676
443 | Callencroft Court | Newton Road, Newton | Swansea | SA3 4TG | 6 | 6-9 | High Risk | 6 | Steel | Boxed in Risers | 3116.163 | 3843.3962 | 252.7203 | 3590.676
443 | Callencroft Court | Newton Road, Newton | Swansea | SA3 4TG | 6 | 6-9 | High Risk | 6 | Steel | Boxed in Risers | 3116.163 | 3843.3962 | 252.7203 | 3590.676
443 | Callencroft Court | Newton Road, Newton | Swansea | SA3 4TG | 6 | 6-9 | High Risk | 6 | Steel | Boxed in Risers | 3116.163 | 3843.3962 | 252.7203 | 3590.676
444 | Highcliffe Court | Langland | Swansea | SA3 4TQ | 7 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1346.4149 | 1638.8507 | 0 | 1638.8507
444 | Highcliffe Court | Langland | Swansea | SA3 4TQ | 7 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1346.4149 | 1638.8507 | 0 | 1638.8507
453 | Caerau Court 68-107 | Caerau Court Road | Cardiff | CF5 5JF | 8 | 6-9 | Medium Risk | 4 | PE | PE Riser | 798.8805 | 803.9709 | 803.9709 | 0
453 | Caerau Court 68-107 | Caerau Court Road | Cardiff | CF5 5JF | 8 | 6-9 | Medium Risk | 4 | PE | PE Riser | 798.8805 | 803.9709 | 803.9709 | 0
453 | Caerau Court 68-107 | Caerau Court Road | Cardiff | CF5 5JF | 8 | 6-9 | Medium Risk | 4 | PE | PE Riser | 798.8805 | 803.9709 | 803.9709 | 0
453 | Caerau Court 68-107 | Caerau Court Road | Cardiff | CF5 5JF | 8 | 6-9 | Medium Risk | 4 | PE | PE Riser | 798.8805 | 803.9709 | 803.9709 | 0
477 | Lytton House | St Luke's Road South | Torquay | TQ2 5PA | 8 | 6-9 | Medium Risk | 3.6 | Steel | Degraded Riser Supports | 3572.8394 | 4380.8159 | 0 | 4380.8159
477 | Lytton House | St Luke's Road South | Torquay | TQ2 5PA | 8 | 6-9 | Medium Risk | 3.6 | Steel | Degraded Riser Supports | 3572.8394 | 4380.8159 | 0 | 4380.8159
477 | Lytton House | St Luke's Road South | Torquay | TQ2 5PA | 8 | 6-9 | Medium Risk | 3.6 | Steel | Degraded Riser Supports | 3572.8394 | 4380.8159 | 0 | 4380.8159
477 | Lytton House | St Luke's Road South | Torquay | TQ2 5PA | 8 | 6-9 | Medium Risk | 3.6 | Steel | Degraded Riser Supports | 3572.8394 | 4380.8159 | 0 | 4380.8159
495 | 2 | Elliot Terrace | Plymouth | PL1 2PL | 6 | 6-9 | Medium Risk | 4.6 | Steel | Condition | 2049.2203 | 2459.3571 | 1931.6406 | 527.7165
497 | 1 | Elliot Terrace | Plymouth | PL1 2QL | 6 | 6-9 | Medium Risk | 4.6 | Steel | Condition | 538.6053 | 652.4837 | 62.6812 | 589.8025
498 | Llewellyn Court 1-12 | Llewellyn Street | Pentre | CF41 7BF | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 887.6573 | 1060.0528 | 208.6971 | 851.3557
498 | Llewellyn Court 1-12 | Llewellyn Street | Pentre | CF41 7BF | 6 | 6-9 | Medium Risk | 3.4 | PE | PE Riser | 887.6573 | 1060.0528 | 208.6971 | 851.3557
510 | Holme Court | Lower Warberry Road | Torquay | TQ1 1QR | 8 | 6-9 | Medium Risk | 4.2 | Steel | Associated Riser Replaced due to Condition | 921.0306 | 1075.3879 | 0 | 1075.3879
510 | Holme Court | Lower Warberry Road | Torquay | TQ1 1QR | 8 | 6-9 | Medium Risk | 4.2 | Steel | Condition | 921.0306 | 1075.3879 | 0 | 1075.3879
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | PE | PE Riser | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
511 | Torwood Court | Old Torwood Road | Torquay | TQ1 1PT | 6 | 6-9 | Medium Risk | 5.2 | Steel | Condition | 1258.2245 | 1387.8111 | 738.7443 | 649.0668
516 | Asheldon House | Asheldon Road | Torquay | TQ1 2QR | 7 | 6-9 | Medium Risk | 5.2 | Steel | Condition | 653.313 | 782.8705 | 0 | 782.8705
519 | Naish House | Shawsway | Bath | BA2 1SF | 6 | 6-9 | High Risk | 6 | Steel | Condition | 2376.0954 | 2922.1869 | 203.6503 | 2718.5366
519 | Naish House | Shawsway | Bath | BA2 1SF | 6 | 6-9 | High Risk | 6 | Steel | Condition | 2376.0954 | 2922.1869 | 203.6503 | 2718.5366
519 | Naish House | Shawsway | Bath | BA2 1SF | 6 | 6-9 | High Risk | 6 | Steel | Condition | 2376.0954 | 2922.1869 | 203.6503 | 2718.5366
528 | 17-31 | Phoenix Street | Plymouth | PL1 3DN | 7 | 6-9 | Medium Risk | 5.2 | Steel | Condition | 8748.0886 | 10922.8273 | 0 | 10922.8273
530 | Ocean Crescent | The Crescent | Plymouth | PL1 3FG | 10 | 10+ | Medium Risk | 3.2 | Steel | Laterals Boxed in | 1829.0892 | 2199.8831 | 237.28 | 1962.6031
530 | Ocean Crescent | The Crescent | Plymouth | PL1 3FG | 10 | 10+ | Medium Risk | 3.2 | Steel | Laterals Boxed in | 1829.0892 | 2199.8831 | 237.28 | 1962.6031
535 | Pirian Place | Trinity Street | St Austell | PL25 5BQ | 8 | 6-9 | Medium Risk | 5.6 | Steel | Boxed in Risers | 1855.2881 | 2272.5876 | 0 | 2272.5876
535 | Pirian Place | Trinity Street | St Austell | PL25 5BQ | 8 | 6-9 | Medium Risk | 5.6 | Steel | Boxed in Risers | 1855.2881 | 2272.5876 | 0 | 2272.5876
536 | Trelawney House | Trinity Street | St Austell | PL25 5FD | 8 | 6-9 | Medium Risk | 5.6 | Steel | Boxed in Risers | 1957.8805 | 2399.7595 | 0 | 2399.7595
536 | Trelawney House | Trinity Street | St Austell | PL25 5FD | 8 | 6-9 | Medium Risk | 5.6 | Steel | Boxed in Risers | 1957.8805 | 2399.7595 | 0 | 2399.7595
538 | Shirley Towers Block C | Vane Hill Road | Torquay | TQ1 2BY | 9 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1018.925 | 1246.1921 | 0 | 1246.1921
540 | Shirley Towers Block A | Vane Hill Road | Torquay | TQ1 2BU | 7 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1018.925 | 1246.1921 | 0 | 1246.1921
542 | Fin Street Block 1 | Fin Street | Plymouth | PL1 3FF | 6 | 6-9 | Medium Risk | 5.8 | Steel | Condition | 1884.3328 | 2319.6442 | 0 | 2319.6442
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
543 | 30-81 | Rosewell Court | Bath | BA1 2AQ | 9 | 6-9 | High Risk | 6.2 | Steel | Condition | 15177.5929 | 18828.3196 | 0 | 18828.3196
545 | Belgrave Court | Cowbridge Road East | Cardiff | CF11 9BJ | 9 | 6-9 | High Risk | 6.6 | Steel | Condition | 632.5903 | 754.5254 | 754.5254 | 0