| # Briefing Note 1: Introduction to Third Party Connections |  |
| --- | --- |
| Version 1.0 January 2023 |  |

Table of Contents

1)	Introduction		3

2)	Utility Infrastructure Providers (UIPs) GIRS Registered		3

3)	Utility Infrastructure Providers (UIPs) Non-GIRS Registered		4

4)	Independent Gas Transporters (IGTs)		5

5)	Land Enquiries / Capacity Checks		6

6)	Final Connections Agreement		7

7)	Agency Agreement		7

8)	Further Information		8

Introduction

The Wales & West Utilities (WWU) Third Party Connections Team manage the processes that enable Independent Gas Transporters (IGTs) and Utility Infrastructure Providers (UIPs) to connect to WWU’s <7bar Gas Distribution Network.

The Team can also provide capacity checks for other Third Party Customers.

The purpose of this document is to outline the various types of projects handled by Third Party Connections and to help customers identify their next steps.

Utility Infrastructure Providers (UIPs) GIRS Registered

UIPs can submit requests for the installation of new gas mains and services onto WWU’s <7bar Gas Distribution Network which will be adopted by either WWU or an IGT upon completion. UIPs are accredited to undertake these works under the Gas Industry Registration Scheme (GIRS) but do not hold Gas Transportation Licences, and therefore cannot own, operate, or maintain live gas assets once they have been installed.

The criteria for a UIP submission are the following:

UIPs connecting UIP laid pipework (single premises <2,196,000kWh) to WWU’s <7bar system and vesting in WWU under Section 10 of the Gas Act 1984.

UIPs connecting UIP laid pipework (multiple premises and single premises >2,196,000kWh) to WWU’s <7bar system and WWU taking ownership.

Utility Infrastructure Providers (UIPs) Non-GIRS Registered

Where a Non-GIRS accredited UIP wishes to construct and commission assets and infrastructure that WWU are to adopt upon completion, a more rigorous design appraisal process, audit regime and an adoption charge will be applied.

In line with WWU’s Standard Condition 4B Statement, subject to the exemptions detailed below, WWU will adopt fit for purpose asset and infrastructure connected to the <7bar Network free of charge, assuming it is not to be intended to be adopted by the Independent Gas Transporter.

WWU will however levy a charge for the additional validation and on-site auditing that is required when requested to adopt <7bar assets and infrastructure installed by a non-GIRS accredited UIP.

Where a UIP is not accredited under GIRS, contact should be made with WWU to explain their intentions and discuss the adoption procedure before carrying out any work in respect of the design or construction of any <7bar assets that they wish WWU to adopt.

WWU will not adopt >7bar assets or infrastructure from any third party.

Where a UIP is not accredited under GIRS, contact should be made with Third Party Connections at gtuip@wwutilities.co.uk to discuss the relevant processes and requirements.

For further details please see T/PM/AV/1.

Independent Gas Transporters (IGTs)

IGTs can submit requests for the connection of Independent Gas Networks onto WWU’s <7bar Gas Distribution Network which will be owned and operated by a Third Party IGT. IGTs are issued Gas Transportation Licences which permits them to own, operate and maintain live gas assets.

The criteria for an IGT submission are the following:

IGTs connected IGT/UIP laid pipework WWU’s <bar system with WWU taking ownership of the connection fittings to the first point of isolation and the IGT retaining ownership of the Downstream Network. These are known as Connected System Exit Points (CSEPs).

The criteria for a CSEP connection to be owned and operated by another IGT are the following:

Mains and service extension for ≥2 meter points of any annual quantity (AQ).

Mains and service extension for a single meter point where the AQ =>2,196,000kWh or these is identified future loading to be attributed to Condition 16/Future Load(C16) requirements. Load B ‘C16’ then be accepted in this instance.

Single service connection (with ‘single service source pressure’ offered for the respective pressure tier) where =>2,196,000kWh.

The Gas Act 1986, Section 10(6) states that IGT requests are only valid for single premises when consuming >2,196,000kWh (75,000 therms) per annum, or for the mains infrastructure extensions comprising multiple domestic or commercial premises.

No Third Party is permitted to undertake work on WWU’s >7bar Transmission Network.

As per GIRS, UIPs can act on behalf of an IGT to facilitate submissions that the adopting IGT will own upon completion.

Land Enquiries / Capacity Checks

This process may be used any external customer, regardless of registration or status. However, due to the limited information we are able to provide in response to a Land Enquiry, WWU recommend that UIPs and IGTs use the relevant enquiry process.

Final Connections Agreement

WWU requires all third party UIPs and IGTs to follow set processes, enter into the appropriate Final Connections Agreement (FCA) contracts and follow the requirements outlined in applicable policy, regulation, and specification documents.

Third party UIPs and IGTs are also required to be accredited to an appropriate level for their work under relevant industry schemes.

Customers that wish to enter into an FCA with WWU should complete the Final Connections Agreement Request Template and send it to regulation@wwutilities.co.uk and gtuip@wwutilities.co.uk with a copy of their GIRS Certificate.

Agency Agreement

As per the Gas Industry Registration Scheme, UIPs can act on behalf of IGTs to facilitate submissions that the Adopting IGT will own upon completion.

IGTs must submit an Agency Agreement to WWU to enable a UIP to carry out work on their behalf.  IGT’s should complete the Agency Agreement Template and send it to regulation@wwutilities.co.uk and gtuip@wwutilities.co.uk

Further Information

Briefing Note 3 - Utility Infrastructure Provider (UIP) Process

Briefing Note 2 - Independent Gas Transporter (IGT) Process

Briefing Note 4 - Land Enquiry / Capacity Check Process