| # Briefing Note 2: Independent Gas Transporter (IGT) Process |  |
| --- | --- |
| Version 1.0 January 2023 |  |

Table of Contents

1)	Introduction		3

2)	Enquiries		4

2.1) Enquiry Minimum Information		4

2.2) Enquiry Response		5

4.	2.3) Next Steps		5

5.	2.4) Period of Validity		5

3)	Quotation		6

3.1) Quotation Request Minimum Information		6

3.2) Quotation Response		7

3.3) Next Steps		7

3.4) Period of Validity		7

4)	Fast Track Acceptance / Quotation Acceptance		8

4.1) Minimum Information Acceptance		8

4.2) Response		9

4.3) Next Steps		9

4.4) Period of Validity		9

5)	Design Submission		10

6)	Certification File		11

7)	Plan Date		11

8)	Completion File		11

9)	GL5		11

10)	Post-Completion		12

11)	Multiple Individual System Exit Points (ISEPs)		12

12)	Interconnected CSEPs/ISEPs		13

13)	Temporary Connections		13

14)	Emergency Service Provision		14

15)	Government Stop on Gas Grid Connections		14

16)	Further Information		15

17)	Appendices		16

Appendix A – CSEP Plan		16

Appendix B – Interconnected CSEP		16

Introduction

Wales & West Utilities (WWU) facilitate three application processes that can be utilised by Independent Gas Transporters (IGTs):

Enquiries

Quotations

Fast Tracks

Projects that have a Non-Typical Gas Demand cannot be fast tracked. See Briefing Note 5 – Non-Typical Gas Demands.

IGTs a required to hold a Gas Transportation Licence issued by OFGEM and have signed a Final Connections Agreement (FCA) with WWU.

WWU will accept IGT Enquiry and Quotation Requests from a UIP to act on behalf of an IGT, including where the IGT is not yet known. However, before the project can be accepted (via Quotation Acceptance or Fast Track Acceptance) the Adopting IGT must be named and have a valid Agency Agreement in place with the UIP. See Briefing Note 1 - Introduction to Third Party Connections for more information.

Please note: Where WWU are required to reinforce the network to support the requested load, there may be restrictions placed on when a CSEP can be connected and/or start to take the load. Therefore, applications should be made in a timely manner to enable reinforcement works to be carried out.

WWU recommend that an Initial Enquiry is submitted to establish the availability of the load as soon as the customer becomes aware of a new site. Should the load be unavailable WWU will work with the customer to manage the project and plan the reinforcement.

Please note: When working on a WWU Medium Pressure or Intermediate Pressure pipe the customer must send an email to plantprotectionenquiries@wwutilities.co.uk requesting a site visit, at least 10 working days before the work are scheduled to begin. Please see the 3rd Party Plant Protection Request Form for more information.

Enquiries

Third Parties can submit an FM172 IGT Enquiry Request (FM172) to request outline details on the availability of gas for a new Connected System Exit Point (CSEP) or an increase in the load of an existing CSEP.

An Enquiry Response will provide basic details to enable an IGT to progress to the next stage of their project.

Where the load falls within the allowed pressure tables within T/SP/NP/14/E (NP14) the IGT may proceed straight to a “Fast Track Acceptance”.

2.1) Enquiry Minimum Information

All IGT Enquiries require the customer to submit:

- An Application Form – FM172

- A Plan – Showing the relevant connection point and site boundary (Appendix A – CSEP Plan)

- If the site has a Non-Typical Gas Demand, then an Additional Load Information Form for Non-Typical Gas Demands is also required.

2.2) Enquiry Response

WWU will issue a response containing the following information:

- Confirm the available source pressure(s)

- Establish if reinforcement is required

- A WWU plan showing the connection point and surrounding apparatus

2.3) Next Steps

Following on from an Enquiry Response, the IGT has two options:

If no reinforcement is required, and the customer wishes to carry out the connection themselves, the enquiry can be accepted using an FM153a IGT Fast Track Acceptance (FM153a) (details must remain the same, e.g., no change to the load).

Please note – projects for CSEPs with a Non-Typical Gas Demand cannot be Fast Tracked.

If reinforcement is required, the customer wants WWU to make the connection and/or the project is for a CSEP with a Non-Typical Gas Demand, the enquiry cannot be Fast Tracked. An FM153 IGT Quotation Request (FM153) is required for a full quotation.

2.4) Period of Validity

Enquiry Responses are valid for 90 Working Days (D+90). If a Fast Track Acceptance is not received during this time, the Enquiry will be cancelled.

Quotation

On receipt of a Quotation Request, Third Party Connections will raise the project on their system and establish the availability of the load(s).

Should reinforcement be required, it will be designed and costed as per WWU’s Reinforcement Policy, for more information see Briefing Note 7 - Reinforcement Policy.

If the connection or reinforcement design process shows that the project meets the criteria to be classified as a Sufficiently Complex Job (SCJ), as per WWU’s SCJ Policy, the customer will be notified. For more information see Briefing Note 8 - Sufficiently Complex Job (SCJ) Policy.

3.1) Quotation Request Minimum Information

All IGT Quotation Requests require the customer to submit:

- An Application Form – FM153

- A Plan – Showing the relevant connection point and site boundary (see below for example)

If the site has a Non-Typical Gas Demand, then an Additional Load Information Form for Non-Typical Gas Demands is also required.

The IGT / Agent must also nominate the GIRS Registered Company that will be carrying out the connection. Should this change at any point, the IGT / Agent is required to notify WWU.

3.2) Quotation Response

WWU will issue a response containing the following information:

- Confirm the available source pressure(s)

- A WWU plan showing the connection point and surrounding apparatus

- Set out any engineering difficulties

- A quotation for the connection, where requested by the customer

- Where reinforcement is required: Provide a Quotation; Explain lead times of reinforcement; The load available before the reinforcement is completed.

- Where applicable, issue an SCJ IGT Letter

- Outline of any caveats relating to the project, e.g. Requirement for a GL5

3.3) Next Steps

Following on from a Quotation, the IGT may

If no SCJ is required, sign the quotation form to either the Year 10 or Condition16 / Future load and move to the design stage.

If an SCJ is required, sign the quotation form to accept the associated costs (charges for the design study will be levied in advance).

3.4) Period of Validity

Quotations are valid for 90 Working Days (D+90). If a signed Acceptance is not received during this time, the Quotation will be cancelled.

Fast Track Acceptance / Quotation Acceptance

An FM153a IGT Fast Track Acceptance may be submitted to accept an Enquiry Response or where the load falls under the threshold outlined in NP14.

A Security of Supply (SoS) check maybe carried out if indicated by NP14, and if reinforcement is required, WWU may not be able to approve the connection until this has been completed.

Please note: Reinforcement will not be planned for projects without planning permission.

4.1) Minimum Information Acceptance

All IGT Fast Tracks require the customer to submit:

- An Application Form – FM153a

- A Plan – Showing the relevant connection point and site boundary (see below for example)

- A Design Plan – Showing the planned layout of mains on site

- If accepting an enquiry, the existing WWU reference number

- The Planning Application Reference

Alternatively, if the customer has received a full quotation, they can sign the form and return it. If no Design Plan was submitted with the request, this is also due at this stage.

The IGT / Agent must also nominate the GIRS Registered Company that will be carrying out the connection. Should this change at any point, the IGT / Agent is required to notify WWU.

4.2) Response

WWU will issue a response containing the following information:

- Acknowledging receipt of the Acceptance

- Indicating if reinforcement is required

- A GL5 Initiation Form (where applicable)

4.3) Next Steps

If WWU are to make the connection on behalf of the customer, an email will be sent asking for the required connection date (if this has not already been provided) and WWU will liaise with the customer to plan the works in.

If the customer is making the connection, WWU will await the Design Submission. If this has already been submitted, it will be processed alongside the Acceptance/Fast Track Acceptance.

4.4) Period of Validity

Acceptances are valid for 180 Calendar Days (d+180) and will be cancelled if a Plan Date is not received within this time. However, this window maybe extended to allow for more complex projects, if this applies, please notify Third Party Connection as soon as possible to discuss.

Design Submission

A Design Submission is required for all new connections, but not increase or decreases in load.

The customer may submit the Design Submission at any time before the works are completed; however, it will not be appraised until a valid Acceptance has been received.

For Intermediate Pressure Connections, the GL5 must be approved too.

Please see Briefing Note 14 – GL5 Process for details.

An IGT Design Submission template is available if required.

Design Submissions will be evaluated against the principles and requirements of IGEM/TD/101, relevant industry policy and WWU’s internal specification documents.

On Design Submission Approval, WWU will issue an FM143a Design Authorisation Letter and where applicable, an FM144 63mm Authorisation Letter.

Should a variation to proposed works be required prior to physical connection, a third party should submit an FM183 Design Variation Form to WWU, with any associated revised design plans, if required. The third party should ascertain whether the proposed change of scope warrants a Minor or Major Variation.

Minor variations are defined in IGEM/TD/101 section 8.3.2 and Major variations are defined in IGEM/TD/101 section 8.3.3. For further details, please see Briefing Note 9 - Design Variation.

Certification File

Formal Certification File submission and subsequent WWU approval, is not mandatory by default. WWU do reserve the right, under GIRS, FCA and GIG/2, to request a Certification File for any project, upon request. Where required, if a Certification File is not received within 5 days prior to the proposed connection date, clearance to proceed will not be granted.

Plan Date

It is mandatory that the nominated GIRS Registered Company carrying out the work receives authorisation to proceed via an FM144, Routine Operation (RO) or Non-Routine Operation (NRO) (as appropriate) before the CSEP connection proceeds.

Please note - A Weekly Whereabouts Sheet must also be submitted the week prior to connection.

Please see Briefing Note 10 - Plan Date Control for details.

Completion File

Completion Files are required within 5 working days of the connection being made.

Please see Briefing Note 11 - Completion Files for details

GL5

New works, modifications and repairs to Intermediate Gas mains and services, require a GL5 be approved before plan date approval will be issued.

Please see Briefing Note 14 - GL5 Process for more information.

Post-Completion

Following completion of the CSEP connection and approval of the completion file, IGTs must ensure that they monitor the CSEP requirements and ensure that inform WWU of any changes to the site.

Please see Briefing Note 12 - Managing Connection CSEPs for details.

Multiple Individual System Exit Points (ISEPs)

Where a CSEP comprises of multiple ISEPs an FM172, FM153 or FM153a (as applicable) should be completed for ISEP 1, and an IGT Additional ISEP Form completed for each additional ISEP. The following Section(s) are required depending on the type of application being made:

IGT Enquiry – Section 1 only

IGT Quotation – Sections 1 and 2

IGT Fast Track – Sections 1, 2 and 3

WWU are not currently able to raise multiple ISEPs under a single project reference number, so each ISEP will have its own. However, when we submit the data to XoServe/Correla, we will submit the total load for the CSEP under the WWU reference number for ISEP 1 (unless requested otherwise).

Should the customer require written confirmation that the multiple ISEPs have been raised as a single CSEP, an email should be sent Alison.Davies@wwutilities.co.uk and cc. gtuip@wwutilities.co.uk and this will be provided.

For the purposes of establishing whether the project can be fast tracked, if any of the ISEP loads require network analysis, then an FM153 must be submitted.

Interconnected CSEPs/ISEPs

Under normal circumstances WWU will not approve interconnected CSEPs (either linked ISEPs or having both a temporary connection and a main connection linked). This is where a CSEP is joined to the WWU Network at two or more points and where the gas could flow through the IGT site and back into the WWU Network.

However, in order to meet our obligations as a prudent operator, WWU may consider an interconnected CSEP as an alternative to reinforcement.

See Appendix B – Interconnected CSEP for example.

Temporary Connections

Under certain circumstances WWU may allow a temporary connection of a CSEP. The specific details are to be negotiated with 3rd Party Connections.

If a temporary connection is approved, a completion files are required following the new connection and following the disconnection. The site must not become interconnected.

Emergency Service Provision

When registering as an IGT to operate on the WWU Network, IGTs are required to sign the WWU Emergency Services and Follow Up and Repair Services Contract.

Please see Briefing Note 15 - Schedule 5 Emergency Cover for CSEPs for details.

Government Stop on Gas Grid Connections

The Welsh and English Governments have proposed a stop on gas grid connections for new build properties.

Where a CSEP’s phasing goes beyond this point it is vital that IGTs keep sites under review and follow Uniform Network Code – Independent Gas Transporter Arrangements Document (IGTAD) Section B, 2.3.1.

For further details, please see WWU Briefing Note 12 – Managing Connected CSEPs for more details.

WWU will keep these policies under review and ensure we communicate any updates received and the effect these will have.

Further Information

Briefing Note 1 - Introduction to Third Party Connections

Briefing Note 5 - NP14 - The Design of System Extensions, Connections & Services to <7bar WWU Systems

Briefing Note 6 - Non-Typical Gas Demands

Briefing Note 7 - Reinforcement Policy

Briefing Note 8 - Sufficiently Complex Job (SCJ) Policy

Briefing Note 9 - Design Variation

Briefing Note 10 - Plan Date Control

Briefing Note 11 - Completion Files

Briefing Note 12 - Managing Connected CSEPs

Briefing Note 14 - GL5 Process

Briefing Note 15 - Schedule 5 Emergency Cover for CSEPs

Appendices

Appendix A – CSEP Plan

Appendix B – Interconnected CSEP