| # Briefing Note 3: Utility Infrastructure Provider (UIP) Process |  |
| --- | --- |
| Version 1.0 January 2023 |  |

Table of Contents

1)	Introduction	3

2)	Enquiries	4

2.1) Enquiry Minimum Information	4

2.2) Enquiry Response	4

2.3) Next Steps	5

2.4) Period of Validity	5

3)	Quotation	6

3.1) Quotation Request Minimum Information	6

3.2) Quotation Response	7

3.3) Next Steps	7

3.4) Period of Validity	7

4)	Fast Track Acceptance / Quotation Acceptance	8

4.1) Minimum Information Acceptance	8

4.2) Response	9

4.3) Next Steps	9

4.4) Period of Validity	9

5)	Design Submission	10

6)	Certification File	11

7)	Plan Date	11

8)	Completion File	11

9)	GL5	12

10)	Easement / Tripartite Agreement	12

10.1) Requirements	12

10.2) Process	13

11)	Further Information	14

12)	Appendices	15

Appendix A – Enquiry Plan	15

Appendix B – Quotation Plan	15

Appendix C – Fast Track / Design Plan	16

Appendix D – Disconnection and New Service Plan	16

Appendix E – Alteration Plan	17

Appendix F – Easement Plan	17

Introduction

Wales & West Utilities (WWU) facilitate three application processes that can be utilised by Utility Infrastructure Providers (UIPs):

Enquiries

Quotations

Fast Tracks

Projects that have a Non-Typical Gas Demand cannot be fast tracked. See Briefing Note 5 – Non-Typical Gas Demands.

Please note: Where WWU are required to reinforce the network, there may be restrictions placed on when a new site can be connected and start to take the load. Therefore, applications should be made in a timely manner to enable reinforcement works to be carried out.

WWU recommend that an Initial Enquiry is submitted to establish the availability of the load as soon as the customer becomes aware of a new site. Should the load be unavailable WWU will work with the customer to manage the project and plan the reinforcement.

Please note: When working on a WWU Medium Pressure or Intermediate Pressure pipe the customer must send an email to plantprotectionenquiries@wwutilities.co.uk requesting a site visit, at least 10 working days before the work are scheduled to begin. Please see the 3rd Party Plant Protection Request Form for more information.

Enquiries

Third Parties can submit an FM137 UIP Enquiry Request (FM137) to request outline details on the availability of gas for a new connection onto a WWU main or an increase in the load to an existing supply.

An Enquiry Response will provide basic details to enable a UIP to progress to the next stage of their project.

Where the load falls within the allowed pressure tables within T/SP/NP/14/E (NP14) or the project is for a disconnection, the UIP may proceed straight to a “Fast Track Acceptance”.

2.1) Enquiry Minimum Information

All UIP Enquiries require the customer to submit:

1.	An Application Form – FM137

2.	A Plan – Showing the relevant connection/alteration point (Appendix A – Example Enquiry Plan)

If the site has a Non-Typical Gas Demand, then an Additional Load Information Form for Non-Typical Gas Demands is also required.

2.2) Enquiry Response

WWU will issue a response containing the following information:

- Confirm the available source pressure

- Establish if reinforcement is required

- A WWU plan showing the connection point and surrounding apparatus

2.3) Next Steps

Following on from an Enquiry Response, the UIP has two options:

If no reinforcement is required, and the customer wishes to carry out the connection themselves, the enquiry can be accepted using an FM138a UIP Fast Track Acceptance (FM138a) (details must remain the same, e.g. no change to the load). Please note: projects with a Non-Typical Gas Demand cannot be Fast Tracked.

If reinforcement is required, and the customer wants WWU to make the connection and/or the project has a Non-Typical Gas Demand, the enquiry cannot be Fast Tracked. An FM138 UIP Quotation Request is required for a full quotation.

2.4) Period of Validity

Enquiry Responses are valid for 90 Working Days (D+90). If a Fast Track Acceptance is not received during this time, the Enquiry will be cancelled.

Quotation

On receipt of a Quotation Request, it will be logged onto the Third Party Connections records system and will be processed to establish the availability of the load.

Should reinforcement be required, it will be designed and costed as per WWU’s Reinforcement Policy, for more information see Briefing Note 7 - Reinforcement Policy.

If the connection or reinforcement design process shows that the project meets the criteria to be classified as a Sufficiently Complex Job (SCJ), as per WWU’s SCJ Policy, the customer will be notified. For more information see Briefing Note 8 - Sufficiently Complex Job (SCJ) Policy.

Please note: Reinforcement will not be planned for projects without planning permission.

3.1) Quotation Request Minimum Information

All UIP Quotation Requests require the customer to submit:

- An Application Form – FM138

- A Design Plan – Showing the planned works, e.g. for an alteration, indicate the length of service to be disconnected and the route of the new length to be laid (Appendix B – Quotation Plan, Appendix D – Disconnection and New Service Plan and Appendix E – Alteration Plan)

If the site has a Non-Typical Gas Demand, then an Additional Load Information Form for Non-Typical Gas Demands is also required.

The UIP must also nominate the GIRS Registered Company that will be carrying out the connection. Should this change at any point, the UIP is required to notify WWU.

3.2) Quotation Response

WWU will issue a response containing the following information:

- Confirm the available source pressure

- A WWU plan showing the connection point and surrounding apparatus.

- A quotation for the connection, where requested by the customer.

- A quotation for any required reinforcement or an SCJ IGT Letter.

- Outline of any caveats relating to the project, e.g. Requirement for a GL5.

3.3) Next Steps

- Following on from a Quotation, the UIP may

If no SCJ is required, sign the quotation form to accept the quotation and move to the design stage.

If an SCJ is required, sign the quotation form to accept the associated costs (charges for the design study will be levied in advance).

3.4) Period of Validity

Quotations are valid for 90 Working Days (D+90). If a signed Acceptance is not received during this time, the Quotation will be cancelled.

Fast Track Acceptance / Quotation Acceptance

A FM138a Fast Track Acceptance (FM138a) may be submitted to accept an Enquiry Response or where the load falls under the threshold outlined in NP14.

Where the UIP wishes to connect multiple domestic single services, they may apply for up to 5 supplies that connect to the same main, on one FM138a. Where there more than 5 services on site, multiple applications are required.

When submitting a Fast Track Application for multiple services, the first form should be completed for the total load for the site and an Additional Service Form completed and attached for the individual service details.

Please note - Reinforcement will not be planned for projects without planning permission.

4.1) Minimum Information Acceptance

All UIP Fast Tracks require the customer to submit:

- An Application Form – FM138a

- A Design Plan – Showing the planned works, e.g. for an alteration, indicate the length of service to be disconnected and the route of the new length to be laid (Appendix C – Fast Track / Design Plan, Appendix D – Disconnection and New Service Plan, Appendix E – Alteration Plan)

- The Planning Application Reference and Status.

Alternatively, if the customer has received a full quotation, they can sign the form and return it. If no Design Plan was submitted with the request, this is also due at this stage.

The UIP must also nominate the GIRS Registered Company that will be carrying out the connection. Should this change at any point, the UIP is required to notify WWU.

4.2) Response

WWU will issue a response containing the following information:

- Acknowledging receipt of the Acceptance.

- Indicating if reinforcement is required.

- A GL5 Initiation Form (where applicable).

4.3) Next Steps

If WWU are to make the connection on behalf of the customer, an email will be sent asking for the required connection date (if this has not already been provided) and WWU will liaise with the customer to plan the works in.

If the customer is making the connection, WWU will await the Design Submission. If this has already been submitted, it will be processed alongside the Acceptance/Fast Track Acceptance.

4.4) Period of Validity

Acceptances are valid for 180 Calendar Days (d+180) and will be cancelled if a Plan Date is not received within this time. However, this window maybe extended to allow for more complex projects, if this applies, please notify Third Party Connection as soon as possible to discuss.

Design Submission

A Design Submission is required for all New Connections, Alterations and Disconnections.

The customer may submit the Design Submission at any time before the works are completed; however, it will not be appraised until a valid Acceptance has been received.

For Intermediate Pressure Connections, the GL5 must be approved too.

Please see Briefing Note 14 – GL5 Process for details.

Design Submissions will be evaluated against the principles and requirements of IGEM/TD/101, relevant industry policy and WWU’s internal specification documents.

For more details, please see T/PM/AV/1.

On Design Submission Approval, WWU will issue:

For New Connections: FM143b Design Authorisation Letter and where applicable an FM144 63mm Authorisation Letter.

For Alterations Disconnections: FM163 Alteration Disconnection Authorisation, and where applicable an FM166 63mm Alteration Disconnection Authorisation Letter.

Should a variation to proposed works be required prior to physical connection, a third party should submit an FM183 Design Variation Form to WWU, with any associated revised design plans, if required. The third party should determine whether the proposed change of scope warrants a Minor or Major Variation.

Minor variations are defined in IGEM/TD/101 section 8.3.2 and Major variations are defined in IGEM/TD/101 section 8.3.3. For further details, please see Briefing Note 9 - Design Variation.

Certification File

Formal Certification File submission and subsequent WWU approval, is not mandatory by default. WWU do reserve the right, under GIRS, FCA and GIG/2, to request a Certification File for any project, upon request. Where required, if a Certification File is not received within 5 days prior to the proposed connection date, clearance to proceed will not be granted.

Plan Date

It is mandatory that the nominated GIRS Registered Company carrying out the work receives authorisation to proceed via an FM144, Routine Operation (RO) or Non-Routine Operation (NRO) (as appropriate) before the New Connection, Alteration or Disconnection proceeds.

Please note - A Weekly Whereabouts Sheet must also be submitted the week prior to connection.

Please see Briefing Note 10 - Plan Date Control for details.

Completion File

Completion Files are required within 5 working days of the connection being made.

Please see Briefing Note 11 - Completion Files for details.

GL5

New works, modifications and repairs to Intermediate Gas mains and services, require a GL5 be approved before plan date approval will be issued.

Please see Briefing Note 14 - GL5 Process for more information.

Easement / Tripartite Agreement

10.1) Requirements

An Easement is a legally binding agreement between a landowner and WWU to permit access to replace, renew, inspect and maintain gas pipelines installed in private land and also restricts certain types of activity in the vicinity of buried gas pipelines.

Where an Easement is required to be in place for a proposed UIP-installed WWU asset, WWU will require the installing UIP enter into a Tripartite agreement with WWU and the landowner.

A Tripartite agreement is a legally binding deed between three parties; WWU, the UIP and the landowner of the land in which the asset is installed.

WWU: Require access to install, replace, renew, inspect and maintain gas pipelines.

UIP (Project Managing under GIRS): Require access to install, replace, renew, inspect and maintain gas pipelines.

Landowner: Required to ensure the correct details are logged against the Land Registry to permit relevant parties access to private land parcels, where warranted and to protect against further works over pipelines within land.

10.2) Process

- UIP submits an FM138 or FM138a.

- WWU identify that an easement is required and issue a blank Tripartite Agreement Form along with the Quotation / Acceptance Acknowledgement (as applicable).

- 3rd Party Connections will approve the design submission.

- UIP submit the completed Tripartite Agreement Form, Easement Plan and other relevant documentation to easements@wwutilities.co.uk, cc. gtuip@wwutilities.co.uk Please note – failure to provide a plan of the proposed easement will delay the processing of the Tripartite Agreement. (Appendix F – Example Easement Plan)

- WWU will submit the request to our Solicitors for processing.

- Once the Landowner’s Solicitor has completed the engrossment has been completed with WWU’s Solicitor, it will be returned to WWU’s Estates Teams for them to sign the documentation and return it to the Solicitor.

- Our Solicitors will advise WWU when the associated Easement has been completed.

- UIP submits plan date request and makes connection.

Please note – All signatures must be WET (the physical document signed in ink).

While the Tripartite Agreement is being processed, our Solicitors become the main point of contact for any queries and updates.

Plan Dates will not be approved until the Easement has been agreed.

Further Information

Briefing Note 5 - NP14 - The Design of System Extensions, Connections & Services to <7bar WWU Systems

Briefing Note 6 - Non-Typical Gas Demands

Briefing Note 7 - Reinforcement Policy

Briefing Note 8 - Sufficiently Complex Job (SCJ) Policy

Briefing Note 9 - Design Variation

Briefing Note 10 - Plan Date Control

Briefing Note 11 - Completion Files

Briefing Note 14 - GL5 Process

Appendices

Appendix A – Enquiry Plan

Appendix B – Quotation Plan

Appendix C – Fast Track / Design Plan

Appendix D – Disconnection and New Service Plan

Appendix E – Alteration Plan

Appendix F – Easement Plan