| # Briefing Note 4: Land Enquiry / Capacity Check Process |  |
| --- | --- |
| Version 1.0 January 2023 |  |

Table of Contents

1)	Introduction	3

2)	Minimum Information Required	4

3)	Land Enquiry / Capacity Check Form	4

4)	Non-Typical Gas Demands	5

5)	Appendices	5

Appendix A – Site Boundary Example	5

Introduction

A Land Enquiry is for use by any person wishing to acquire capacity information about Wales & West Utilities (WWU) infrastructure surrounding a proposed development.

If the only information required relates to the location of WWU Infrastructure surrounding a proposed site, the free online mapping tool LineSearch should be used. Please visit LSBUD.co.uk to retrieve the latest utility plans.  You can also go to https://www.wwutilities.co.uk/services/dial-before-you-dig/ for further information.

No Gas industry accreditation is required to submit a Land Enquiry. A Gas Industry Registration Scheme (GIRS) accredited UIP or IGT can utilise the Land Enquiry process if they wish, however it is recommended that FM137 UIP Enquiry Request and FM172 IGT Enquiry Request (FM172) are used for enquiry purposes.

Land Enquiry responses will provide a WWU Mapping extract showing WWU infrastructure surrounding a proposed development and a letter indicating whether the requested gas load is available without reinforcement to the network.

Land Enquiry responses are for information only. They are non-contractual and cannot be used to Fast Track a subsequent Request.

Minimum Information Required

To enable WWU to establish the availability of gas, they require following details:

Approximate number of properties to be connected

Estimated gas usage figures

A plan showing existing geography with the site boundary clearly highlighted (Appendix A – Site Boundary Example)

If the site has a Non-Typical Gas Demand, then an Additional Load Information Form for Non-Typical Gas Demands is also required.

WWU are unable to provide estimated gas usage figures for Commercial or Industrial properties, these must be provided by the customer.

There are standard figures for domestic properties, which can be found at https://www.igt-unc.co.uk/igt-unc-related-documents/ancillary-documents/ if the customer does not know how much gas the site requires, WWU will use these figures to provide an estimated load.

Land Enquiry / Capacity Check Form

The best way to submit your enquiry is to complete the Land Enquiry / Capacity Check Form and send it to gtuip@wwutilities.co.uk however, an enquiry may also be sent to the above email address without the form, but the minimum information criteria must be met.

Failure to meet the minimum information criteria will prevent us from processing your enquiry.

Non-Typical Gas Demands

When customers have a large commercial demand, a particular gas usage or specialist equipment, WWU need to ensure that the demand is correctly analysed on our gas network. To enable us to do this, an Additional Load Information Form for Non-Typical Gas Demands is also required..

For further information please see Briefing Note 6 - Non-Typical Gas Demands.

Appendices

Appendix A – Site Boundary Example

This plan shows the mandatory site boundary (in blue) and the optional site entrance (in green). If the customer knows where they want the gas to come into the site, this should be added to the plan. Where WWU do not have this information, they will run the capacity check on the closest main, which may not be what is required.