| # Briefing Note 6: # Non-Typical Gas Demands |  |
| --- | --- |
| Version 1.0 January 2023 |  |

Contents

1)	Introduction	3

2)	Gas Demand Types	3

2.1) Standard Domestic Modulating Flow	4

2.2) Standard Commercial Modulating Flow	4

2.3) Non-Typical Gas Demand Types	4

2.4) Process Flow	5

2.5) Constant Flow	5

2.6) On-Off Flow	6

2.7) Power Generation or Short Term Operating Reserve (STOR)	6

2.8) Combined [Cooling] Heat and Power (CHP / CCHP)	6

2.9) Compressed / Boosted Flow	7

3)	Customer Requirements	7

4)	Entry and Exit Agreement and ARCAs	7

5)	Milestone Document	8

Introduction

To ensure a safe and secure gas supply is maintained, Wales & West Utilities (WWU) must assess new gas demands based on the anticipated profiles they will follow. Where gas usage is predictable, WWU can effectively forecast peak and off-peak gas usage to efficiently manage WWUs Gas Distribution Network.

Gas Demand Types

To better manage WWUs Network, new and existing gas loads are categorised into typical and Non-Typical flows, which dictate different minimum information requirements from third parties as well as identifying the requirement for Non-Typical Network Analysis.

Typical gas usage is defined as temperature-sensitive for space heating or following a modulating predictable pattern only during peak times of the day. Standard Domestic customers with gas-fired heating and hot water and also Standard Commercial supplies using gas in a modulating fashion and not feeding Combined Heat and Power (CHP) units are considered typical as Demands.

Commercial and Industrial flow patterns are difficult to predict and don’t follow a typical profile and are therefore considered Non-Typical.

Domestic Customers that utilise a CHP unit outside the remit of a typical modulating pattern and are considered Non-Typical.

2.1) Standard Domestic Modulating Flow

Domestic Modulating flow varies between minimal and peak flow at recurring times of the day and can be used to predict and evaluate maximum demand times. Typically, Domestic flow gas peaks in the morning, has a lull during the day until the evening when peak flow returns. This is deemed a normal space heating profile.

2.2) Standard Commercial Modulating Flow

Standard Commercial Modulating Flow varies between minimal and peak flow at recurring times of the day, which can be used to predict and evaluate maximum demand times.

2.3) Non-Typical Gas Demand Types

A Non-Typical Gas Demand is defined as a gas flow not following a modulating, predictable pattern, gas could be used at any point, continuously over a 24 hour period or specifically during Non-Typical Seasonal periods, such as through the Summer Months.

Non-Typical Gas Demands are classed as specifically for Commercial or Industrial uses however should a Domestic Supply be utilised for CHP purposes, then it too is considered Non-Typical.

The main types of Non-Typical Gas Demands fall into the following categories:

Process Flow

Constant Flow

On-Off Flow

Power Generation or Short Term Operating Reserve (STOR)

Combined [Cooling] Heat and Power (CHP / CCHP)

Compressed / Boosted Flow

2.4) Process Flow

A Process Flow Load is identified as using gas for Commercial or Industrial production purposes with a lesser downtime than that of a Standard Commercial Load. Although generally following a consistent on-off pattern, this type of Non-Typical Gas Demand will still require an Additional Load Information Form for Non-Typical Gas Demands be provided to WWU with the application.

## 2.5) Constant Flow

A Constant Flow Load will use gas 24/7, continuously for production purposes.

Despite never having downtime, Constant Loads still require an Additional Load Information Form for Non-Typical Gas Demands be provided to WWU to confirm the requirement of Non-Typical analysis.

2.6) On-Off Flow

A Commercial/Industrial On-Off Flow Load is similar to a Process Load yet not use for production purposes, therefore less predictable and vary widely in size.

It should not be used to classify a CHP or a STOR site but will require an Additional Load Information Form for Non-Typical Gas Demands be provided to WWU to confirm the requirement of Non-Typical analysis.

2.7) Power Generation or Short Term Operating Reserve (STOR)

Short Term Operating Reserve (STOR) Sites use large quantities of gas to produce electricity as a means to safeguard security of supply to the National Electricity Grid System.

Due to the nature of these Power Stations burning gas at peak flow within a relatively short period of time, usage is unpredictable and therefore requires Additional Load Information Form for Non-Typical Gas Demands be provided to WWU to confirm the requirement of Non-Typical analysis.

2.8) Combined [Cooling] Heat and Power (CHP / CCHP)

Combined [Cooling] Heat and Power (CCHP) is the process of burning gas to generate heat and electricity simultaneously. This can also incorporate a subsequent use for Cooling/Air Conditioning.

Commercial/Industrial CHP Loads are typically large in quantity, but smaller CHP units are also common in Student Accommodation and Domestic premises. As a Domestic Mini-CHP unit uses gas to generate electricity at any point within a 24 hour period, it is deemed Non-Typical and require an Additional Load Information Form for Non-Typical Gas Demands be provided to WWU to confirm the requirement of Non-Typical analysis

2.9) Compressed / Boosted Flow

Any gas supply that utilities a Compressor to Boost the incoming pressure is deemed Non-Typical and will require a supplementary Additional Load Information Form for Non-Typical Gas Demands to enable Booster/Non-Typical analysis.

Customer Requirements

Any gas supply that utilises a compressor to boost the incoming pressure is deemed Non-Typical and require an Additional Load Information Form for Non-Typical Gas Demands.

In cases of Non-Typical Gas Demands, third parties should populate the Additional Load Information Form for Non-Typical Gas Demands and submit with the relevant application form to Third Party Connections.

Please note - Non-Typical Gas Demand requests and those utilising a compressor, or a booster cannot be Fast Tracked.

Entry and Exit Agreement and ARCAs

WWU has the right to require a customer to enter into a Supply Point Network Exit Agreement (NExA), Network Entry Agreement (NEA) and/or Storage Connection Agreement (SCA) as appropriate. An example of when WWU will make use of these rights is when a Very Large Daily Metered Customer is connected (The definition of a Very Large Daily Metered Customer is in Section A of WWUs Uniform Network Code).

NExAs will also be applied where the demand profile is nonstandard or where the pressure is boosted after the meter to supply CHP apparatus.

An ARCA (Advanced Reservation of Capacity Agreement) will always be required for any load that is expected to consume more than 586 GWh a year.

For loads of 586 GWh and below, we may require an ARCA where the cost of Specific Reinforcement upstream of the Connection Charging Point (net of any customer contribution that equals or exceeds £500,000).

- 5)	Milestone Document

Within a WWU quotation document there are Terms & Conditions (T&Cs) referencing the validity of the quotation from the acceptance received date through to construction of the proposed pipeline.

Where the customer is to exceed those conditions set out within the T&Cs, the customer must complete a Milestone Document and request an extension from WWU via post or email.

WWU will review the lead times detailed within the Milestone proposal and either accept or reject the document. If there is no agreement in place between WWU and the customer, the standard quotation validity periods set out within the quotations T&Cs will apply.