When customers have a large commercial demand, a particular gas usage or specialist equipment, Wales & West Utilities (WWU) need to ensure that the demand is correctly analysed on our gas network. This will help ensure that the proposed pipe work is suitably sized and that your requirements can be correctly captured on our systems. In order to support us, please complete the following with as much information as possible.

Guidance notes at the end of this document may provide support in completing the form:

- Site Information

| Quotation Reference Number |  |  |
| --- | --- | --- |
| Site Address |  |  |
| Preferred Gas On Date |  |  |
| Pressure Required at the Emergency Control Valve |  | (mbar) |
| Pressure Gas Boosted/Compressed to (if applicable) |  | (mbar) |

- Gas Load Information

| Gas Usage | Demand (kw/h) |
| --- | --- |
| Peak Instantaneous Demand (hourly demand) |  |
| Supply Offtake Quantity (daily demand) |  |
| Estimated Annual Demand |  |

| Equipment Being Used | Yes | No |
| --- | --- | --- |
| Gas Booster |  |  |
| Gas Compressor |  |  |
| CHP Equipment |  |  |

Other (Please Detail):

| Type of Connection | Yes | No |
| --- | --- | --- |
| Heating/Cooking |  |  |
| Manufacturing/Production |  |  |
| Power Generation |  |  |
| Vehicle Fuelling |  |  |

Other (Please Detail):

If Power Generation, please complete the below. If not, please continue to section 3.

| Purpose of Generation | Yes/No | Agreement in place? | Additional Comments |
| --- | --- | --- | --- |
| Capacity Market |  |  |  |
| Wholesale Market |  |  |  |
| Ancillary Services |  |  |  |
| Balancing Mechanism |  |  |  |
| Local Flexible |  |  |  |
| Other |  |  |  |
| NA |  |  |  |

How many years is the site proposed to be operational?:

- Equipment

Please provide details of all equipment which will be using gas:

| Equipment Type (Turbine, Engine etc.) | Quantity | Maximum Hourly Gas Usage (kW/h) per Unit | Maximum Hourly Gas Usage (kW/h) in Total |
| --- | --- | --- | --- |
|  |  | Total Hourly Gas Demand Required |  |

- Equipment Ramp Rates

The ramp rate is the amount of time a piece of equipment takes to move from taking no demand through to taking its maximum demand and vice versa.

Please complete the table below and provide any other ramp rate data/graphs if available (manufacturer’s specifications etc.):

|  | Time (mins) | Ramp Rate (kW/h per minute) & profile details if not linear |
| --- | --- | --- |
| Ramp Rate Up (from zero flow through to maximum flow) |  |  |
| Ramp Rate Down (from maximum flow through to zero flow) |  |  |

- Load Profile

A load profile details the time throughout the day when you are going to be using gas. Some users will have set times of the day and days of the week when the gas is required.

|  | Yes | No |
| --- | --- | --- |
| Is the load to be taken at a flat 1-24hr rate (using the same amount of gas each hour throughout the day, for all 24 hours)? |  |  |

If “No”, please complete the table below and provide any other profile data/graphs available (manufacturer’s specifications etc.) If both a flat and profiled load is required, please specify all load requirements within the following table:

| Time of Year | Maximum – Please include all possible load requirements |  |  |
| --- | --- | --- | --- |
|  | Hourly Gas Usage (kW/h) | Daily Gas Usage(kW/h) | Times & Details of Gas Usage |
| Summer: 1st April to 30th September |  |  |  |
| Winter: 1st October to 31st March |  |  |  |

- Additional Information

Please detail any additional information which you feel may be relevant:

When customers have a large commercial demand, a particular gas usage or specialist equipment, Wales & West Utilities (WWU) need to ensure that the demand is correctly analysed on our gas network. This will help ensure that the proposed pipe work is suitably sized and that your requirements can be correctly captured on our systems. In order to support us, please complete the following with as much information as possible.

Guidance notes at the end of this document may provide support in completing the form:

- Site Information

| Quotation Reference Number | 35000000 |  |
| --- | --- | --- |
| Site Address | Address |  |
| Preferred Gas On Date | June 2018 |  |
| Pressure Required at the Emergency Control Valve | 200 | (mbar) |
| Pressure Gas Boosted/Compressed to (if applicable) | NA | (mbar) |

- Gas Load Information

| EXAMPLE Gas Usage | Demand (kw/h) |
| --- | --- |
| Peak Instantaneous Demand (hourly demand) | 2,260 |
| Supply Offtake Quantity (daily demand) | 2,260,000 |
| Estimated Annual Demand | 478,000,000 |

| Equipment Being Used | Yes | No |
| --- | --- | --- |
| Gas Booster |  | x |
| Gas Compressor | x |  |
| CHP Equipment | x |  |

Other (Please Detail):

| Gas Usage | Yes | No |
| --- | --- | --- |
| Heating/Cooking | x |  |
| Manufacturing/Production | x |  |
| Power Generation |  | x |
| Vehicle Fuelling |  | x |

Other (Please Detail):

If Power Generation, please complete the below. If not, please continue to section 3.

| Purpose of Generation | Yes/No | Agreement in place? | Additional Comments |
| --- | --- | --- | --- |
| Capacity Market | x | Yes | Generation contract from September October 2021 |
| Wholesale Market |  |  |  |
| Ancillary Services |  |  |  |
| Balancing Mechanism |  |  |  |
| Local Flexible |  |  |  |
| Other |  |  |  |
| NA |  |  |  |

| How many years is the site proposed to be operational? | 15 years |
| --- | --- |

- Equipment

EXAMPLE

Please provide details of all equipment which will be using gas:

| Equipment Type (Turbine, Engine etc.) | Quantity | Maximum Hourly Gas Usage (kW/h) per Unit | Maximum Hourly Gas Usage (kW/h) in Total |
| --- | --- | --- | --- |
| Make/Model of compressor | 2 | 100 | 200 |
| Make/Model of engine | 1 | 2000 | 2000 |
| Boiler | 1 | 60 | 60 |
|  |  | Total Hourly Gas Demand Required | 2260 |

- Equipment Ramp Rates

The ramp rate is the amount of time a piece of equipment takes to move from taking no demand through to taking its maximum demand and vice versa.

EXAMPLE

Please complete the table below and provide any other ramp rate data/graphs if available (manufacturer’s specifications etc.):

|  | Time (mins) | Ramp Rate (kW/h per minute) & profile details if not linear |
| --- | --- | --- |
| Ramp Rate Up (from zero flow through to maximum flow) | 10 Minutes | The load ramps up to 50% after 5 minutes and 100% after 10 minutes. |
| Ramp Rate Down (from maximum flow through to zero flow) | 10 Minutes |  |

- Load Profile

A load profile details the time throughout the day when you are going to be using gas. Some users will have set times of the day and days of the week when the gas is required.

|  | Yes | No |
| --- | --- | --- |
| Is the load to be taken at a flat 1-24hr rate (using the same amount of gas each hour throughout the day, for all 24 hours)? |  | x |

If “No”, please complete the table below and provide any other profile data/graphs available (manufacturer’s specifications etc.) If both a flat and profiled load is required, please specify all load requirements within the following table:

| Time of Year | Maximum – Please include all possible load requirements |  |  |
| --- | --- | --- | --- |
|  | Hourly Gas Usage (kW/h) | Daily Gas Usage(kW/h) | Times & Details of Gas Usage |
| Summer: 1st April to 30th September | 2,260 | 2,260,000 | The boiler is used for heating as required. The compressor and engine are used 8am – 12pm and 2pm – 8pm, daily, Monday to Friday, 52 weeks a year. |
| Winter: 1st October to 31st March | 2,260 | EXAMPLE 2,260,000 | Same as summer but with a greater heating requirement. |

- Additional Information

Please detail any additional information which you feel may be relevant: